B.TECH. ELECTRICAL AND ELECTRONICS ENGINEERING

Curriculum [Regulation A (2009)]

I YEAR – ANNUAL PATTERN

CURRICULUM FOR ALL B.TECH PROGRAMME

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| Theory |
| GEA001 | Communication in English | 3 | 0 | 0 | 6 |
| GEA002 | Engineering Mathematics | 3 | 1 | 0 | 8 |
| GEA003 | Engineering Physics | 3 | 0 | 0 | 6 |
| GEA004 | Engineering Chemistry | 3 | 0 | 0 | 6 |
| GEA005 | Basic Electrical & Electronics Engineering | 3 | 0 | 0 | 8 |
| GEA006 | Basic Mechanical & Civil Engineering | 3 | 0 | 0 | 6 |
| GEA007 | Engineering Graphics | 3 | 1 | 0 | 8 |
| GEA008 | Introduction to Computing | 3 | 0 | 0 | 6 |
| Practical |
| GEA009 | Physics & Chemistry Laboratory | 0 | 0 | 3 | 6 |
| GEA010 | Engineering Practices Laboratory | 0 | 0 | 3 | 6 |
| GEA011 | Computer Practice Laboratory | 0 | 0 | 3 | 6 |
| Total | 24 | 2 | 9 | 72 |

CURRICULUM FOR B.TECH ELECTRICAL AND ELECTRONICS PROGRAMME

III SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U3MAA01 | Transforms And Partial Differential Equations | 3 | 1 | 0 | 4 |
| U3EEA01 | DC Machines And Transformers | 3 | 1 | 0 | 4 |
| U3EEA02 | Electric Circuit Theory | 3 | 1 | 0 | 4 |
| U3EEA03 | Electronic Devices & Circuits | 3 | 0 | 0 | 3 |
| U3CSA01 | Data Structures And Algorithms | 3 | 0 | 0 | 3 |
| U3CEA09 | Environmental Science And Engineering | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U3EEA04 | DC Machines And Transformers Laboratory | 0 | 0 | 3 | 2 |
| U3CSA05 | Data Structures Laboratory | 0 | 0 | 3 | 2 |
| U3EEA05 | Electronic Devices & Circuits Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 3 | 9 | 27 |

IV SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U4MAA03 | Numerical Methods | 3 | 1 | 0 | 4 |
| U4EEA08 | Ac Machines | 3 | 1 | 0 | 4 |
| U4EEA09 | Transmission & Distribution Of Electrical Energy | 3 | 1 | 0 | 4 |
| U4EEA10 | Electrical Measuring & Measuring Instruments | 3 | 0 | 0 | 3 |
| U4EEA11 | Network Analysis And Synthesis | 3 | 1 | 0 | 4 |
| U4EEA12 | Electro Magnetic Theory | 3 | 1 | 0 | 4 |
| PRACTICAL |
| U4EEA13 | Synchronous and Induction Machine Laboratory | 0 | 0 | 3 | 2 |
| U4EEA14 | Electrical Measuring And Measuring Instruments Laboratory | 0 | 0 | 3 | 2 |
| U4EEA15 | Electrical Network Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 5 | 9 | 29 |

V SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U5EEA18 | Linear Control Systems | 3 | 1 | 0 | 4 |
| U5EEA19 | Power System Analysis | 3 | 1 | 0 | 4 |
| U5EEA20 | Linear Integrated Circuits & Applications | 3 | 0 | 0 | 3 |
| U5EEA21 | Digital Logic Circuits | 3 | 1 | 0 | 4 |
| U5ECA17 | Digital Signal Processing | 3 | 1 | 0 | 4 |
| U5ECA22 | Communication Engineering | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U5EEA22 | Control Systems Laboratory | 0 | 0 | 3 | 2 |
| U5EEA23 | Linear And Digital Integrated Circuits Laboratory | 0 | 0 | 3 | 2 |
| U5ECA20 | Digital Signal Processing Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 9 | 28 |

VI SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U6EEA24 | Power Electronics | 3 | 1 | 0 | 4 |
| U6EEA25 | Power System Protection And Switchgear | 3 | 1 | 0 | 4 |
| U6ECA13 | Microprocessors And Microcontrollers | 3 | 1 | 0 | 4 |
| U6ECA29 | VLSI Design | 3 | 1 | 0 | 4 |
| Elective Code [OR] UEGEA13 | Elective I (for batch 2009 – 13 only) [OR] INTEGRATED PRODUCT DEVELOPMENT | 3 | 0 | 0 | 3 |
|  | Elective II | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U6ECA14 | Microprocessors And Microcontrollers Laboratory | 0 | 0 | 3 | 2 |
| U6ECA30 | VLSI Design Laboratory | 0 | 0 | 3 | 2 |
| U6ENA02 | Proficiency In English | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 9 | 28 |

VII SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U7EEA26 | Power System Operation And Control | 3 | 1 | 0 | 4 |
| U7EEA27 | Solid State Drives | 3 | 1 | 0 | 4 |
| U7EEA28 | Electrical Machine Design | 3 | 1 | 0 | 4 |
| U7EEA29 | Modern Control Systems | 3 | 1 | 0 | 4 |
|  | Elective III | 3 | 0 | 0 | 3 |
|  | Elective IV | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U7EEA30 | Power System Simulation Laboratory | 0 | 0 | 3 | 2 |
| U7EEA31 | Power Electronics & Drives Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 6 | 26 |

SEMESTER VIII

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| U8EEA32 | Project Work | 0 | 0 | 24 | 12 |

L – Lecture; T – Tutorial; P – Practical; C - Credit

Over all Total Credits = 150+72=222

LIST OF ELECTIVES

| SUB.CODE | SUBJECT | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| ELECTIVE I |
| UEEEA33 | Bio-Medical Instrumentation | 3 | 0 | 0 | 3 |
| UEEEA34 | Special Electrical Machines | 3 | 0 | 0 | 3 |
| UEEEA35 | Energy Engineering | 3 | 0 | 0 | 3 |
| UEEEA36 | Principles of Robotics | 3 | 0 | 0 | 3 |
| UECSA15 | Computer Organization and Architecture | 3 | 0 | 0 | 3 |
| ELECTIVE II |
| UEEEA37 | Power System Dynamics | 3 | 0 | 0 | 3 |
| UEEEA38 | High Voltage Engineering | 3 | 0 | 0 | 3 |
| UEEEA39 | Solid State Relays | 3 | 0 | 0 | 3 |
| UEEEA40 | Adaptive Control | 3 | 0 | 0 | 3 |
| UECSA45 | Embedded System Design | 3 | 0 | 0 | 3 |
| ELECTIVE III |
| UEEEA41 | Power System Transients | 3 | 0 | 0 | 3 |
| UEEEA42 | Internetworking Technology | 3 | 0 | 0 | 3 |
| UEEEA43 | Power System Restructuring and Deregulation | 3 | 0 | 0 | 3 |
| UEBAA02 | Total Quality Management | 3 | 0 | 0 | 3 |
| UEMAA07 | Operations Research | 3 | 0 | 0 | 3 |
| UEEEA48 | LED Lighting Technology | 3 | 0 | 0 | 3 |
| ELECTIVE IV |
| UEEEA44 | Power Quality | 3 | 0 | 0 | 3 |
| UEEEA45 | Utilization of Electrical Energy | 3 | 0 | 0 | 3 |
| UEEEA46 | Virtual Instrumentation | 3 | 0 | 0 | 3 |
| UEITA15 | Neural Network and Fuzzy Logic Control | 3 | 0 | 0 | 3 |
| UEEEA47 | Electric Safety and Quality Management | 3 | 0 | 0 | 3 |
| UEMEA29 | Finite Element Analysis | 3 | 1 | 0 | 4 |

L – Lecture; T – Tutorial; P – Practical; C - Credit

I YEAR – ANNUAL PATTERN

CURRICULUM FOR ALL B.TECH PROGRAMME

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| Theory |
| GEA001 | Communication in English | 3 | 0 | 0 | 6 |
| GEA002 | Engineering Mathematics | 3 | 1 | 0 | 8 |
| GEA003 | Engineering Physics | 3 | 0 | 0 | 6 |
| GEA004 | Engineering Chemistry | 3 | 0 | 0 | 6 |
| GEA005 | Basic Electrical & Electronics Engineering | 3 | 0 | 0 | 8 |
| GEA006 | Basic Mechanical & Civil Engineering | 3 | 0 | 0 | 6 |
| GEA007 | Engineering Graphics | 3 | 1 | 0 | 8 |
| GEA008 | Introduction to Computing | 3 | 0 | 0 | 6 |
| Practical |
| GEA009 | Physics & Chemistry Laboratory | 0 | 0 | 3 | 6 |
| GEA010 | Engineering Practices Laboratory | 0 | 0 | 3 | 6 |
| GEA011 | Computer Practice Laboratory | 0 | 0 | 3 | 6 |
| Total | 24 | 2 | 9 | 72 |

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 6 |

COURSE CODE: GEA001

COURSE NAME: COMMUNICATION IN ENGLISH

COURSE OBJECTIVES

- To enable the students to become aware of their present communication skills and the skills they will need to function as successful professionals.

- To encourage them to acquire the necessary skills so that they can handle day to-day personal and professional responsibilities

- To build their confidence and to instill competitiveness by projecting a positive image of themselves and their future

COURSE OUTCOMES

After undergoing this course students will be able to:

- Communicate academic knowledge by using specific, technical vocabulary in various contexts

- Write well articles on various topics

- Ready to speak in any situations.

- Prepare them to face the challenges in the interviews at global level.

- competent in any kind of literary activities boldly

PRE-REQUISITES

- Basic  grammar

- Communicative skills

CONTENTS

UNIT-I

GENERAL VOCABULARY

- Word formation using prefixes and suffixes labeling and identification of words formed Nominal compounds

TECHNICAL VOCABULARY

- Definitions and extended definitions Listening and reading for interpretation Transcoding or transformation of information Process description

- Paragraph writing - General and technical

UNIT II TENSES

- Subject/verb agreement

- Gerunds as different parts of speech

- Active and Passive voices Framing of Wh-questions Modal verbs

- Conditional statements

- Cause and effect statement

UNIT III COMMUNICATION SKILLS

- Group discussion

- Presentation

- Proposed and completed projects

- Interview skills

- Mock interviews

CONVERSATION SKILLS

- Persuasive speech

- Leading conversation Dealing with clients

UNIT IV WRITTEN SKILLS

- Letter writing

- Formal and informal letters

- E-mail communication

- Note taking

- Instructions

- Preparing minutes of meeting

- Mini project not less than 50 pages

- Relevant to branch of study

- Agenda or itinerary of Industrial visits

- Planning an industrial tour, national or international level conferences/seminars

UNIT V CREATIVE THINKING AND CRITICAL THINKING

- Discussion of current events and problems Offering suggestions/solutions/opinions Crisis management and trouble shooting.

TEXT BOOKS

1.Dr. S. Ganesan, et al, “Communication in English”, Himalaya Publishing House, Mumbai, 2009.

2.Dr. S. Ganesan, Dr. Marry T. Persis, Ms. B. Subhashini, “Effective Communication in Technical English”, Dhanam Publications, Chennai – 600 042, 2010.

REFERENCE BOOKS

1.P.K Dutt, G. Rajeevan and C.L.N Prakash, “A Course in Communication Skills”, Cambridge University

Press, India 2007.

2.Edgar Thorpe, Showick Thorpe, “Objective English”, Second Edition, Pearson Education, 2007

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 8 |

COURSE CODE: GEA002

COURSE NAME: - ENGINEERING MATHEMATICS

COURSE OBJECTIVES

- To develop the basic mathematical knowledge and computational skills of the students in the areas of applied mathematics.

- To develop the skills of the students in the areas of several variable Calculus, Matrices, and sequences and series.

- To develop the skills of the students in the areas of Vector Calculus, Integral Calculus,

- Complex variables, Laplace Transform and ordinary differential equations.

- To serve as a pre-requisite mathematics course for post graduate courses, specialized studies and research.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Demonstrate understanding of the derivatives of functions of several variables, viz., partial and total differentiation, and differentiation of implicit functions and optimize the functions of several variables using Hessian method and Lagrangian method, and perform gradient, divergence and curl operations in vector and scalar fields

- apply  Green‟s  theorem,  Gauss  Theorem  and  Stokes  theorem  as  the  generalization  of Fundamental theorem of Integral calculus and evaluate double integration and triple integration using Cartesian, polar co-ordinates and the concept of Jacobian of transformation from one coordinate system to another coordinate system.

- discuss the convergence and divergence of sequence and series of real numbers using various tests. Take Laplace transformation of different types of functions, derivatives and integrals,  and how it converts complex systems into simple algebraic equations to find out solutions.

- distinguish  between  real  function  differentiation  and  complex  function  differentiation, applicability of analytic and harmonic nature of complex valued function in electrical engineering and study of fluids. Apply complex integration using Cauchy‟s integral theorem and Cauchy‟s residue theorem and their applications in evaluating integrals.

demonstrate the understanding of solving ordinary differential equations using operator methods,  method of undetermined coefficients, method of variation of parameters  and Laplace transformation techniques, calculate eigenvalues  and eigenvectors,  apply  Caley- Hamilton theorem, and diagonalize  of symmetric matrices and demonstrate the nature of quadratic forms.

PRE-REQUISITES:

- Basic  mathematics

- Differential Calculus

- Integral Calculus

COURSE CONTENTS

UNIT I

DIFFERENTIAL CALCULUS OF FUNCTIONS OF SEVERAL VARIABLES & VECTOR DIFFERENTIAL CALCULUS

Functions of several variables - Domains and regions- Functional notation - Level curves and level surfaces - Limits and continuity - Partial derivatives - Total differential- Fundamental lemma- Derivatives and differentials of functions of functions- Implicit functions- Inverse functions- Jacobians and their properties- Maxima and minima of functions  with side conditions- Lagrange‟s method of multipliers.

Vector fields and scalar fields - The gradient field - The directional derivative- Divergence and Curl of a vector field- Solenoidal and Irrotational vector fields- The Laplacian in polar, cylindrical, and spherical coordinates.

UNIT II

INTERGRAL CALCULUS OF FUNCTIONS OF SEVERAL VARIABLES & VECTOR INTEGRAL CALCULUS

Double integrals- Changing the order of integration- Cartesian and polar coordinates- Evaluation of double integrals in Cartesian coordinates by transforming them from Cartesian to polar coordinates- Triple integrals- Area as a double integral- Volume as a triple integral.

Line integrals in the plane-Line integrals as integrals of vectors- Green‟s theorem (with out proof) in the plane and its verification- Line integrals in space- Surfaces in space- Normal to the surface- Orientability- Surface integrals- Divergence theorem (with out proof) and Stokes‟ theorem (with out proof) and their verification involving cubes and rectangular parallelepiped only.

UNIT III

INFINITE SERIES, IMPROPER INTEGRALS & LAPLACE TRANSFORMS

Infinite  series:  Infinite  sequences-  Limit  of  a  sequence-  Infinite  series-  Convergence-  Tests  for convergence and divergence- Sequences and series of functions- Uniform convergence- Weierstrass M- test for uniform convergence- power series- Taylor and Maclaurin series- Taylor‟s formula for functions of two variables.

Improper Integrals: Meaning of improper integrals- Definitions of beta integral and gamma integral- Formulas

- Evaluation of using beta and gamma functions.

Laplace Transform: Definition of Laplace transform- Condition for its existence- Laplace transforms of elementary functions- Basic properties of   Laplace transform Transforms of derivatives and integrals- Shift theorems- Transforms of unit step Functions and impulse functions- Transform of periodic functions- meaning of the inverse Laplace transform- Statement of the Convolution theorem- Tauberian theorems- Initial and final value theorem

UNIT IV FUNCTIONS OF A COMPLEX VARIABLE Analytic Functions: Definition of analytic function- Statement of Cauchy- Riemann‟s necessary conditions- Statement of sufficient conditions- Harmonic and orthogonal properties of   and  where  is analytic- Finding the analytic function when the real part or the imaginary parts or the sum of the real and imaginary parts or the difference of the real and imaginary parts is given- Concept of conformal mapping defined by  , where  is an analytic function- Discussion of the mappings  Definition of bilinear transformation- Cross-Ratio and its invariance property- Finding the bilinear transformation using the invariance property of cross-ratio.

Complex  Integration:  meaning  of  complex  integration-  Statement  and  applications  of  Cauchy‟s Integral theorem and of Cauchy‟s Integral Formula- Taylor‟s  and laurent‟s expansions- Singular points and their types- Definitions of residue at a singular point- Statement of the Residue theorem and its application in the evaluation of real improper integrals (Problems involving unit circle and semi-circular contours excluding poles on the boundaries)- Statement of the theorem involving the Inverse Laplace transform as a contour integral.

UNIT V MATRICES & ORDINARY DIFFERENTIAL EQUATIONS

Matrices: Rank of matrices- Consistency of linear equations- Characteristic equation, Characteristic values and characteristic vectors of a square matrix of rational numbers- Diagonal, Symmetric and Orthogonal matrices and their properties- Statement of Cayley- Hamilton theorem and its verification for 2nd and 3rd order matrices only- uses of Cayley- Hamilton theorem in finding the inverse of a non-singular matrix and the power of a square matrix- Representation of matrices in diagonal forms.

Ordinary Differential Equations: Methods and solutions of Higher order linear differential equation with constant coefficients- Method of variation of parameters- Method of undetermined coefficients- Cauchy‟s and Legendre‟s linear equations- Simultaneous first-order linear equations with constant coefficients- Finding the solution of a system of first-order linear equations with constant coefficients by reducing it to a single differential equation of higher order- Finding the solution of a system of first- order linear equations with constant coefficients by matrix method- Solution of ordinary second order linear differential  equations  and  simultaneous  first-order linear  equations  with  constant  coefficients  using Laplace transform.

TEXT-BOOKS:

1.G.B. Thomas and R.L. Finney, Calculus and Analytical Geometry, 9th edition, Addison-Wesley  Publishing House, 1995.

2.E. Kreyszig, Advanced Engineering Mathematics, 9th edition, Wiley, 2005.

3.R.K. Jain and S.R.K. Iyengar, Advanced Engineering Mathematics, 3rd edition, Narosa Publishing House, 2009.

REFERENCE BOOKS:

1.P.  Duraipandian,  S. Udayabaskaran and T. Karthikeyan, Engineering Mathematics (I Year), Muhil Publishers, 2010.

2.W.E. Boyce and R.C. DiPrima, Elements of Differential Equations and Boundary Value Problems, 9th edition, Wiley, 2008.

3.J.W. Brown and R.V. Churchill, Complex Variables and Applications, 8th edition, McGraw Hill, 2008.

4.M.R. Spiegel, Laplace Transforms, McGraw Hill, 1965.

5.Piskunov, Differential and Integral Calculus (Vol. I & II), CBS Publishers, 1995 & 1999.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 6 |

COURSE CODE: GEA003

COURSE NAME: ENGINEERING PHYSICS

COURSE OBJECTIVE:

To understand the basic laws of physics and their applications in engineering and technology. To develop scientific temper and analytical capability.

To solve various engineering problems.

Basically this is a basic course to understand properties of various materials.

To develop basic understanding of the rapidly changing technological scenario.

To impart the requisite understanding for the appropriate selection of materials for various engineering applications

COURSE OUTCOME:

Upon completing this course, students will be able to

- Provide accurate diagrams of oscillators  and distinguish piezo  electric and magentostriction generators,     characterize different types of crystal system, demonstrate the understanding of the structure and dynamics of both atoms and molecules, and, basics of energy band structures of an insulator, semiconductor and conductors.

- Understand  the  difference  between  thermal  and  electrical  conductivity;  to  distinguish  the between classical and quantum theory of electrons.

- Explain the laser action, analyze different types of lasers and their applications,  classify fibers as single-mode, multimode step index and multi-mode graded index,  describe modes in multimode fibers and mode field parameter in single-mode fibers, classify fiber optic cables, connectors, sensors and explain the basis of signal degradation in optical fibers.

- Differentiate different types of semiconductors and apply the concepts to obtain its applications like semiconductor diodes, transistor; distinguish between perfect conduction and perfect diamagnetism, and give a qualitative description of the Meissner effect.

- Distinguish magnetic and non-magnetic materials and types of magnetic materials, understand the types of materials with respect to the presence of materials such as, insulators, dielectric, ferro and paraelectric materials; and to distinguish between the polar and nonpolar molecules and synthesize nano particles by different methods.Students will be able to describe some of the applications of nanoparticles.

Pre-requisites:

- Basic Science

Basic Mathematics

COURSE CONTENTS

UNIT 1 ULTRASONICS

Introduction – Production – magnetostriction effect – magnetostriction generator – piezoelectric effect – Piezoelectric generator- Detection of ultrasonic waves properties – Cavitations – Velocity measurement – Acoustic grating – Industrial applications – Drilling, welding, soldering and cleaning – SONAR.  – Non Destructive Testing – Liquid penetrant method - Pulse echo system – A, B and C – scan displays – Radiography methods – Medical applications – Sonograms.

CRYSTALLOGRAPHY

Lattice – unit cell – Bravais lattice – lattice planes – Miller indices –d spacing in cubic lattice – Calculation of number of atoms per unit cell – Atomic radius – Coordination number – Packing factor for SC, BCC, FCC and HCP structures – Polymorphism and allotropy – Crystal defects – Point, line and surface defects– Burger vector.

UNIT II

QUANTUM PHYSICS AND APPLICATIONS

Black body radiation – Planck‟s quantum theory - Development of quantum theory – Planck‟s radiation formula - Stephen-Boltzmann law, Wien‟s displacement law, Rayleigh – Jean‟s law – Photo electric effect –  Law  of  photoelectric  emission  –  Explanation  of  photoelectric  emission  laws  using  Einstein‟s photoelectric equation – Types of photoelectric cells – Application  of photoelectric effect. Compton effect – Schrödinger wave equation – Time dependent and time independent wave equations - Applications of Schrödinger wave equation – Particle in one dimensional box.

BAND THEORY OF SOLIDS

Bloch theorem – Kronig-Penney model (qualitative treatment) – energy band  formation in solids – classification of materials into conductors, semiconductors and insulators – concept of effective mass of an electron.

UNIT III LASER AND FIBRE OPTICS

Introduction – Spontaneous and stimulation emission of radiation – Einstein‟s coefficient – Amplification of light – Population inversion –Pumping mechanisms – Optical resonators – Laser characteristics  – Laser types –  Ruby laser, He –Ne laser, CO2 laser, Semiconductor laser ( Homo junction and Hetro junction) – Applications  of laser –  Industrial  applications    - Medical  applications  –  Principle of Compact  Disc- Construction and reconstruction of a hologram.

Principle and propagation of light in optical fibers – Numerical Aperture and Acceptance angle – Types of Optical Fibers ( material, refractive index, mode), Application – Dispersion – losses in fibres – manufacturing of fibres - Fiber Optic Communication system – Fiber Optic Sensors ( displacement sensor and pressure sensor) – Medical Endoscope.

UNIT IV MATERIAL SCIENCE CONDUCTING MATERIALS

Conductors - Classical free electron theory – Electrical and Thermal Conductivity- Wiedemann-Franz law- Drawback of classical theory-  quantum free electron theory – Fermi-Dirac distribution (analytical) and its temperature dependence – Fermi energy – electron scattering and resistance – Matthiessen‟s rule.

SEMICONDUCTORS

Intrinsic semiconductors – carrier concentration – expression for conductivity – extrinsic semiconductors – carrier concentration – drift and diffusion – Hall effect –direct and indirect band gap semiconductors

SUPERCONDUCTORS

General properties – Meissner effect – penetration depth – type I and type II superconductors – flux quantization –DC and AC Josephson effect – BCS theory – applications of superconductors

UNIT V MAGNETIC MATERIALS

Permeability – magnetization -  origin of magnetic moment – classification of magnetic materials – Dia, para and ferro magnetism – hysteresis curve – soft and hard magnetic materials

DIELECTRIC MATERIALS

Dielectric constant – electronic, ionic and orientational polarizations – Internal fields in solids – Clausius- Mossotti equation – dielectrics in alternating fields – frequency dependence of the polarizability – Ferro and Piezo electricity

NEW ENGINEERING MATERIALS

Metallic  glasses  –  Production  methods  –  Properties  and  application  -  Shape  memory  alloy  – Characteristics and applications - Nano phase materials – Synthesis – Plasma arcing – Chemical vapour deposition – Sol gel method – Electro deposition – Ball milling – Properties and application - Carbon nano tubes – Types, fabrication methods – Arc method – Pulsed laser deposition - Structure, properties and application.

TEXT BOOKS:

1.P.K.Palanisamy,”Modern Engineering Materials”, SCITECH Publications, 2009

2.Dr.P.Mani,”Engineering Physics “, Dhanam Publications, 2010

REFERENCES:

1.S.L.Kakani and Shubhra Kakani,     ”Engineering Physics”, 2nd  ed., CBS publications and Distributors, 2008

2.Arthus Beiser, “Concepts of Modern Physics”, Tata Mc Graw Hill Publications (2007)

3.S.O. Pillai, “ Solid State Physics”, New age Intl Publications {5th Edition – 2002)

4.Murugeshan and Kiruthiga Sivaprakash, “Modern Physics”, 13th Edition, S. Chand Publications (2007)

5.Ali Omer, “Elementary Solid State physics”, Person Publications 5th Edition (2004)

6.A.S. Vasudeva, “Modern Engineering Physics”, S. Chand and Company Ltd, 3rd Revised Edition.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 6 |

COURSE CODE: GEA004

COURSE NAME: ENGINEERING CHEMISTRY

COURSE OBJECTIVES:

Impart a sound knowledge on the principles of chemistry involving the different application oriented topics required for all engineering branches

Develop understanding of principles of water treatment, surface chemistry, thermodynamics, electrochemistry, corrosion, fuels and combustion along with preparation and application  of

important engineering materials and polymers

Develop communication and interpersonal skills, scientific approach towards solving time bound theoretical and experimental problems and ability to work in a team both as members and

leaders.

COURSE OUTCOMES

After completing first year, students from all branches of engineering will possess:

Students will have knowledge about the design of boilers and its conditioning methods. Students will develop understanding of the concepts and importance of the domestic water treatment methodology which is useful for the industries.

Students will have knowledge about the industrial applications of adsorption techniques.

Students will have knowledge about the energy sources and batteries along with the need of new materials to improve energy storage capabilities.

Students will develop understanding of thermodynamics and its applications

Students will have understanding about spectroscopic instruments required for discovery and characterization methods of new materials.

Students will have knowledge about fuels and importance of new compounds which can be used as fuels.

Students will be acquainted with industrially important Engineering polymers; their nature, chemical compositions and mode of action.

Students will have knowledge about the alloys which are useful to design the new materials for domestic and industrial purpose.

Students will develop understanding of industrially important Engineering materials which will

motivate students towards development of novel materials for the human community.

Pre-requisites:

- Basic Science

- Basic Mathematics

COURSE CONTENTS

UNIT I: THERMODYNAMICS

Introduction – thermodynamic equilibrium-work and heat- heat capacity of a system- relation between Cp and  Cv  –  Zeroth,  First  and  Second  law  of  thermodynamic-  Gibb‟s-helmholtz  equation-  Van‟t  Hoff isotherm-maxwell relation.

FUELS AND COMBUSTION

Proximate and ultimate analysis of coal-significances, characteristic of metallurgical coke – manufacture by Otto-Hoffmann method- synthetic petrol Bergius process – Fischer Tropsch‟s  process-Knocking – Octane number- improvement of anti knocking characteristics-cetane number- Gaseous fuel- water gas- producer gas & CNG, group and net calorific values (Dulong‟s formula) – simple problem – calculation of minimum air requirements-simple problems- flue gas analysis – Orsat apparatus.

UNIT II

SURFACE CHEMISTRY

Introduction-types of adsorption-adsorption of gases on solids, solute from solution-adsorption isotherm- Freundlich and Langmuir adsorption isotherm Role of adsorbent in catalysis- ion exchange reaction- chromatography – pharmaceutical industries – role of activated carbon in pollution abatement of air and waste water- Industrial applications of adsorption.

PHASE RULE

Statement and explanation of the terms involved- one component water system- condensed phase  rule- construction of phase diagram by thermal anaysis-simple eutectic systems- Pb-Ag and Fe- C system – Alloys-importance – ferrous alloys – Nichrome-Alnico and stainless steel – non-ferrous alloys- solder, brass and bronze- heat treatment of alloys.

UNIT III ELECTROCHEMISTRY

Electrochemical cells- reversible & irreversible cell- EMF- measurement of EMF- single electrode potential-

Nernst  equation-problems-reference electrode- SHE-Calomel electrode-ISE-Glass electrode-measurement of PH-electrochemical series- significance- potentiometric titration –precipitation titration –conductometric titration.

ENERGY SOURCES & STORAGE DEVICES

Renewable and non – renewable energy resources – nuclear fission – fusion – chain reaction – nuclear energy – nuclear reactor – light water nuclear power plant – breeder reactor – wind energy – solar energy – tidal energy – types of battery – alkaline battery – lead acid, NiCad & Li batteries – H2 – O2 fuel cell.

UNIT IV   SPECTROSCOPY

Introduction- Electromagnetic radiation- absorption of electromagnetic radiation- interaction of electromagnetic radiation with matter- Beer- Lambert‟s law- principle & instrumentation of UV- Visible spectroscopy,   AAS,   IR  spectroscopy-   estimation   of   iron   by   colorimetry-   flame   photometry- instrumentation (block diagram)- estimation of sodium by flame photometry- Microwave spectroscopy and its applications.

POLYMERS

Introduction- classification of polymers- types of polymerization- Conducting polymers- Bio degradable polymers- Engineering plastics- PVC- Teflon- PC- Perlon-U, Thermocole, PMMA & Epoxy resins- Rubber- types- vulcanization of rubber- Polymer blend & alloys- composites- FRP, MMC & CMC – Industrial applications of polymers.

UNIT V

WATER TECHNOLOGY

Introduction- Boiler feed water- requirements- disadvantages of using hard water in boilers- internal conditioning (phosphate.calgon and carbonate conditioning methods)- external conditioning- demineralization process-desalination- reverse osmosis- Electrodialysis- Domestic water treatment.

NEW ENGINEERING MATERIALS

Semi conductors- Superconductors- Organic electronic materials- Solid oxide materials- Memory metals- Nano materials- CNT –Nano composites- Stone tools to designer drugs-Optical fibres- Buckminister fullerenes

Engineering materials- Abrasives, Refractories and Lubricants- Classification and properties.

TEXT BOOKS:

1. Dr. A. Ravikrishnan – Engineering Chemistry, Sri Krishna Publication, Chennai – 600 037

2.R. Gopalan, D. Venkappayya; Sulochana nagarajan – “ A Text Book of Engineering Chemistry”, Vikas Publishing House Pvt Ltd, New Delhi – 110 014.

3.Shelley Oberoi. Monika Malik – “Engineering Chemistry”, Cengage Learning India Pvt Ltd, Delhi – 110 092.

4.Dr. J. Nandagopal, Dr. S. Sivanesan, Dr. S.K. Chitralekha Devi – “A Text Book of Engineeing Chemistry” V.K. Publication, Chennai – 600 042.

REFERENCES:

1. P.C.Jain and Monica Jain - “Engineering Chemistry” Dhanpat Rai Pub, Co.,    New Delhi (2002)

2. S.S.Dara       - “A Text book of Engineering Chemistry” S.Chand & Co.Ltd., New Delhi (2006)

3. Puri B.R, Sharma L.R. & S.Pathania - “Principles of physical Chemistry,    Shoban Lal nagin Chand & Co., Jalandhar (2000)

4.  B.Sivasankar - “Engineering Chemistry” Tata McGraw-Hill Pub.Co.Ltd. New Delhi (2008)

5. B.K.Sharma - “Engineering Chemistry” , Krishna Prakasan Media (P) Ltd., Meerut (2001)

6. Bhal B.S., Tuli G D, and Arun Bhal, - “Essentials of Physical Chemistry,   S.Chand & Company Ltd., New Delhi, 2004.

COURSE CODE: GEA005

COURSE NAME: BASIC ELECTRICAL AND ELECTRONICS ENGINEERING

COURSE OBJECTIVES

To impart knowledge in various AC circuit parameters. To impart

knowledge in various DC circuit parameters.

COURSE OUTCOMES

- Students are expected to learn the physical recognition of different electrical   components like Resistances, Inductances, Capacitances and their ratings.

- Students are expected to have learnt the verifications of basic laws of electric circuits   like Ohm‟s law and Kirchhoff‟s laws.

- Students are expected to connect electric circuits, and able to use electric instruments to perform  experiment

Pre-requisites:

- Basic Science

- Basic Mathematics

COURSE CONTENTS

UNIT I ELECTRICAL MACHINES AND MEASURING INSTRUMENTS

D.C. Generator – D.C. motor – Determination of the  efficiency of a D.C.motor – Transformer – Voltmeter and ammeters – dynamometer type wattmeter – induction type energy meter – Multimeter – Megger (Basic construction and principles of operation only)

UNIT II ELECTRONIC COMPONENTS AND TRANSDUCERS

Electronic components - Passive circuit component – Resistors – Film and wire wound resistors and their tolerances – Potentiometers – single turn and multiturn potentiometers  – capacitors – Electrolytic, ceramic, polystyrene, mica and paper capacitors –dissipation factor – uses of various types of capacitors in  circuits.Transducers  –Displacement,  velocity,  force,  strain,  pressure,  temperature,  flow  and light transducers  (Examples and applications)

UNIT III SEMICONDUCTOR DEVICES

Basic concepts of PN junction – diodes –Zener diodes – Bipolar Junction Transistor – Junction field effect - Transistor – MOSFET – Thyristor- Photoelectric devices ( Basic principles and applications)

UNIT IV DIGITAL ELECTRONICS

Binary Number System – Logic Gates – Boolean Algebra – Half and Full Adders – Flip-Flops – Registers and Counters – A/D and D/A Conversion

UNIT V INTRODUCTION TO COMMUNICATION SYSTEMS

Analogue and digital signals – telecommunication service – Transmission processes – Basic principles of modulation –AM,FM,Pulse and digital  (Qualitative  treatment  only)  - data  transmission  –  MODEM – communication systems – radio, TV, Microwave, satellite, ISDN, Internet.(Block diagrams only)

TEXT BOOKS:

1. Thyagarajan, T., K.P.S.Chelvi, & Rengasamy, T.R. - “Engineering Basics”, , New age international, 1997.

2. Muraledharan, K.A., Muthusubramanian, R. &Salivahanan,S., Basic Electrical and Electronics Engineering” Tata McGraw Hill, 1997.

3. B.L.Theraja, - “Fundamentals of Electrical and Electronics Engineering, “S.Chand and company, New Delhi, 1988.

REFERENCES

1. B.L.Theraja & A.K.Thereja,  - “A text book of Electrical Technology”, Niraja Construction & Development Company,  New Delhi, 1994.

2. V.K.Mehtha,  - “Principles of Electronics” S.Chand and Company,   NewDelhi, 1995.

3. E.Hughes 4th Edn., - “Electrical Technology” Longman group London, 1972.

4. A.Singh,  - “Principles of Communication Engineering”  S.Chand & Company,  1994.

5. V.K.Jain,  - “Switching theory and digital Electronics”, Khanna Publishers,  New Delhi, 1977

6.Salivahanan & Suresh Kumar, “Electronic Devices & Circuits”, Publishers Tata Mccraw.

7.Gupta, “Electronics & Instrumentation”, Publisher PHI.

8. T.Mahadeva, “Electronic Devices & Circuits”, Publishers Aassacn Learning Services.

COURSE CODE: GEA006

COURSE NAME: BASIC MECHANICAL AND CIVIL ENGINEERING

PART A – MECHANICAL ENGINEERING

COURSE OBJECTIVES

Understand the concept of manufacturing processes and basic mechanical principles

To impart knowledge on fundamentals of civil engineering.

COURSE OUTCOMES

Knowledge on basic mechanical and civil engineering principles

Apply engineering principles for the design of mechanical and civil structures

Pre-requisites:

- Basic Science

- Basic Mathematics

COURSE CONTENTS

UNIT I     MANUFACTURING PROCESSES

(a)       Metal cutting

Introduction to Manufacturing & Machining - The Metal cutting process - Orthogonal and oblique metal cutting,  Types  of Machining Operations  & Terminology  – The Cutting Tool –  Descriptive study  of constructional features & operations of a typical Centre lathe

(b)       Metal forming

Introduction  to  metal  forming  –  Terminology  -  Bulk  deformation  &  Sheet  metal  working  –  Basic operations - Hot forming and cold forming – Detailed study of constructional features & operations of a typical forming machine.

(c)        Metal Joining

Introduction to Metal Joining Processes - Terminology - Welding processes - Arc & Gas welding - AC & DC welding equipments - Brazing and soldering – Descriptive study of constructional features & operations of a typical welding machine.

UNIT II   COMBUSTION ENGINES & POWER PLANTS

(a)       Combustion Engines

Principle of Internal and external combustion engines – Petrol engine, diesel engine, working principle and comparision - Two stroke and four stroke engines, working principle and comparision - Alternative fuels  –  Descriptive  study  of  constructional  features  &  principle  of  operation  of  a  typical  Internal Combustion Engine.

(b)       Power Plants

Introduction to Pumps – Reciprocating & Centrifugal – Turbines – Pelton wheel & Francis -  Power Plant Engineering - Classification of Power Plants – Working principle of Steam, Hydro-electric and Nuclear Power plants – Merits and Demerits Descriptive study of constructional features & principle of operation of a typical hydraulic turbine.

UNIT III  REFRIGERATION & AIR-CONDITIONING SYSTEM

(a)       Refrigeration System

Introduction to Refrigeration - Terminology – Non cyclic & Cyclic Refrigeration - Principle of vapour compression and vapour absorption refrigeration system - Applications.

Descriptive study of constructional features & principle of operation of a typical Refrigeration system.

(b)       Air Conditioning System

Air-Conditioning – Terminology - Layout of typical domestic refrigerator – Window and Split type room Air conditioner – Applications

Descriptive study of constructional features & principle of operation of a typical Air Conditioning System.

UNIT IV   INTRODUCTION TO CIVIL ENGINEERING AND CONSTRUCTION MATERIALS Introduction to Civil Engineering: Civil engineering --Importance of civil engineering -- Branches of civil engineering.

Construction Materials:  Soil – Stones – Bricks – Timber -- Cement -- Aggregate – Concrete -- Steel and Bitumen.

UNIT V    FUNDAMENTALS OF CIVIL ENGINEERING

Mechanics: Forces -- Mechanical properties of materials -- Simple Stress and Strain.

Foundations: Bearing capacity of soil -- Requirements of foundations -- Types of foundations.

TEXT BOOKS:

1.Shantha Kumar S R J., “Basic Mechanical Engineering”, Hi-tech Publications, Mayiladuthurai, (2000).

2.Venugopal K and Prahu Raja V, “Basic Mechanical Engineering”, Anuradha Publishers, Kumbakonam,(2000).

3.Ramamrutham. S, “Basic Civil Engineering”, Dhanpat Rai Publishing Co. (P) Ltd. (1999).

4.Rangwala, S.C., “Engineering Materials ", Charotar Publishing House, Anand,   1997.

5.Shanmugam G and Palanichamy M S, “Basic Civil and Mechanical Engineering”,Tata McGraw Hill Publishing Co., New Delhi, (1996).

REFERENCES:

1.Rao P.N., “Manufacturing Technology”, 2nd Edition, Tata McGraw Hill Inc., New Delhi.

2.Surendra Singh, “Building Materials ", Vikas Publishing Company, New Delhi, 1996.

3.Neil Jackson and Ravindrakumar Dhir, “Civil  Engineering Materials ".

4.National Building Code of India, “Building Materials ", Part V, 1983.

5.Khurmi R.S. & Gupta J.K., " A Text Book of Thermal Engineering (Mechanical Technology) “, S.Chand &Co., New Delhi, 1999.

6.Campbell  J.S.,  “Principles  of  Manufacturing  Materials  and  Processes”,  14th  Edition,Tata  McGrawHill.Inc., New Delhi, 1995.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 8 |

COURSE CODE: GEA007

COURSE NAME: ENGINEERING GRAPHICS

First angle projection method is to be followed. (4 Hours/Week)

COURSE OBJECTIVES

To familiarize the students in basic concept of conic sections, projections and developments of objects.

To develop the imagination and drafting skills of students.

COURSE OUTCOMES

Frame ideas based on the conceptual modeling and design

Provide good understanding of the methods involved in preparing various views in engineering drawings

Pre-requisites:

- Basic Mathematics

COURSE CONTENTS

INTRODUCTION (Not to be included for examination)

Drawing instruments and their use – Bureau of Indian Standards (BIS) conventions – free-hand lettering – dimensioning – simple geometric constructions.

UNIT I

Construction of ellipse (concentric circle and eccentricity methods), construction of parabola (rectangle and eccentricity methods), construction of hyperbola (eccentricity method) – construction of cycloid – construction of involutes of circle and square – drawing of tangents and normal at any point to the above curves.

Orthographic projections of points, orthographic projections of straight lines located in the first quadrant only – determination of true lengths and true inclinations – orthographic projections of polygonal surface and circular lamina inclined to both reference planes.

UNIT II

Projections of simple solids (prisms, pyramids, cylinder and cone) when the axis is inclined to one reference plane by change of position and change of reference line methods.

Sections of solids (prisms, pyramids, cylinder and cone) in simple vertical position by using cutting plane inclined to one reference plane and perpendicular to the other – obtaining true shape of section.

UNIT III

Free-hand sketching of orthographic views of pictorial views of solids – free-hand sketching of pictorial views of solids given the orthographic views. Development of lateral surfaces of simple and truncated solids – prisms, pyramids, cylinder and cone – development of lateral surfaces of solids with cylindrical cutouts perpendicular to the axis.

UNIT IV

Principles of isometric projection   - isometric scale – isometric projections of simple solids, truncated prisms, pyramids, cylinders and cones – isometric view of combination of two simple solids. Perspective projection of prisms, pyramids and cylinder by visual ray method and vanishing points method.

UNIT V

Top view, front view and sectional view of simple single storeyed masonry building with RCC roof. (residential and small office building) with not more than two rooms.

TEXT BOOKS:

1.K.V.Natarajan, A text Book of Engineering Graphics, Dhanalakshmi Publisher, Chennai – 42, 2009

2.Venugopal K., “Engineering Graphics”, New Age International (P) Limited, 2002.

REFERENCES:

1.Warren J. Luzadder and Jon. M.Duff, “Fundamentals  of Engineering Drawing”, Prentice Hall of India Pvt., Ltd., Eleventh Edition, 2001.

2.BIS code: SP 46:2003 Engineering Drawing practice for Schools & Colleges.

COURSE CODE: GEA008

COURSE NAME: INTRODUCTION TO COMPUTING

COURSE OBJECTIVES

The objective is to know

Understand to express solution of a problem using an algorithm, Understand to argue that the solution (algorithm) is correct and efficient

. Learn basics of C and C++ programming

COURSE OUTCOMES

The student are expected to

Be able to identify computer hardware and peripheral devices

• Be familiar with software applications

• Understand file management .

• Distinguish the advantages and disadvantages of networks

• Explore the Web and how to conduct research

Pre-requisites:

- Basic Computer knowledge

- Basic Mathematics

COURSE CONTENTS

UNIT I INTRODUCTION TO COMPUTING

Computer basics-Data representation-Input/Output  units  – computer memory  – Binary  arithmetic – computer languages – computer generations and classification –computer networks

UNIT II INTRODUCTION TO C

Introduction to Programming Language – C Fundamentals – Operators and Expressions – Data Input and Output – Control statement - Functions – Arrays and Strings.

UNIT III FUNCTIONS AND RECURSION

Concepts of functions with various types of parameters. Various types of parameter passing mechanisms. Recursive functions and implementation of these concepts in „C‟. Introduction to structures, union and its implementation-concepts of pointers and simple program using pointers – preprocessor

UNIT IV INTRODUCTION TO C++ LANGUAGE

OOPS concepts and its advantages  - Principles of object oriented programming - Comparison with procedural languages - Tokens, expressions and control structures –Functions - Classes and Objects: Declaring classes, defining member functions, Making an outside function inline, nesting of member functions, private member functions - Arrays with in a class, Memory allocation of objects, static data members, static member functions, arrays of objects, objects as function arguments, friend function, returning of objects, constant member function.

UNIT.V POINTERS, VIRTUAL FUNCTION, POLYMORPHISM

Constructors – Destructors - operator overloading - type conversion - Inheritance - pointers-virtual functions - polymorphism

TEXT BOOKS:

1. Rajaraman - “Fundamentals of computers”Prentice Hall of India

2. Balagurusamy E  - “Programming in ANSI C”Tata McGraw-Hill Publishing Company limited

3. Balagurusamy E  - “Object oriented programming with C++” ,  Tata McGraw-Hill   Publishing Company limited

REFERENCES:

1. Kanetkar - “Let us C”, 4TH edition, Yashavant  Publisher:BPB

2. Balagurusamy E - “Programming in ANSI C”, 2nd edition   Tata McGraw-Hill Publishing Company Ltd.

| L | T | P | C |
| --- | --- | --- | --- |
| 0 | 0 | 3 | 6 |

COURSE CODE: GEA009

COURSE NAME: PHYSICS & CHEMISTRY

PHYSICS LABORATORY:

COURSE OBJECTIVES

To impart skills in measurements and hand on operation

To design and plan the experimental procedure and to record and process the results. To reach non trivial conclusions of significant of the experiments.

COURSE OUTCOMES

After the completion of the experiments in Physics lab, students gain

Skills on measurements. Knowledge to design

Plan the experimental procedure

To record and process the results. Ability to analyze the results

COURSE CONTENTS

(Any 10 Experiments)

1.Wave length of laser and particle size – Determination using grating and Numerical Aperture and Acceptance angle of an optical fiber.

2.Rigidity modulus and moment of inertia using Torsional Pendulum

3.Young‟s modulus by uniform bending

4.Coefficient of viscosity of a given liquid by Poiseuille‟s flow using burette.

5.Newton‟s rings – Focal length of convex lens.

6.Dispersive power of prism by spectrometer.

7.Velocity of ultrasonic waves in a liquid by ultrasonic interferometer.

8.Thermal conductivity of a bad conductor by lee‟s Disc method.

9.Thermo-EMF of thermocouple by potentiometer.

10.       Band gap of semiconductor – Post Office Box.

11.       Wavelength of Mercury source using grating by spectrometer.

12.       Kundt‟s tube- Determination of velocity of sound waves and hence find the Young‟s Modules of the material of the metal rod.

CHEMISTRY LABORATORY

COURSE OBJECTIVES

To develop an understanding of basic titration setup and methodologies for determining strength, hardness and alkalinity of various unknown solutions.

To design and plan experimental procedures using basic instruments like conductometer, pH- meter, viscometer and spectrophotometer and to record and process the results.

COURSE OUTCOMES

1.   Students will have knowledge about handling analytical instruments.

2.   Students will become well acquainted to test amount of hardness present in sample of water for their engineering needs.

3.   Students will be efficient in estimating acidity/alkalinity in given samples.

4.   Students will have knowledge about estimating amount of dissolved oxygen in water.

5.   Students will be efficient in quantitative analysis of given samples.

6.   Students will become well acquainted to estimate copper in brass.

7.   Students  will  have  knowledge  about  determination  of  molecular  weight  and

degree  of polymerization using Ostwald‟s viscometer.

8. Students  will  be  efficient  in  analysis  of  solutions  using  conductometric  and  potentiometric methods.

9.   Student will having knowledge about estimation of iron using spectrophotometer.

LIST OF EXPERIMENTS (Any Ten)

I. WATER ANALYSIS

1. Estimation of hardness of Water by EDTA

2. Determination of DO in water (Winkler‟s Method)

3. Estimation of Chloride in Water sample (Argentometric)

4. Estimation of alkalinity of Water sample

5. Determination of Chemical Oxygen Demand of the sample of water/sewage

II. COMPOSITION OF ALLOY

6. Estimation of Copper in brass by EDTA

III. VISCOMETRY

7. Determination of molecular weight and degree of polymerization using

IV. CONDUCTOMETRY

8. Conduct metric titration (Simple acid base)

9. Conduct metric titration (Mixture of weak and strong acids)

10. Conduct metric precipitation titration using BaCl2 Vs Na2 SO4

11. Determination of specific and equivalent conductance at infinite dilution of a given electrolyte

V. POTENTIOMETRY

12. Potentiometric Titration (Fe2+/KMnO4  or K2Cr2O7

VI. PH

13. PH titration (acid & base)

VII. SPECTROPHOTOMETRY

14. Estimation of Ferric iron

VIII. FLAME PHOTOMETRY

15. Estimation of Na & K.

COURSE CODE: GEA010

| L | T | P | C |
| --- | --- | --- | --- |
| 0 | 0 | 3 | 6 |

COURSE NAME: BASIC ENGINEERING PRACTICES LABORATORY

GROUP A (MECHANICAL & CIVIL) MECHANICAL ENGINEERING PRACTICE

COURSE OBJECTIVES

Plumbing tools – house hold plumbing fittings and Carpentry process –

Carpentry tools, types of joints.

Types of welding & tools.

Types of machining and operations, machine tools, cutting tools (Lathe, Drilling). Sheet metal – definition, working tools, operations - forming & bending.

COURSE OUTCOMES

A wide knowledge on mechanical and civil operations.

COURSE CONTENTS

Bench work and fitting shop:

- Fitting tools, fitting operations, measurements and checking

- Exercises –

1. Square fitting

2. Vee fitting

Welding shop:

- Arc welding – tools and equipments – welding symbols – different types of joints

- Demonstration of gas welding & gas cutting

- Exercises-

1. butt joint

2. Lap joint

3. Tee joint

Machine shop:

        - Introduction to machining and common machining operations, machine tools, cutting tools, drilling – operation, types.

        - Exercises-

            - Simple turning, Facing, Chamfering and parting

            - Drilling of holes in a M. S. Flat.

Sheet Metal Work shop:

        - Sheet metal – definition, working tools, operations, different types of joints, forming & bending.

        - Exercises-

1.Making of funnel

2.Making of tray.

Machine assembly practice:

(a) Study of Centrifugal pump

(b) Study of air conditioner

CIVIL ENGINEERING PRACTICE

Plumbing shop:

        - Basic plumbing tools – house hold plumbing fittings

        - Preparation of plumbing‟s line sketches for water supply and sewage works.

        - Exercises-

            - Basic pipe connections

            - Mixed pipe material connection

            - Pipe connections with different joining components.

Carpentry shop: (Using power tools only)

        - Timber – definition, engineering applications, seasoning and preservation.

        - Plywood and Ply boards

        - Carpentry process – Carpentry tools, different types of joints, study of the joints in roofs, doors, windows and furniture.

        - Exercises-

            - lap joint

            - Half – lap corner joint

            - Tee joint

            - Dove tail joint

            - Mortise and Tennon joint

GROUP B (ELECTRICAL & ELECTRONICS)

ELECTRICAL ENGINEERING PRACTICE

1. Residential house wiring using switches, fuse, indicator, lamp and energy      meter.

2. Fluorescent lamp wiring.

3. Stair case wiring

4. Measurement of electrical quantities – voltage, current, power & power     factor in RLC circuit.

5. Measurement of energy using single phase energy meter.

6. Measurement of resistance to earth of an electrical equipment.

ELECTRONICS ENGINEERING PRACTICE

1.Study of Electronic Components and Equipments

2.Characteristics of PN Junction diode

3.Characteristics of Zener diode

4.Characteristics of BJT(Any One)

5.Characteristics of JFET

6.Characteristics of Photo diode

7.Verification of Logic Gates

8.Design and Implementation of Adders.

COURSE CODE: GEA011

| L | T | P | C |
| --- | --- | --- | --- |
| 0 | 0 | 3 | 6 |

COURSE NAME: COMPUTER PRACTICE LABORATORY

COURSE OBJEXTIVES

•     To Practice the concepts of MS Word and MS excel

•     To learn the C control structure and functions.

•     To study the C Pointers and file system.

COURSE OUTCOMES

Students are expected to perform well in sessional tests/ class assignments/

viva-voce examination.

Students are expected to design a program related to challenging questions.

Students are expected to have knowledge about MS_WORD and the internet.

COURSE CONTENTS

Programs could be written and implement the concepts of C and C++ Language.

C Programming

1. Write a C Program to find whether a given number is Odd or Even.

2.Write a C Program to test whether a string is a Palindrome.

3.Write a C Program to find whether a given number is prime.

4.Write a C Program to perform Cast(Conversion) operation.

5.Write a C Program to design an arithmetic calculator using Switch-Case.

6.Write a C Program to find largest and smallest elements in an array.

7.Write a C Program to demonstrate Looping and Control structures.

8.Write a C Program to calculate length of a String.

9.Write a C Program to demonstrate String functions.

10.Write a C Program to find a Factorial of a number using functions.

11.Write a C Program to demonstrate memory addressing Using Pointers.

12.Write a C Program to demonstrate passing pointer Parameters to functions.

13.Write a C Program to perform pointer arithmetic Operations.

14.Write a C Program to demonstrate use of  Structures and Unions.

15.Write a C Program using Enumeration.

C++ Programming

1.Write a C++ Program with a Simple Class.

2.Write a C++ Program for Object Comparison.

3.Write a C++ Program to Implement Polymorphism.

4.Write a C++ Program for processing Student Mark Sheet using Inheritance.

5.Write a C++ Program for array with different objects.

6.Write a C++ Program using Operator Overloading.

CURRICULUM FOR B.TECH ELECTRICAL AND ELECTRONICS PROGRAMME

III SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U3MAA01 | Transforms And Partial Differential Equations | 3 | 1 | 0 | 4 |
| U3EEA01 | DC Machines And Transformers | 3 | 1 | 0 | 4 |
| U3EEA02 | Electric Circuit Theory | 3 | 1 | 0 | 4 |
| U3EEA03 | Electronic Devices & Circuits | 3 | 0 | 0 | 3 |
| U3CSA01 | Data Structures And Algorithms | 3 | 0 | 0 | 3 |
| U3CEA09 | Environmental Science And Engineering | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U3EEA04 | DC Machines And Transformers Laboratory | 0 | 0 | 3 | 2 |
| U3CSA05 | Data Structures Laboratory | 0 | 0 | 3 | 2 |
| U3EEA05 | Electronic Devices & Circuits Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 3 | 9 | 27 |

III SEMESTER

U3MAA01 Transforms and Partial Differential EQUATION      L T P C

3 1 0 4

COURSE EDUCATIONAL OBJECTIVES:

- The course objective is to develop the skills of the students in the areas of boundary value problems and transform techniques.

- This will be necessary for their effective studies in a large number of engineering subjects like heat conduction, communication systems, electro-optics and electromagnetic theory.

- The course will also serve as a prerequisite for post graduate and specialized studies and research.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Understand the need for a function or its approximation as an infinite series (Fourier series) to represent discontinuous function which occur in signal processing and electrical circuits.

- Demonstrate the use of Fourier Transform to connect the time domain and frequency domain.

- Distinguish between ordinary differential equation and partial differential equation whereas in PDF the techniques for finding solutions are quite different from the ODE.

- Demonstrate understanding the formation of partial differential equations and elementary method of solving PDF.

- Demonstrate understanding of basic concepts in application of partial differential equations in heat passing through rod, vibrating membrane, two dimensional heat conduction problems.

PRE-REQUISITE:

- Engineering Mathematics-I

- Engineering Mathematics-II

COURSE CONTENTS

UNIT I 		FOURIER  SERIES							9

Dirichlet’s conditions – general Fourier series – odd and even functions – half range sine series – half range cosine series – complex form of Fourier series – Parseval’s identity – harmonic analysis

UNIT II  		FOURIER TRANSFORMS						9

Fourier integral theorem (without proof) – Fourier transform pair – sine and cosine transforms – properties – transforms of simple functions – convolution theorem – Parseval’s identity

UNIT III            PARTIAL DIFFERENTIAL EQUATIONS				         9

Formation of partial difference equations – solutions of standard types of first order partial differential equations– Lagrange’s linear equation – linear partial differential equations of second  and higher order with constant coefficients

UNIT IV         APPLICATIONS OF PARTIAL DIFFERENTIAL EQUATIONS	         9

Solutions of one dimensional wave equation – one dimensional equation of heat conduction – steady state solution of two-dimensional equation of heat conduction (insulated edges excluded) – Fourier series solutions in Cartesian coordinates only.

UNIT V          Z-TRANSFORMS AND APPLICATIONS                                               9

Z-Transforms – elementary properties – inverse Z-transform – convolution theorem – formation of difference equations – solution of difference equations using Z-transform

TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1. B.S. Grewal, Higher Engineering Mathematics, 40th edition, Khanna Publishers, New Delhi, 2007.

2. E. Kreyszig, Advanced Engineering Mathematics, 8th edition, Wiley India, 2007.

REFERENCE BOOKS

1. R.K. Jain and S.R.K. Iyengar, Advanced Engineering Mathematics, 3rd edition, Narosa Publishing House, New Delhi, 2007.

2. H.K. Dass, Advanced Engineering Mathematics,20th edition, S. Chand & Co, New Delhi, 2007.

U3EEA01-DC MACHINES AND TRANSFORMERS			L T P C												3 1 0 4

COURSE EDUCATIONAL OBJECTIVES

      - To realize the basic concept of DC machines and Transformers.

      - To develop the mathematical model for static and dynamic machines.

      - To develop the skills of the students in the areas of machines and transformers by identifying the current problem in the industries and bring solutions through research.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Evaluate the efficiency and all electrical and mechanical parameters.

- To analyze the characteristics of various DC machines and Transformers.

- Understand the functionality of each and every component employed in DC machines and transformers.

- To test and diagnose the condition the DC machines and Transformers.

PRE-REQUISITE:

Basic Electrical and Electronics Engineering, Study of Electrostatics and Magneto statics and study of dynamics (Basic physics)

CONTENTS

UNIT-I		PRINCIPLES OF DC MACHINES	                        	9

Construction of DC machine, voltage and torque productions in DC generator and DC motor, generated emf equation, generated torque equation, armature reaction in generator and motor, flux and mmf distribution, effect of brush shift, compensating winding commutation, methods of attaining linear commutation.

UNIT-II   	PERFORMANCE OF DC MACHINES		             		9

Types of DC generator, conditions of self-excitation, operating characteristics of DC generators, types of DC motors, characteristics of DC motors, starters of DC shunt and series motors, methods of speed control, losses and efficiency of DC machines.

UNIT-III 	 TESTING OF DC MACHINES	                        			9

Swinburnes test, Hopkinsons test, retardation test, field test, separation of losses, plugging, dynamic braking, regenerative breaking, DC machine applications, parallel operation of DC shunt and series generators.

UNIT –IV	  ANALYSIS OF TRANSFORMERS                         			9

Transformer fundamentals, Excitation phenomenon in transformers, switching transients, autotransformers, equivalent circuit, phasor diagram, three phase transformers, phase groups, different connections, three winding transformers, equivalent circuit and instrument transformers,special transformers-zigzag transformer.

UNIT-V   	OPERATION OF TRANSFORMERS			   		9

Parallel operation of transformers, connection from three phase to two phase, single phase and six phases, open delta operation, back to back test, separation of losses, on load tap changing.

TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

- Electric Machines-I.J. Nagrath D.P. Kothari

- Performance and design of DC machines-A.E. Claytor and Hancock

- Performance and Design of AC Machines – M.G. Say

- Performance of Transformers-H.Carton

- 3. Electric Machinery   -Stephen J. Chapman4th Edition  , McGraw Hill Higher Education

REFERENCE BOOKS

1. Electrical Machinery – Dr. P.S. Bhimbhara

2. Electrical Machines – P.K. Mukharjee & Chakravarti

3. Electrical Machines - J.B. Gupta

4.DC Machines-Cnayton

5.Electrical Machines- Stephen Chapmen

### 6.Electric Machinery - A Fitzgerald, Charles Kingsley,Publisher: McGraw-Hill scIence/Engineering/Math; 6 edition, 2002

U3EEA02 ELECTRIC CIRCUIT THEORY					L T P C

3 1 0 4

COURSE EDUCATIONAL OBJECTIVES

- To enrich the students to acquire knowledge about the basics of circuit analysis, network theorems, concepts of AC circuits, coupled & three phase circuits, transient analysis of the electric circuit.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Understand about the network elements, types of networks, network topology & analysis complex circuits using Mesh current & Nodal voltage method.

- Gain knowledge about the solution methods of AC and DC circuits.

- Get an insight into solution of RLC circuits, single phase and three phase power measurements, analysis of coupled circuits.

- Understand the concept of two port network.

- Understand the fundamentals of filters.

PRE-REQUISITE:

- Basic Electrical and Electronics Engineering

CONTENTS

UNIT I INTRODUCTION									9

Ohm's and Kirchhoff’s laws - Resistive circuits - Series and parallel reduction - Star and delta  transformation - Voltage and current source - source transformation - Introduction to alternating Quantities - Average and RMS values - Analysis of series and parallel and series-parallel RLC circuits - Resonance in series and parallel Electric circuits – Bandwidth and Selectivity of resonance circuits.

UNIT II NETWORK ANALYSIS								9

Network graphs - Concept of branch, link, tree, co tree – Incidence matrix - Loop current variables -  Loop current equations - Node voltage variables - Node voltage equations - Matrix method of solving DC and AC network - Driving point and transfer impedance/admittance - pole - zero plots and their significance in network functions - Dual networks.

UNIT III NETWORK THEOREMS							9

Superposition theorem - Thevenin's theorem and Norton's theorem - Maximum power transfer theorem - Reciprocity theorem - Millman's theorem - Substitution theorem - Tellegen's theorem - Statement and application.

UNIT IV COUPLED CIRCUITS AND 3 PHASE NETWORKS 			9

Self Inductance - Mutual Inductance - Co-efficient of coupling – Dot convention - Analysis of coupled circuits - Analysis of single tuned and double tuned coupled circuits involving mutual inductance - Phase sequence - Line and phase quantities - Phasor diagram - Solution of circuits with balanced and unbalanced loads - Power measurement by two wattmeter method.

UNIT V CIRCUIT TRANSIENTS								9

Transient response of RL,RC and RLC series and parallel circuits - Solution for step and sinusoidal input using Laplace transform method - Natural frequency, damped frequency, damping factor, logarithmic decrement - response of circuit for non-sinusoidal inputs.

TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

- W.H.Hayt and J.E.Kemmerley,"Engineering Circuit Analysis" McGraw Hill, New York, 2006.

- Joseph. A.Edminister "Electric circuits "Schaum's outline series, McGraw Hill Book Co. - 1987.

REFERENCE BOOKS

1.M.Arumugam and N.Premkumar "Electric Circuit Theory",Khanna Publishers, New Delhi,1991.

2.Theodore F.Bogart .Jr "Electric Circuits",2nd Edition - Macmillan/McGraw Hill 1992.

3.M.L.Soni, J.C. Gupta and P.V.Gupta "A course in Electrical Circuits and Fields" Dhanpatrai & sons, New Delhi,1981.

4. Sudhakar " Circuits and Networks ",TMH,1998

5.Robert L.Boylestad , "Introductory Circuit Analysis" - 8th edition,Prentice Hall Inc.-1997.

6.Richard C.Dorf "Introduction to Electric Circuits"-2nd Edition John Wiley & Sons - 1993.

7. David A Bell, Introduction to Electric Circuits “ - Prentice Hall Inc.- 2003.

U3EEA03 ELECTRONIC DEVICES AND CIRCUITS				L T P C

3 0 0 3

COURSE EDUCATIONAL OBJECTIVES

The subject aims to provide the student with:

- An understanding of basic Semiconductor Devices and Circuits abstractions on which analysis and design of electronic circuits and systems are based, including lumped circuit, digital and operational amplifier abstractions.

- The capability to use abstractions to analyze simple electronic circuits.

- An understanding of how complex devices such as semiconductor diodes and field-effect transistors are modeled and how the models are used in the design and analysis of useful circuits.

- The capability to design and construct simple circuits, take measurements of circuit behavior and performance, compare with predicted circuit models and explain discrepancies.

COURSE OUTCOMES

Analyse circuits in different biasing modes

Identify the suitable devices based on characteristics and operating conditions

Design circuits based on specifications

Distinguish various devices and operate safely within the limit of operation

Understand the functioning of various electronic circuits.

PRE-REQUISITES: Engineering Physics and BEEE

COURSE CONTENTS

UNIT I - PN JUNCTION DEVICES 							9

PN junction diode –structure, operation and V-I characteristic-current equation of drift current density and diffusion current density-junction diode switching characteristics - diffusion and transient capacitance – zener diode - LED, varactor diode – tunnel diode – Schottky diode – Basic transistor operation – Transistor characteristics and parameters – Thermal runaway.

UNIT II – UNI-POLAR JUNCTION TRANSISTORS                                		9

UJT– structure , operation and V-I characteristic- MOSFET – structure, operation and  V-I characteristic – types of MOSFET – JFET –structure, operation and V-I characteristic

UNIT III - AMPLIFIERS          								9

BJT small signal model – biasing – analysis of CE, CB, CC amplifiers- Gain and  frequency response – MOSFET small signal model – biasing – analysis of CS and source follower – gain and frequency response.

UNIT IV - MULTISTAGE AMPLIFIERS AND DIFFERENTIAL AMPLIFIER 	9

BIMOS cascade amplifier, differential amplifier – common mode and difference mode analysis – FET input stages – tuned amplifiers- single tuned amplifiers – gain and frequency response – neutralization methods – Classification of power amplifiers.

UNIT V - FEEDBACK AMPLIFIERS AND OSCILLATORS                              	9

Advantages of negative feedback – voltage ./ current, series , shunt feedback – positive feedback – condition for oscillations, phase shift – Wien bridge, Hartley, colpitts and crystal oscillators.

TOTAL: 45 periods

TEXT BOOKS

1.Millmann Halkias, ”Electronic devices and circuits”,   McGrawHill ,2000.

2.  David A. Bell ,”Electronic devices and circuits”, Prentice Hall of India, 2004.

REFERENCE BOOKS

1. Rashid, “Micro electronic circuits” Thomson publications, 1999.

2.   Floyd, “Electron devices” Pearson Asia 5th Edition, 2001.

3.   Donald A Neamen, “Electronic Circuit Analysis and Design” Tata McGrawHill,

3rd Edition, 2003.

4. Seda smith, “Microelectronic circuits “ Oxford University Press, 2004.

U3CSA01 DATA STRUCTURES & ALGORITHMS	 		 L T P C

3 1 0 4

PRE-REQUISITE:

Fundamentals of Computing

COURSE EDUCATIONAL OBJECTIVES:

Students undergoing this course are expected to

- Be exposed to the concepts of ADTs

- Learn linear data structures – list, stack, and queue.

- Learn non-linear data structures – Tree, graph etc

- Be exposed to sorting, searching, hashing algorithms

COURSE  OUTCOMES:

Students undergoing this course are able to:

| CO Nos. | Course Outcomes | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Identify user defined data types, linear data structures for solving real world problems. | K1 |
| C02 | Write modular programs on non linear data structures and algorithms for solving engineering problems efficiently. | K2 |
| C03 | Illustrate some of the special trees and Hashing Techniques. | K3 |
| C04 | State what is an undirected graph, directed graph and apply BFS and DFS to traverse a graph | K1, K2,K3 |
| C05 | Demonstrate knowledge of sorting algorithms and their run-time complexity. | K3 |

CONTENTS

UNIT I                                      							9

Introduction - Abstract Data Type (ADT) – The List ADT – Array Implementation – Linked List Implementation – Cursor Implementation – The Stack ADT – The Queue ADT – Applications of Stack, Queue and List.

# UNIT II							                                   9

Introduction to trees - Tree Traversal - Binary Trees - Definitions – Expression Tree – Binary Tree Traversals - The Search Tree ADT – Binary Search Trees - AVL Tree

UNIT III										9

Splay Tree – B-Tree - Priority Queue - Binary Heap – Threaded Binary Tree. Hashing - Separate Chaining – Open Addressing – Linear Probing – Quadratic Probing – Double Hashing -Rehashing

# UNIT IV					     					9

# Introduction to Graphs - Topological Sort – Shortest-Path Algorithms – Unweighted Shortest Paths –Dijkstra’s Algorithm – Minimum Spanning Tree – Prim’s Algorithm- Kruskal’s Algorithm – Breadth first search – Depth-First Search – Undirected Graphs – Biconnectivity.

# UNIT V						      			           9

# Sorting algorithm- Insertion sort- Selection sort- Shell sort-Bubble sort- Quick sort- Heap sort-Merge sort- Radix sort - Searching – Linear search -  Binary search.

TOTAL : 45+15(Tutorial) =  60 periods

TEXT BOOK

1. M. A. Weiss, “Data Structures and Algorithm Analysis in C”, Second Edition , Pearson Education, 2005.

REFERENCE BOOKS

- A. V. Aho, J. E. Hopcroft, and J. D. Ullman, “Data Structures and Algorithms”,

Pearson Education, First Edition Reprint 2003.

- R. F. Gilberg, B. A. Forouzan, “Data Structures”, Second Edition, Thomson India

Edition, 2005.

- Ellis Horowitz, Sartaj Sahni, Dinesh Mehta, “Fundamentals of Data Structure”, Computer Science Press, 1995.

U3CEA09	ENVIRONMENTAL SCIENCE AND ENGINEERING 	L T P C

3 0 0 3

COURSE EDUCATIONAL OBJECTIVES

Students undergoing this course are expected to be conversant with:

- Environmental problems and the possible solutions

- Imparting knowledge on energy sources and their management

- Disaster management, Green house effect and Pollution and its control methods

- Various environmental protection acts

COURSE OUTCOMES

After completing first semester, students from all branches of engineering will possess:

- Students will have knowledge about the scope of environmental science studies which encompasses various conventional and non- conventional energy sources and their management.

- Students will develop understanding of various food chains, food webs, trophic level, various eco systems and their conversation.

- Students will have knowledge about different types of pollution and their control methods.

- Students will get acquainted with various environmental protection acts.

- Students will have understanding about the impact of environmental issue on the society.

PRE-REQUISITE:

Admission to B.Tech. Programme

COURSE CONTENTS

UNIT I INTRODUCTION TO ENVIRONMENTAL STUDIES AND NATURAL RESOURCES  								9

Definition, scope and importance – Need for public awareness – Forest resources: Use, effect of their over exploitation– Water resources: Surface source, subsurface source, Rainwater harvesting (Methods & merits and simple layout) – Mineral resources: Types, effects of their over exploitation– Food resources: World food problems, changes caused by agriculture and overgrazing, effects of modern agriculture, fertilizer-pesticide problems, water logging, salinity, Drainage and their effects– Energy resources: Growing energy needs, renewable and non renewable energy sources, use of alternate energy sources – Land resources: Land as a resource, land degradation, soil erosion– Exhaustable and Inexhaustable energy sources – Equitable use of resources for sustainable lifestyles.

UNIT II	ECOSYSTEMS AND BIODIVERSITY	        				9

Concept of an ecosystem – Structure and function of an ecosystem – Producers, consumers and decomposers – Energy flow in the ecosystem – Ecological succession – Food chains, food webs and ecological pyramids – Introduction, types, characteristic features, structure and function of the (a) Forest ecosystem (b) Grassland ecosystem (c) Desert ecosystem (d) Aquatic ecosystems (ponds, streams, lakes, rivers, oceans, estuaries) – Introduction to Biodiversity – Definition: genetic, species and ecosystem diversity – Biogeographical classification of India – Value of biodiversity: consumptive use, productive use, social, ethical, aesthetic and option values – Biodiversity at global, National and local levels – India as a mega-diversity nation – Hot-spots of biodiversity – Threats to biodiversity: habitat loss, poaching of wildlife, man-wildlife conflicts – Endangered and endemic species of India – Conservation of biodiversity: In-situ and Ex-situ conservation of biodiversity. Field study of common plants, insects, birdsField study of simple ecosystems – pond, river, hill slopes, etc.

UNIT III 	ENVIRONMENTAL POLLUTION		   			9

Definition – Causes, effects and control measures of: (a) Air pollution (b) Water pollution (c) Soil pollution (d) Marine pollution (e) Noise pollution (f) Thermal pollution (g) Nuclear  waste – Soil waste Management: Causes, effects and control measures of urban and industrial wastes –E-waste&  recycling- Role of an individual in prevention of pollution – Pollution case studies – Disaster management: floods, earthquake, Tsunami ,volcanic eruptions, cyclone and landslides. Field Study of local polluted site – Urban / Rural / Industrial / Agricultural

UNIT IV 	SOCIAL ISSUES AND THE ENVIRONMENT	        			9

From Unsustainable to Sustainable development – Urban problems related to energy – Water conservation, rain water harvesting, watershed management – Resettlement and rehabilitation of people; its problems and concerns, case studies – Environmental ethics: Issues and possible solutions – Climate change, global warming, acid rain, ozone layer depletion, nuclear, case studies. – Wasteland reclamation – Consumerism and waste products – Environment Production Act – Air (Prevention and Control of Pollution) Act – Water (Prevention and control of Pollution) Act – Wildlife Protection Act – Forest Conservation Act – Issues involved in enforcement of environmental legislation – Public awareness

UNIT V 	HUMAN POPULATION AND THE ENVIRONMENT		9

Population growth, variation among nations – Population explosion – Family Welfare Programme – Environment and human health – Human Rights – Value Education – HIV / AIDS – Women and Child Welfare – Role of Information Technology in Environment and human health – Case studies.						TOTAL: 45 Periods

### TEXT BOOKS

1.	Gilbert M.Masters, Introduction to Environmental Engineering and Science, Pearson Education Pvt., Ltd., Second Edition, ISBN 81-297-0277-0, 2004.

2.	Miller T.G. Jr., Environmental Science, Wadsworth Publishing Co.

3.	Townsend C., Harper J and Michael Begon, Essentials of Ecology, Blackwell Science.

4.	Trivedi R.K. and P.K. Goel, Introduction to Air Pollution, Techno-Science Publications.

REFERENCE BOOKS

- Bharucha Erach, The Biodiversity of India, Mapin Publishing Pvt. Ltd., Ahmedabad India, Email: mapin@icenet.net

- Trivedi R.K., Handbook of Environmental Laws, Rules, Guidelines, Compliances and Standards, Vol. I and II, Enviro Media.

- Cunningham, W.P.Cooper, T.H.Gorhani, Environmental Encyclopedia, Jaico Publ., House, Mumbai, 2001.

- Wager K.D., Environmental Management, W.B. Saunders Co., Philadelphia, USA, 1998.

U3EEA04 DC MACHINES AND TRANSFORMERS LAB 			L T P C

0 0 3 2

COURSE EDUCATIONAL OBJECTIVES:

- To expose the student to the operation of DC machines and transformers and give them experimental skills

COURSE OUTCOMES:

Determine the Characteristic of DC motor and generator on No load and Load condition

Estimate various losses in DC machines and transformers

Differentiate between various control methods for DC motors and transformers

Identify and compute safe operating limits for machines.

Demonstrate a good knowledge in operation of electric machines

PRE-REQUISITES

Basic introduction to DC machines & Transformers and Open and Closed Circuit characteristics

LIST OF EXPERIMENTS

- Open circuit and load characteristics of D.C separately and self excited shunt generator

- Load characteristics of D.C. compound generator with differential and cumulative connection.

3. Load characteristics of D.C. shunt and compound motor

4. Load characteristics of D.C series motor

5. Swinburne’s test and speed control of D.C shunt motor

6. Hopkinson’s test on D.C motor – generator set

7. Speed control of DC shunt motor using ward-leonard method

8. Open circuit and short circuit tests on single phase transformer

9. Sumpner’s test on transformers

10. Separation of no-load losses in single phase transformer

11. SCOTT connection of two single phase transformers

12. Load test on single-phase transformer and three phase transformer connections

# U3CSA05  DATA STRUCTURES  LAB 					L T P C

# 0 0 3 2

PRE-REQUISITES:

Computer Practice Laboratory

COURSE EDUCATIONAL OBJECTIVES:

Students undergoing this course are expected to

- Be familiarized with good programming design methods, particularly Top- Down design.

- Get exposure in implementing the different data structures using C++

- Appreciate recursive algorithms.

COURSE OUTCOMES:

Students undergoing this course are able   to

| CO Nos. | Course Outcomes | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Design and implement C++ programs for manipulating stacks, queues, linked lists, trees. | K3 |
| C02 | Apply good programming design methods for program development. | K3 |
| C03 | Apply the different data structures for implementing solutions to practical problems. | K3 |
| C04 | Develop recursive programs. | K2 |
| C05 | Develop Programs for Searching and Sorting. | K3 |

LIST OF EXPERIMENTS

USING ‘C’

1. Implementation of Stack using Array

2.Implementation of Queue using Array

3.Implementation of linked list

4.Implementation of stack using linked list

5.Infix to postfix conversion

6.Evaluation of postfix expression

7.Implementation of Binary Search Tree

8.Implementation of Breadth First Search and Depth First Search

USING ‘C++’

9.Insertion Sort and Bubble Sort

10.Heap Sort

11.Quick Sort

12.Linear and Binary Search.

U3EEA05 ELECTRONIC DEVICES & CIRCUITS LAB 			L T P C

0 0 3 2

COURSE EDUCATIONAL OBJECTIVES

- Understand the concepts of power measurements.

- Implement and verify circuit theorems

- Gain knowledge about resonance and circuit transients.

- Gain knowledge about operating in CRO

COURSE OUTCOMES

Apply/implement the basic laws/Theorems for various circuits to obtain the parameters

Understand about frequency/phase and its measurement for a given system

Demonstrate the knowledge of transients while designing for circuits.

Correlate the different types of analyzing methods available in electric circuits

Synthesize electric circuits

PRE-REQUISITES

Ohm’s Law, KCL& KVL Theorem and Laplace Transforms

LIST OF EXPERIMENTS

- PN Junction diode and Rectifier Applications.

- Bipolar Junction transistor - CE, CB, CC characteristics.

- JFET – characteristics and parameter  determination.

- Characteristics of UJT.

- Characteristics of SCR, DIAC and TRIAC.

- Characteristics of BJT Amplifier frequency response.

- Characteristics of  FET amplifier frequency response.

- Characteristics of  Class B amplifier – Darlington  pair.

- Characteristics of  Differential amplifier .

- Study of types of Oscillators.

- Characteristics of Darlington  pair amplifier.

IV SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U4MAA03 | Numerical Methods | 3 | 1 | 0 | 4 |
| U4EEA08 | Ac Machines | 3 | 1 | 0 | 4 |
| U4EEA09 | Transmission & Distribution Of Electrical Energy | 3 | 1 | 0 | 4 |
| U4EEA10 | Electrical Measuring & Measuring Instruments | 3 | 0 | 0 | 3 |
| U4EEA11 | Network Analysis And Synthesis | 3 | 1 | 0 | 4 |
| U4EEA12 | Electro Magnetic Theory | 3 | 1 | 0 | 4 |
| PRACTICAL |
| U4EEA13 | Synchronous and Induction Machine Laboratory | 0 | 0 | 3 | 2 |
| U4EEA14 | Electrical Measuring And Measuring Instruments Laboratory | 0 | 0 | 3 | 2 |
| U4EEA15 | Electrical Network Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 5 | 9 | 29 |

IV SEMESTER

# U4MAA03 NUMERICAL METHODS 				                L T PC

3 1 0 4

PRE-REQUISITE

Engineering Mathematics-I, Engineering Mathematics-II, Transforms and Partial Differential Equations.

COURSE EDUCATIONAL OBJECTIVES

Students under going this course are expected

- To develop the mathematical skills of the students in the areas of numerical methods.

- To teach theory and applications of numerical methods in a large number of engineering subjects which require solutions of linear systems, finding eigen values, eigenvectors, interpolation and applications, solving ODEs, PDEs and dealing with statistical problems like testing of hypotheses.

- To lay foundation of computational mathematics for post-graduate courses, specialized studies and research.

COURSE OUTCOMES

On successful  completion of this course the students will be able to

| CO Nos. | Course Outcomes | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Apply numerical methods to find our solution of algebraic equations using different methods under different conditions, and numerical solution of system of algebraic equations. | K3 |
| C02 | Apply various interpolation methods and finite difference concepts. | K3 |
| C03 | Work out numerical differentiation and integration whenever and wherever routine methods are not applicable. | K3 |
| C04 | Work numerically on the ordinary differential equations using different methods through the theory of finite differences. | K3 |
| C05 | Work numerically on the partial differential equations using different methods through the theory of finite differences. | K3 |

COURSE CONTENTS

UNIT I SOLUTION OF EQUATIONS AND EIGENVALUE PROBLEMS	  	9

Linear interpolation methods (method of false position) – Newton’s method – Statement of fixed point theorem – Fixed point iteration: x=g(x) method –  Solution of linear system by Gaussian elimination and Gauss-Jordon methods - Iterative methods: Gauss Jacobi and Gauss-Seidel methods - Inverse of a matrix by  Gauss Jordon method – Eigen value of a matrix by power method-  matrix  order  reduction  method.

UNIT II INTERPOLATION AND APPROXIMATION            				9

Lagrangian Polynomials – Divided differences – Interpolating with a cubic spline – Newton’s forward and backward difference formulas.

UNIT III NUMERICAL DIFFERENTIATION AND INTEGRATION		9

Derivatives from difference tables – Divided differences and finite differences –Numerical integration by trapezoidal and Simpson’s 1/3 and 3/8 rules – Romberg’s method – Two and Three point Gaussian quadrature formulas – Double integrals using trapezoidal and Simpsons’s rules.

UNIT IV INITIAL VALUE PROBLEMS FOR  ORDINARY DIFFERENTIAL EQUATIONS	      									9

Single step methods: Taylor series method – Euler and modified Euler methods – Fourth order Runge – Kutta method for solving first and second order equations – Multistep methods: Milne’s and Adam’s predictor and corrector methods.

UNIT V BOUNDARY VALUE PROBLEMS IN ordinary AND PARTIAL   DIFFERENTIAL EQUATIONS	           							9

Finite difference solution of second order ordinary differential equation – Finite difference solution of one dimensional heat equation by explicit and implicit methods – One dimensional wave equation and two dimensional Laplace and Poisson equations.

TOTAL : 45+15(Tutorial) =  60 periods

TEXT BOOKS

1. 	C.F. Gerald and P.O. Wheatley, ‘Applied Numerical Analysis’, Sixth Edition, Pearson Education Asia, New Delhi, 2002.

2. 	E. Balagurusamy, ‘Numerical Methods’, Tata McGraw Hill Pub.Co.Ltd, New Delhi, 1999.

REFERENCE BOOKS

1. 	P. Kandasamy, K. Thilagavathy and K. Gunavathy, ‘Numerical Methods’, S.Chand Co. Ltd., New Delhi, 2003.

2. 	R.L. Burden and T.D. Faires, ‘Numerical Analysis’, Seventh Edition, Thomson Asia Pvt. Ltd., Singapore, 2002.

U4EEA08 AC  MACHINES					                      L T P C

3 1 0 4

PRE-REQUISITE:

Basic knowledge in Electric circuits AC and DC, power system analysis, rotating electrical machine and DC machine.

COURSE EDUCATIONAL OBJECTIVES:

Students are exposed with

- The knowledge of working principle, operations, performance and applications of three phase and single phase Induction Motors.

- The knowledge of special electrical machines.

- The knowledge of working principle, operations, performance and applications of 3φ Synchronous Generators and Synchronous Motors.

- Knowledge of d-q model of 3φ rotating magnetic fields

COURSE OUTCOMES:

On successful completion of this course the students will be able to

| CO Nos. | Course Outcomes | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Identify the constructional features, principle and performance, various methods to find regulation of synchronous generator and two reaction theory | K1, K4 |
| C02 | Discuss working of synchronous motor and starting methods | K2, K3 |
| C03 | Identify necessity of revolving magnetic field, different types of rotor structure, working principle of operation of Induction motor | K1,K3,K4 |
| C04 | Identify equivalent circuit parameters, starters and their types & control of Induction machine using No load and Blocked rotor test of an Induction motor. | K2,K3,K4 |
| C05 | Understanding working principle of single phase Induction motor and importance of Double field revolving theory and application of special machines. | K1,K2,K4 |

COURSE CONTENTS

UNIT I  -SYNCHCHRONOUS GENERATOR 					9

Alternators - types and constructional features - emf equation - rotating magnetic field - armature reaction - load characteristics - predetermination of regulation. Basic ideas of two reaction theory.

UNIT II	SYNCHRONOUS MOTORS  					 9

Synchronous motors: Synchronous machines on infinite bus bars-phasor diagram-V and inverted V curves-current - Hunting and its suppression - starting methods.

UNIT III        THEORY OF POLYPHASE INDUCTION MOTORS		9

Poly phase Induction motors - types and constructional features - equivalent circuit - starting and speed control. Induction generators.

UNIT IV     PERFORMANCE OF SINGLEPHASE INDUCTION MOTOR	9

Single phase induction motors -types and constructional features-principle of operation equivalent circuit based on double revolving field theory.

UNIT V      SPECIAL MOTORS                                      	 			9

Permanent magnet brushless motors – types and constructional features – principle of operation – phasor diagram, Torque Equation-Shaded pole induction motor-Linear reluctance motor-Hysteresis motor-AC series motor.

TOTAL: 45+15(Tutorial) =  60 periods

TEXT BOOKS

1. Nagrath I.J. & Kothari, D.P.,`Electrical machines', Tata McGraw hill, NewDelhi,3rd

edition,2004.

2. Parkar Smith, N.N., ‘Problems in Electrical Engineering’ CBS Publishers and

Distributers, New Delhi,1984

REFERENCE BOOKS

1. Irving L. Kosow ‘Electric Machinery and Transformers’ PHI, New Delhi, 1991

2. Cotton, H., ‘Electrical Technology’, CBS Publishers, 6th edition.

3. Miller, T.J.E., ‘Brushless Permanent Magnet And Reluctance Motor Drives’, Clarendon Press- Oxford , 1989.

4.Linear induction motor-Leitwith

5.A.S. Langsdorf  ”Theory of AC Machinery.” McGRAW-HILL Pub.

U4EEA09 TRANSMISSION AND DISTRIBUTION OF ELECTRICAL ENERGY

L T P C

3 1 0 4

AIM

To become familiar with the function of different components used in Transmission and

Distribution levels of power systems and modeling of these components.

COURSE OBJECTIVES

- To develop expression for computation of fundamental parameters of lines.

- To categorize the lines into different classes and develop equivalent circuits for these classes.

- To analyze the voltage distribution in insulator strings and cables and methods to improve the same.

UNIT I 	 INTRODUCTION							9

R,L,C  Classification  of  transmission  lines- concept and applications. Transmission line parameters - performance- Regulation and efficiency – Tuned power lines – Propagation constant - Power Circle diagrams of constant voltage lines (both sending and receiving) maximum power transmitted

UNIT II     INSULATORS								9

Mechanical design of Overhead lines – Line supports – Overhead line insulators – Classification. Voltage distribution in suspension insulators – Testing of insulators – string efficiency – Stress and sag calculation – effects of wind and ice – stringing chart.

Formation  of    Corona- critical voltages - losses - effect on line performance.

UNIT III	 CABLES								9

Comparison between overhead line and underground cable –Constructional   features- Types of cables insulation resistance - potential gradient - capacitance of single core and three core cables.

UNIT IV	DISTRIBUTION SYSTEMS					9

D.C  distribution   system, A.C  distribution   system, A.C. single phase and three phase distribution systems - Calculation of voltage Kelvin's Law and its limitations. Distribution systems – general aspects – classification. Distribution automation.

UNIT V      HVDC  TRANSMISSION  &  FACTS   CONTROLLER		9

Voltage control techniques in transmission systems - Static VAR compensators – Recent trends in FACTS. HVDC transmission – Types of links – Advantages – Converter stage equipment.

TOTAL : 45+15(Tutorial) =  60 periods

TEXTBOOKS

1. Wadhwa, C.L.,'Electrical power systems',New age International Pvt Ltd.publishers,1995.

2. Gupta B.R.,' Power system Analysis & Design',Wheeler Publishing,2006.

REFERENCE BOOKS

1. Cotton,H.,'Transmission and distribution of electrical Energy', ELBS,1972.

2. HVDC Power System Transmission Systems, K. R. Padiyar, New. Age International(P)

Limited, Publishers, !990

3.High Voltage Direct Current Transmission, 2nd Edition,1998 by  Jos Arrillaga

U4EEA10 ELECTRICAL MEASUREMENT & MEASURING INSTRUMENTS

L T P C

3 0 0 3

## COURSE OBJECTIVES

To make the student have a clear knowledge of the basic laws governing the operation of the instruments, relevant circuits and their working.

- Introduction to general instrument system, error, calibration etc.

- Emphasis is laid on analog and digital techniques used to measure voltage, current, energy and power etc.

- To have an adequate knowledge of comparison methods of measurement.

- Elaborate discussion about storage & display devices.

- Exposure to various transducers and data acquisition system.

CONTENTS

UNIT I	INTRODUCTION                         				 		 9

Classification of instrument system, Characteristics of instruments & measurement system, Errors in measurement & its analysis, Standards, Analog Measurement of Electrical Quantities: Electrodynamic, Electrostatic & Rectifier type Ammeters & Voltmeters, Electrodynamic Wattmeter.

UNIT II	APPLICATION  OF MEASUREMENT & INSTRUMENTATIONS	  9

Instrument Transformer and their applications in the extension of instrument range,. Introduction to measurement of speed, frequency and power factor, Q Meter.

UNIT III	MEASUREMENT OF SYSTEM  PARAMETERS			9

Measurement of Parameters: Different methods of measuring low, medium and high resistances, measurement of inductance & capacitance with the help of AC Bridges, Three Phase Wattmeter, Power in three phase system, errors & remedies in wattmeter and energy meter.LCR  meter

UNIT IV AC POTENTIOMETER & MEASUREMENT OF IRON LOSSES		9

AC Potentiometer: Polar type & Co-ordinate type AC potentiometers , application of AC Potentiometers in electrical measurement, Magnetic Measurement: Ballistic Galvanometer , flux meter , determination of hysteresis loop, measurement of iron losses.

UNIT V	DIGITAL MEASUREMENT AND HARMONIC ANALYZER		9

Digital Measurement of Electrical Quantities: Concept of digital measurement, block diagram Study of digital voltmeter, frequency meter Power Analyzer and Harmonics Analyzer; Digital Multimeter. Cathode Ray Oscilloscope : Basic CRO circuit (Block Diagram),Cathode ray tube (CRT) & its components ,Digital  Storage   Oscilloscope, MSO.

TOTAL : 45 periods

TEXT BOOKS

1. E.W. Golding & F.C. Widdis, “Electrical Measurement & Measuring Instrument”, A.W.

Wheeler& Co. Pvt. Ltd. India.

2. A.K. Sawhney,“Electrical & Electronic Measurement & Instrument”, Dhanpat Rai & Sons ,

India .

REFERENCE BOOKS

1. Forest K. Harries,“Electrical Measurement”,Willey Eastern Pvt. Ltd. India .

2. M.B. Stout ,“Basic Electrical Measurement” Prentice hall of India,India.

3. W.D.Cooper,” Electronic Instrument & Measurement Technique “ Prentice Hall International.

4. Rajendra Prashad ,“Electrical Measurement &Measuring Instrument” Khanna Publisher.

5. J.B. Gupta, “Electrical Measurements and Measuring Instruments”, S.K. Kataria & Sons.

U4EEA11 NETWORK ANALYSIS AND SYNTHESIS			L T P C

3 1 0 4

COURSE OBJECTIVES

i. To understand the concept of circuit elements lumped circuits, waveforms, circuit laws and network reduction.

ii. To analyze the transient response of series and parallel A.C. circuits and to solve problems in time domain using Lap lace Transform.

iii. To understand the concept of active, reactive and apparent powers, power factor and resonance in series and parallel circuits.

iv. To solve the electrical network using mesh and nodal analysis by applying network theorems.

v. To know the basic concepts of coupled circuits, three phase loads and power measurement.

CONTENTS

UNIT I										9

Graph Theory : Graph of a Network, definitions, tree, co tree , link, basic loop and basic cut set,

Incidence matrix, cut set matrix, Tie set matrix Duality, Loop and Nodal methods of analysis.

UNIT II										9

Network Functions : Concept of Complex frequency , Transform Impedances Network functions of one port and two port networks, concept of poles and zeros, properties of driving point and transfer functions, time response and stability from pole zero plot.

UNIT III										9

Two Port Networks: Characterization of LTI two port networks ZY, ABCD and h parameters, reciprocity and symmetry. Inter-relationships between the parameters, inter-connections of two port networks, Ladder and Lattice networks. T & Π Representation.

UNIT IV										9

Network Synthesis : Positive real function; definition and properties; properties of LC, RC and RL driving point functions, synthesis of LC, RC and RL driving point immittance functions using Foster and Cauer first and second forms.

UNIT V										9

Filters: Image parameters and characteristics impedance, passive filter fundamentals, low pass, high pass, band pass   ,band reject , (constant K type) filters,

TOTAL : 45+15(Tutorial) =  60 periods

TEXT BOOKS

1 M.E. Van Valkenburg, “Network Analysis”, Prentice Hall of India

2 A.Chakrabarti, “Circuit Theory” Dhanpat Rai & Co.

3 C.L Wadhwa, “Network Analysis and Synthesis” New Age International Publishers, 2007.

4 D.Roy Choudhary, “Networks and Systems” Wiley Eastern Ltd.

5 Donald E. Scott: “An Introduction to Circuit analysis: A System Approach” McGraw Hill

REFERENCE BOOKS

1 M.E. Van Valkenburg, “An Introduction to Modern Network Synthesis”,Wiley Eastern Ltd.

2.N.C. Jagan and C. Lakshminarayana, “Newwork Analysis” B.S. Publications, 2008.

3.K.S. Suresh Kumar, “Electric Circuits and Networks” Pearson Education, 2009.

4.A Ramakalyan, “Linear Circuits: Analysis and Synthesis” Oxford University Press, 2005.

#### 5. Mahmood Nahvi,  Joseph  A  Edminister ”Schaum's Outline of Electric Circuits” TATA McGraw –Hill 2004

### U4EEA12 ELECTROMAGNETIC THEORY					LT P C

3 1 0 4

### AIM

To  expose the students to the fundamentals of electromagnetic fields and their applications  in Electrical Engineering .

### COURSE OBJECTIVES

To impart knowledge on

- Concepts of electrostatics, electrical potential, energy density and their applications.

- Concepts of magnetostatics, magnetic flux density, scalar and vector potential and   its applications.

- Faraday’s laws, induced emf and their applications.

- Concepts of electromagnetic waves and Poynting vector.

- Field modeling and computation with relevant software.

CONTENTS

UNIT I	INTRODUCTION  				                               		8

Sources and effects of electromagnetic fields – Vector fields – Different co-ordinate systems - Divergence theorem – Stoke’s theorem.

UNIT II	ELECTROSTATICS			                  		          10

Coulomb’s Law – Electric field intensity – Field due to point and continuous charges – Gauss’s law and application – Electrical potential – Electric field and equipotential plots – Electric field in free space, conductors, dielectric – Dielectric polarization, Electric field in multiple dielectrics – boundary conditions, Poisson’s and Laplace’s equations – Capacitance-energy density – Dielectric strength.

UNIT III	MAGNETOSTATICS					                      9

Lorentz Law of force, magnetic field intensity – Biot–savart Law - Ampere’s Law – Magnetic field due to straight conductors, circular loop, infinite sheet of current – Magnetic flux density (B) – B in free space, conductor, magnetic materials – Magnetization – Magnetic field in multiple media – Boundary conditions – Scalar and vector potential – Magnetic force – Torque – Inductance – Energy density – Magnetic circuits.

UNIT IV	ELECTRODYNAMIC FIELDS		                                  		8

Faraday’s laws, induced emf – Transformer and motional EMF, Maxwell’s equations (differential and integral forms) – Displacement current – Relation between field theory and circuit theory.

UNIT V	ELECTROMAGNETIC WAVES   		                                  9

Generation – Electro Magnetic Wave equations – Wave parameters; velocity, intrinsic impedance, propagation constant – Waves in free space, lossy and lossless dielectrics, conductors-skin depth, Poynting vector – Plane wave reflection and refraction.

TOTAL : 45+15(Tutorial) =  60 periods

TEXT BOOKS

1. 	John.D.Kraus, ‘Electromagnetics’, McGraw Hill book Co., New York, Fourth Edition, 1991.

2. 	William .H.Hayt, ‘Engineering Electromagnetics’, Tata McGraw Hill edition, 2001.

## REFERENCE BOOKS

1. 	Joseph. A.Edminister, ‘Theory and Problems of Electromagnetics’, Second edition, Schaum Series, Tata McGraw Hill, 1993.

2. 	I.J. Nagrath, D.P. Kothari, ‘Electric Machines’, Tata McGraw Hill Publishing Co Ltd, Second Edition, 1997.

3. 	Kraus and Fleish, ‘Electromagnetics with Applications’, McGraw Hill International Editions, Fifth Edition, 1999.

4. 	Sadiku, ‘Elements of Electromagnetics’, Second edition, Oxford University Press, 1995.

U4EEA13 SYNCHRONOUS AND INDUCTION MACHINES LAB 	L T P C

0 0 3 2

### AIM

To expose the students to the operation of synchronous machines and induction motors

and give them experimental skill.

LIST OF EXPERIMENTS

- Regulation of three phase alternator by emf and mmf methods

- Regulation of three phase alternator by ZPF and ASA methods

- Slip test

- Measurements of negative sequence and zero sequence impedance of

alternators.

- V and Inverted V curves of Three Phase Synchronous Motor.

- Load test on three-phase induction motor.

- No load and blocked rotor test on three-phase induction motor.

- Separation of No-load losses of three-phase induction motor.

- Load test on single-phase induction motor

- No load and blocked rotor test on single-phase induction motor

- Starting of Induction motors by different methods

- Parallel  operation   of  alternators (  demonstration)

U4EEA14 ELECTRICAL MEASUREMENT AND INSTRUMENTATION  LAB

L T P C

0 0 3 2

AIM

The aim of this lab is to fortify the students with an adequate work experience in the measurement of different quantities and also the expertise in handling the instruments involved.

## COURSE OBJECTIVES

To train the students in the measurement of displacement, resistance, inductance, torque and angle etc., and to give exposure to AC, DC bridges and transient measurement.

LIST OF EXPERIMENTS

1. Calibration of ac voltmeter and ac ammeter

2. Measurement of form factor of a rectified sine wave and determine source of error if

r.m.s.value is measured by a multi-meter

3. Measurement of phase difference and frequency of a sinusoidal ac voltage using C.R.O.

4. Measurement of power and power factor of a single phase inductive load and to study effect of capacitance connected across the load on the power factor

5. Measurement of low resistance by Kelvin’s double bridge

6. Measurement of voltage, current and resistance using dc potentiometer

7. Measurement of inductance by Maxwell’s bridge

8. Measurement of inductance by Hay’s bridge

9. Measurement of inductance by Anderson’s bridge

10. Measurement of capacitance by Owen’s bridge

11. Measurement of capacitance by De Sauty bridge

12. Measurement of capacitance by Schering bridge

13.Extension of range of Ammeter

14.  Extension of range of Voltmeter

15. Determination of BH curve using solenoid

U4EEA15 ELECTRICAL NETWORK LAB 					L T P C

0 0 3 2

COURSE OBJECTIVES

To impart hands on experience in verification of circuit laws and theorems, measurement of circuit parameters, study of circuit characteristics and simulation of time response.

- Verification of principle of superposition with dc and ac sources.

- Verification of Thevenin, Norton and Maximum power transfer theorems in ac

Circuits

- Verification of Tellegin’s theorem for two networks of the same topology

- Determination of transient response of current in RL and RC circuits with step

Voltage input

- Determination of transient response of current in RLC circuit with step voltage

input for  underdamp, critically damp and overdamp cases

- Determination of frequency response of current in RLC circuit with sinusoidal ac

Input

- Determination of z and h parameters (dc only) for a network and computation of

Y and ABCD parameters

- Determination of driving point and transfer functions of a two port ladder

network and  verify with theoretical values

- Determination of image impedance and characteristic impedance of T and ∏

networks,using O.C. and S.C. tests Write Demo for the following (in Ms-Power

point)

- Verification of parameter properties in inter-connected two port networks :

series, parallel and cascade also study loading effect in cascade.

- Determination of frequency response of a Twin – T notch filter.

- To determine attenuation characteristics of a low pass / high pass filters.

Minimum Four experiments are to be performed from the following list. (MATLAB based)

- To determine node voltages and branch currents in a resistive network.

- To obtain transient response of a series R-L-C circuit for step voltage input.

- To obtain frequency response of a series R-L-C circuit for sinusoidal voltage

input.

- To determine line and load currents in a three phase delta circuit connected to a

3-phase balanced ac supply.

- To plot magnitude, phase and step response of a network function.

18. To obtain transient response of output voltage in a single phase half wave

rectifier circuit using capacitance filter.

V SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U5EEA18 | Linear Control Systems | 3 | 1 | 0 | 4 |
| U5EEA19 | Power System Analysis | 3 | 1 | 0 | 4 |
| U5EEA20 | Linear Integrated Circuits & Applications | 3 | 0 | 0 | 3 |
| U5EEA21 | Digital Logic Circuits | 3 | 1 | 0 | 4 |
| U5ECA17 | Digital Signal Processing | 3 | 1 | 0 | 4 |
| U5ECA22 | Communication Engineering | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U5EEA22 | Control Systems Laboratory | 0 | 0 | 3 | 2 |
| U5EEA23 | Linear And Digital Integrated Circuits Laboratory | 0 | 0 | 3 | 2 |
| U5ECA20 | Digital Signal Processing Laboratory | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 9 | 28 |

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 4 |

COURSE CODE: U5EEA18

COURSE NAME: LINEAR CONTROL SYSTEMS

COURSE OBJECTIVES

1. 	To develop the basic mathematical knowledge and computational skills of the students in the areas of applied control systems.

2. To develop the skills of the students in the areas of several stability conditions.

3. 	To serve as a PRE-REQUISITE control systems engineering for post graduate courses, specialized studies and research.

4.  	To learn the controllers for applications

5. 	To learn Simulink for verify the output.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Students will be able to explain open loop and closed loop system, block diagram and signal flow graph.

- Students will be able to differentiate transient analysis and steady state analysis

- Students will be able to analyze the different types of systems, order of systems, types of input and its behaviors.

- Students will be able to determine the  frequency response.

- Students will be able to manipulate  time domain response.

PRE-REQUISITE

Knowledge on electric circuits and control of electrical machines.

CONTENTS

UNIT I INTRODUCTION									9

Introduction to control systems – Control theory concepts - Open loop and feedback control systems – Mathematics modeling of control systems – Analysis of control systems using Laplace transforms – Block diagram reduction techniques – Signal flow graphs.

UNIT II TIME DOMAIN ANALYSIS							9

Introduction – Controller components Time Response Analysis - Analysis of transient and steady state behavior of control systems – Standard test signals – Time response of first order and higher order systems – Steady state errors – Error criterion.

UNIT III ROOT – LOCUS AND FREQUENCY RESPONSE ANALYSIS 		9

Root locus concepts - Construction of root loci – Root contours Time and frequency response correlation – Polar plot – Bode plot – All pass and minimum phase systems

UNIT IV SYSTEM STABILITY								9

Stability concepts – Conditions for stability – Routh, Hurwitz stability criteria – Relative stability analysis - Stability in frequency domain – Nyquist stability criterion – Relative stability analysis – Gain margin – Phase margin – Frequency response specification – Constant M circles – Constant N circles – Nichol’s chart.

UNIT V DESIGN OF COMPENSATOR 						9

Performance criteria– Lag – Lead and lag – Lead networks – Compensator design using bode plots.						TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

- Gopal, M., “Control Systems: Principles and design”, Tata Mc Graw Hill, fourth Edition, 2012

- K. Ogata, Modern Control Engineering, Prentice Hall of India

REFERENCE BOOKS

- Naresh K. Shinha,” Control Systems”, 3rd edition ,New Age Publications, 2010 reprint.

- I.J.Nagrath and M.Gopal, “Control systems Engineering", 5th edition, New Age international Publishication, New Delhi, 2011

- Nise, N.S., “Control Systems Engineering”, 6th Edition, John Wiley, 201

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 4 |

COURSE CODE: U5EEA19

COURSE NAME: POWER SYSTEM ANALYSIS

COURSE OBJECTIVES

- To introduce the characteristics of different transmission line models, steady state analysis and 	transient analysis of power systems

- To develop students with an understanding load flow calculation, active power and reactive power control in power system.

- To prepare the students to handle the un-symmetrical operations in power system.

- To develop students with an understanding short circuit calculation

- To provide the basic concept on power system stability to students

COURSE OUTCOMES

- Students will be able to Understand the fundamentals of power systems analysis

- Students will be able to develop model for  power systems component

- Students will be able to  analyze the flow of active and reactive power in a large power system.

- Students will be able to  understand and analyze major faults in power systems

- Students will be able to  understand the concept of stability and analyze transient stability of power systems

PRE-REQUISITE

Student must have the knowledge about the circuit theory, Network analysis and Transmission and Distribution.

CONTENTS

UNIT I: POWER SYSTEM MODELLING						9

Distinction between steady state, transient state, and dynamic stablities. Methods of improvement of stability. Representation of Power system components like synchronous machines, induction machines, transformers, transmission lines, loads etc, for steady state analysis - Per unit Quantities, Impedance and reactance diagram - Formulation of network matrices for the power systems - Bus impedance and bus admittance matrices, reduction techniques on network matrices for network changes.

UNIT II: LOAD FLOW ANALYSIS							9

Classification of buses, formation of load flow equation, Gauss-seidal , Newton – Raphson method, Fast decoupled method, solution of simple problems, Q- limit violations, line flow and line losses calculations, contingency analysis.

UNIT III: SEQUENCE NETWORKS						9

Review of symmetrical components - Introduction to components and allied components - transformation matrices used in resolution of unbalanced voltages and currents - positive, negative and zero sequence networks of power system components, sequence impedance matrices of power systems - representation of various types of faults in sequence networks.

UNIT IV: SHORT CIRCUIT ANALYSIS						9

Formulation of a mathematical model to analyses faults on power system – Bus impedance method of solution for various common faults using symmetrical components - solution of simple problems by bus impedance method and sequence network method. Effect of fault impedance - Use of short circuit study data for relaying and breaking studies - study of simultaneous faults on the system.

UNIT V: STABILITY ANALYSIS							9

Stability problems - Swing equation - Equal Area Criterion - Critical Clearing Angle - Solution of Swing equation by Step by step method and Modified Euler's method using classical machine model, critical clearing angle and time. Multi-machine stability analysis using classical machines model and constant admittance load representation using Runge-kutta method.

TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1. John.J.Grainger and Stevenson Jr.W.D., “Power System Analysis”, Mc. Graw Hill International Edition, 1994.

2. I.J.Nagrath and D.P.Kothari,"Power System Engineering", Tata McGraw Hill Edition.

3. Gupta, B.R., “Power System Analysis and Design” S.Chand and Co., Ltd, 2005.

4.Hadi Saadat,“Power system Analysis’’, Tata McGraw-Hills Edition.

REFERENCE BOOKS

1. Gupta, J.B., “A Course in Electrical Power”, S.K.Kataria and Sons, 2002.

2. Abhijit Chakrabarti, Sunita Halder “Power System Analysis: Operation and Control”, 2nd Edition, Prentice Hall of India Learning Private Limited, 2008.

3. Elgerd, O.L., “Electric Energy Systems Theory”, 2nd Edition, Tata McGraw Hill, 2007.

4. Ashfaq Husain, “Electrical Power Systems”, 4th Edition, CBS Publishers and Distributors,

1996.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

COURSE CODE : U5EEA20

COURSE NAME: LINEAR INTEGRATED CIRCUITS & APPLICATIONS

COURSE OBJECTIVES

1.	To enrich the students to acquire knowledge about the basics of integrated circuit fabrication analysis.

2.	To know the characteristicsof op-amp characteristics (AC, DC characteristics), 0p-amp applications (A/D, D/A

3.  	To know the knowledge of clipper, clamper, peak detector  and S and H circuits) and

4. 	To use special IC, s (555 timer, 565 – phase lock loop, 566 – voltage control oscillator) of the electric circuit.

5.	To apply idea for getting innovative circuits.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Students will be able to investigate about the IC fabrication, types of IC’s, characteristics, applications, and study of special IC,s.

- Students will be able to practice about the IC fabrication and IC characteristics and applications.

- Students will be able to describe about special IC’s, switching regulator and voltage regulator circuits.

- Students will be able to defend the concept of IC fabrication, application, and characteristics.

- Students will be able to analyze the fundamentals of special IC,s.

PRE-REQUISITE

Knowledge on IC’s and control of Fabrication Techniques.

CONTENTS

UNIT I IC FABRICATION 						                 9

IC classification – Fundamental of monolithic IC technology – Epitaxial growth – Masking and etching, diffusion of impurities – Realization of monolithic ICs and packaging –Fabrication of diodes, capacitance, resistance and FETs

UNIT II CHARACTERISTICS OF OP-AMP				     	9

Ideal OP – AMP characteristics, DC characteristics – AC characteristics – Offset voltage and current – Voltage series feedback and shunt feedback amplifiers – Differential amplifier; frequency response of OP-AMP – Basic applications of OP-AMP – Summer – Differentiator and integrator.

UNIT III APPLICATIONS OF OP-AMP 						9

Instrumentation amplifier – First and second order active filters – V/I and I/V converters, comparators, multivibrators, waveform generators, clippers, clampers, peak detector, S/H circuit, D/A converter (R – 2R ladder and weighted resistor types), A/D converter – Dual slope – Successive approximation and flash types.

UNIT IV SPECIAL ICs 								9

555 Timer circuit – Functional block – Characteristics and applications; 566 – Voltage controlled oscillator circuit; 565 – Phase lock loop circuit functioning and applications – Analog multiplier ICs. DDS

UNIT V 	APPLICATION ICs						 	9

IC voltage regulators – LM317 – 723 regulators – Switching regulator – MA 7840 – LM 380 power amplifier – ICL 8038 function generator IC – Isolation amplifiers – Opto coupler – Opto electronic ICs, Load   drop  out regulators.

TOTAL: 45 periods

TEXT BOOKS

1. Ramakant A. Gayakward, “OP-AMPS and Linear Integrated Circuits”, 4th Edition, Pearson Education/Prentice Hall of India, 2000.

2. Roy Choudhary, D. and Sheil B.Jani, “Linear Integrated Circuits”, 4th Edition, New Age,

2009.

REFERENCE BOOKS

1. Jacob Millman, Christos C.Halkias, “Integrated Electronics - Analog and Digital Circuits System”, Tata McGraw Hill, 2003.

2. Robert F. Coughlin, Fredrick F. Driscoll, “OP - AMP and Linear ICs”, 4th Edition, Pearson Education/ Prentice Hall of India, 2002.

3. David A. Bell, “OP-AMP Linear ICs”, 2nd Edition, Prentice Hall of India, 1997.

COURSE CODE : U5EEA21

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 4 |

COURSE NAME: DIGITAL LOGIC CIRCUITS

COURSE OBJECTIVES

To introduce the fundamentals of Digital Circuits, combinational and sequential circuit.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Students will be able to explain various number systems and to simplify the mathematical expressions using Boolean functions – simple problems

- Students will able to realize combinational circuits

- Students will be able to design of various synchronous and asynchronous circuits.

- Students will be able to develop various memory devices.

- Students will be able to recognize VHDL concepts

PRE-REQUISITE

Basic Electrical and Electronics Engineering

CONTENTS

UNIT I BOOLEAN ALGEBRA AND COMBINATIONAL CIRCUITS	                      9

Boolean algebra: De – Morgan’s theorem, switching functions and simplification using K – maps and Quine McCluskey method, Design of adder, subtractor, comparators, code converters, encoders, decoders, multiplexers and demultiplexers.

UNIT II SYNCHRONOUS SEQUENTIAL CIRCUITS 			                      9

Flip flops – SR, D, JK and T. Analysis of synchronous sequential circuits – Design of synchronous sequential circuits – Counters, state diagram – State reduction – State assignment.

UNIT III ASYNCHRONOUS SEQUENCTIAL CIRCUIT 				9

Analysis of asynchronous sequential machines – State assignment – Asynchronous design problem.

UNTI IV PROGRAMMABLE LOGIC DEVICES, MEMORY AND LOGIC FAMILIES 9

Memories – ROM, PROM, EPROM, PLA, PLD, FPGA – Digital logic families – TTL, ECL,

CMOS. Application  & comparison of various  digital   logic    families

UNIT V VHDL 										9

RTL Design – Combinational logic – Types – Operators – Packages – Sequential circuit – Sub programs – Test benches. (Examples: adders, counters, flipflops, FSM, Multiplexers / Demultiplexers).					TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1.  Raj Kamal, “Digital Systems - Principles and Design”, 2nd Edition, Pearson Education,2007.

2. Morris Mano, “Digital Design”, Pearson Education, 2006.

3. Yarbrough, J.M., “Digital Logic, Application and Design”, Thomson, 2002.

4. Digital Systems Design Using VHDL, Charles H. Roth Jr.

REFERENCE BOOKS

1. Roth, C.H., “Fundamentals Logic Design”, 4th Edition, Jaico Publishing, 2002.

2. Floyd and Jain, “Digital Fundamentals”, 8th Edition, Pearson Education, 2003.

3. Wakerly, J.F., “Digital Design Principles and Practice”, 3rd Edition, Pearson Education, 2002.

4. Tocci, “Digital Systems: Principles and Applications”, 8th Edition, Pearson Education.

COURSE CODE: U5ECA17

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 1 | 0 | 4 |

COURSE NAME: DIGITAL SIGNAL PROCESSING

COURSE OBJECTIVES

  - Ability to Analyse Discrete Fourier Transform and its computation

  - Analyse the design techniques for digital filters

  - To understand the finite word length effects in signal processing

  - To make understand the fundamentals of digital signal processors

COURSE OUTCOMES

On successful completion of this course students will be able:

- Students will be able to exhibit the knowledge  on various  signal processing Techniques

- Students will be able to analyse Discrete Fourier Transform and its computation.

- Students will be able to construct algorithms with DSP processors.

- Students will be able to design the FIR and IIR filters

- Students will be able to illustrate  finite word length effects in signal processing

PRE-REQUISITE

Signals and Systems, Engineering Mathematics

CONTENTS

UNIT I Introduction And FFT Algorithm					9

Advantages and typical applications of DSP; Review of discrete-time, signal and system analysis. Discrete Fourier series - properties of DFS - periodic convolution - DFT - properties – linear, convolution using DFT - computation of DFT - circular convolution - decimation in time and Decimation in frequency algorithms - FFT algorithm.

UNIT II Digital Filters Design							9

Design of IIR digital filters from analog filters - Butterworth and Chebyshev filters – design examples -impulse invariant and bilinear transformation methods - spectral transformation of IIR filters - FIR filter design - linear phase characteristics - window method. IIR and FIR Filter structures.

UNIT III Finite Word Length Effects						9

Quantization noise – derivation for quantization noise power – Fixed point and binary floating point number representation – comparison – over flow error – truncation error – co-efficient quantization error  - limit cycle oscillation – signal scaling – analytical model of sample and hold operations

UNIT IV Multirate DSP 								9

Sampling and discrete-time processing of continuous time signals; Decimation and interpolation.. Multirate DSP and its application in sampling rate conversion and high quality A/D and D/A conversion.

UNIT V Digital Signal Processors							9

Computer architecture for signal processing - hardware architecture - pipelining – hardware, multiplier - accumulator - special instructions - general purpose digital signal processors  Texas instruments - TMS 320 family - Motorola DSP 56000 family - analog devices ADSP-2100 family - implementation of DSP algorithm on general purpose digital signal processors. Comparision  of  FPGA  &  DSP  for  real  time  application-  recent  trend  in  TMS

TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1. Mitra, S.K., “Digital Signal Processing-A Computer Based Approach”,

3rd Ed., Tata Mcgraw-Hill.2005

2. Oppenheim, A.V. and Schafer, R.W. with Buck, J.R., “Discrete Time

Signal Processing”, 2nd Ed., Prentice-Hall of India.2002

3. Proakis, J.G. and Manolakis, D.G., “Digital Signal Processing: Principles,

Algorithm and Applications”, 4th Ed., Pearson Education. 2007

4. Ifeachor, E.C. and Jervis, B.W., “Digital Signal Processing: A Practical

Approach”, 2nd Ed., Pearson Education.2002

REFERENCE BOOKS

1. Jeffrey, H.R., “Software Radio: A Modern Approach to Radio

Engineering”, Pearson Education. 2002

2. Phi Lapseley, Jeff Bier, Amit Shohan & Lee E.A., “DSP Processor Fundamentals-

Architectures and Features”, IEEE Press

3. B.Venkataramani & M. Bhaskar, Digital Signal Processor Architecture, Programming

and Application, TMH 2002.

4. Avtar singh, S.Srinivasan DSP Implementation using DSP microprocessor with

Examples from TMS32C54XX -Thamson / Brooks cole Publishers, 2003

COURSE CODE: U5ECA22

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

COURSE NAME: COMMUNICATION ENGINEERING

COURSE OBJECTIVES

  - To understand the concept of various analog modulation schemes.

  - To explain the characteristics and model of transmission medium.

  - To understand the concept of various digital modulation schemes and digital multiplexing.

  - To understand data communication system and techniques.

  - To understand the concept of gsm and cdma communication.

COURSE OUTCOMES

On successful completion of this course students will be able :

- Students will be able to exhibit the concept of various analog modulation schemes.

- Students will be able to defend the characteristics and model of transmission medium.

- Students will be able to follow the concept of various digital modulation schemes and digital multiplexing.

- Students will be able to model data communication system and techniques.

- Ability to understand the concept of gsm and cdma communication.

PRE-REQUISITE

Network Analysis and Synthesis.

CONTENTS

UNIT I ANALOG COMMUNICATION 							9

Amplitude modulation and demodulation, frequency modulation and demodulation, super heterodyne radio receiver. Pulse width modulation.

UNIT II TRANSMISSION MEDIUM           	          					9

Transmission lines – Types, equivalent circuit, losses, standing waves, impedance matching, bandwidth; radio propagation – Ground wave and space wave propagation, critical frequency, maximum usable frequency, path loss, types of noise.

UNIT III DIGITAL COMMUNICATION  						9

Pulse code modulation, Time division multiplexing, Frequency division multiplexing Digital modulation: Frequency and phase shift keying – Modulator and demodulator, bit error rate calculation – BPSK -- QPSK.

UNIT IV DATA COMMUNICATION AND NETWORKS 				9

Data Communication codes, error control. Telephone network, data modem, ISDN, LAN, ISO-OSI seven layer architecture for WAN.

UNIT V GSM AND CDMA COMMUNICATION 	   				9

Mobile and cellular phone concepts – 2G, Edge 2.5, 3G, GSM, GPRS, 4G

TOTAL: 45 periods

TEXT BOOKS

1. Wayne Tomasi, ‘Electronic Communication Systems’, Pearson Education, 5th Edition, 2008.

2. Roy Blake, ‘Electronic Communication Systems’, Thomson Delmar, 2nd Edition, 2012.

REFERENCE BOOKS

1. William Schweber, ‘Electronic Communication Systems’, Prentice Hall of India, 2002

2. George Kennedy, ‘Electronic Communication Systems’, McGraw Hill, 5th edition, 2012

3. Website REFERENCE BOOKS for GSM & CDMA topics.

U5EEA22- CONTROL SYSTEMS LAB                               		L  T  P  C

0   0   3  2

COURSE OBJECTIVES

To verify the theoretical aspects of 1st order and 2nd order systems by simulation

- To obtain the transfer functions of various motors and generator by experiment

- To check the stability of given system

- To understand about the position control systems and Type 0 and Type 1 systems

COURSE OUTCOMES

- Ability to understand practically about obtaining the transfer function of various system

- Ability to analyze the stability of systems given

- Ability to understand about type and order of systems and its identification

- Ability to Know and understand about the position controls

- Ability to know and understand about the networks.

PRE-REQUISITE

Knowledge in Laplace transform, pole zero concepts

CONTENTS

1. Compensation of lag, lead and lag-lead networks.

2. Determination of transfer functions of DC Servomotor.

3. Determination of transfer functions of AC Servomotor.

4. Analog simulation of Type – 0 and Type – 1 system.

5. Determination of transfer functions of DC Generator.

6. Determination of transfer functions of DC Motor.

7. Stability analysis of linear systems.

8. DC and AC position control systems.

9. Stepper motor control system.

10. Digital simulation of first order systems.

11. Digital simulation of second order systems.

U5EEA23- LINEAR AND DIGITAL INTEGRATED CIRCUITS LAB

L  T P C

- 0 3 2

COURSE OBJECTIVES

To enrich the students to acquire knowledge about the basics of integrated circuits, logic gates, op-amp characteristics (AC, DC characteristics),adder, subtractor, counter, shift register, multiplexer and demultiplexer experiments.

COURSE OUTCOMES

- Ability to understand the various concepts of linear Ic’ s

- Ability to understand the various concepts of digital Ic’ s

- Ability to understand the various concepts of logic gates.

- Ability to understand the various concepts of code converters.

- Ability to understand the various concepts of amplifiers.

PRE-REQUISITE

Knowledge on IC’s and digital logic circuits

CONTENTS

1. Study of Basic Digital IC’s. (Verification of truth table for AND, OR, EXOR, NOT, NOR, NAND, JK FF, RS FF, D FF)

2. Implementation of Boolean Functions, Adder/ Subtractor circuits.

3 a) Code converters, Parity generator and parity checking, Excess – 3, 2s Complement, Binary to Gray code using suitable IC’s.

b) Encoders and Decoders.

4. Counters: Design and implementation of 4 – bit modulo counters as synchronous and Asynchronous types using FF IC’s and specific counter IC.

5 Shift Registers: Design and implementation of 4 – bit shift registers in SISO, SIPO, PISO, PIPO modes using suitable IC’s.

6 Multiplex/ De – multiplex: Study of 4:1; 8:1 multiplexer and Study of 1:4; 1:8 demultiplexer.

7 Timer IC application: Study of NE/SE 555 timer in Astable, Monostable operation.

8. Application of Op – Amp: Slew rate verifications, inverting and non – inverting amplifier, Adder, comparator, Integrater and Differentiator.

9 Study of Analog to Digital Converter and Digital to Analog Converter: Verification of A/D conversion using dedicated IC’s.

10 Study of VCO and PLL ICs:

i. Voltage to frequency characteristics of NE/ SE 566 IC.

ii. Frequency multiplication using NE/SE 565 PLL IC.

| L | T | P | C |
| --- | --- | --- | --- |
| 0 | 0 | 3 | 2 |

COURSE CODE: U5ECA20

COURSE NAME: DIGITAL SIGNAL PROCESSING LAB

COURSE OBJECTIVES

- To introduce the concepts in internal programming model of Intel family of microprocessors.

- To introduce the architecture programming and interfacing of 16 bit microcontrollers.

COURSE OUTCOMES

- Practically implement the continuous signals and discrete signals.

- Practically implement the sampling and aliasing concepts for different signals.

- Calculate and analyze the continuous and discrete signals using FFT algorithm.

- Practically design the FIR and IIR filters.

- Implement the different types of signals and filters using the TMS320CXX DSP processor both practically and theoretically.

PRE-REQUISITE

Signals & Systems.

CONTENTS

1. Study of various Addressing Modes of DSP using Simple Programming Examples

2. Sampling of Input Signal and Display

3. Design & Implementation of FIR Filter using MATLAB

5. Generation of Signals using MATLAB

6. Linear and Circular Convolution of Two Sequences using MATLAB

7. Sampling and Effect of Aliasing using MATLAB

8. Design of IIR Filters using MATLAB

9. Calculation of FFT of a Signal using MATLAB

10. FIR Filter Implementation using TMS320XX Processor

11. IIR Filter Implementation using TMS320XX Processor

VI SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U6EEA24 | Power Electronics | 3 | 1 | 0 | 4 |
| U6EEA25 | Power System Protection And Switchgear | 3 | 1 | 0 | 4 |
| U6ECA13 | Microprocessors And Microcontrollers | 3 | 1 | 0 | 4 |
| U6ECA29 | VLSI Design | 3 | 1 | 0 | 4 |
| Elective Code [OR] UEGEA13 | Elective I for batch 2009 – 13 only) [OR] INTEGRATED PRODUCT DEVELOPMENT | 3 | 0 | 0 | 3 |
|  | Elective II | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U6ECA14 | Microprocessors And Microcontrollers Laboratory | 0 | 0 | 3 | 2 |
| U6ECA30 | VLSI Design Laboratory | 0 | 0 | 3 | 2 |
| U6ENA02 | Proficiency In English | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 9 | 28 |

U6EEA24 POWER ELECTRONICS 				L-3 T-1 P-0 C-4

PRE REQUISITE:

- Electronics devices and circuits, Circuit theory, Basic Electrical & Electronics Engineering

COURSE OBJECTIVES

Students are exposed with

- An overview of different types of power semi-conductor devices and their switching characteristics.

- The operation, characteristics and performance parameters of controlled rectifiers.

- The operation, switching techniques and basic topologies of DC-DC switching regulators.

- The different modulation techniques of pulse width modulated inverters and to understand the harmonic reduction methods.

- The practical application for power electronics converters in conditioning the power supply.

COURSE OUTCOMES

On successful completion of this, course the students will be able to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Label different types of power semi-conductor devices and their switching characteristics. | K1 |
| C02 | Explain the operation, characteristics and performance parameters of controlled rectifiers. | K2 |
| C03 | Interpret the operation, switching techniques and basic topologies of DC-DC switching regulators. | K2 |
| C04 | Distinguish different techniques of pulse width modulated inverters and to understand the harmonic reduction methods. | K4 |
| C05 | Identify similar practical or theoretical situations where AC voltage controller & Cycloconverter find their applications. | K3 |

CONTENTS

UNIT I: POWER SEMI CONDUCTOR DEVICES			             9

Power switching devices overview: ideal & real switching characteristics - power diode, BJT, SCR, TRIAC, MOSFET, GTO, IGBT- VI characteristics, Turn-on, Turn-off methods; protection - di/dt, dv/dt, over current, over voltage, specifications, losses, thermal characteristics, series and parallel operation, triggering circuits.

UNIT II: CONTROLLED RECTIFIERS							11

Operation and analysis of single and three phase rectifiers – half and fully controlled converters with R, RL and RLE loads with and without free wheeling diodes; converter and inverter operation – wave forms, gate time control, output voltage, input current, power factor, effect of load and source inductance. Commutation Techniques- Power factor and harmonic improvement methods – multi-phase width controlled, symmetrical angle controlled; series converter; dual converter modes – four-quadrant operation with and without circulating current modes; firing circuits.

UNIT III: CHOPPERS									9

Principles of high power chopper circuits – voltage commutated, current commutated chopper, multi-phase chopper, multi-quadrant operation, switch mode regulators – principle of operation of buck, boost and buck boost regulators; time ratio control, variable frequency control, duty cycle.

UNIT IV: INVERTERS									9

Principles of high power VSI and CSI inverters, Modified McMurray, auto sequential inverter,– waveforms at load and commutating elements, inverter; analysis of three phase inverter circuits with star and delta loads; control and modulation techniques; unipolar, bipolar inverters – voltage and frequency control; harmonics study.

UNIT V: AC CHOPPER AND CYCLOCONVERETERS			7

Principle of single phase and three-phase AC voltage controller – ON/OFF and phase angle control; principle of single phase and three phase cyclo converters circuits, different control techniques and firing pulse generation. Applications.

Total: 45 +15 (Tutorial)=60 period

TEXT BOOKS

- Muhammad H. Rashid, “Power Electronics: Circuits, Devices and Applications”, 3rd Edition, Pearson Education/Prentice Hall, 2004.

- Singh, M.D. and Khanchandani, K.B., “Power Electronics”, 2nd Edition, Tata McGraw Hill, 2004.

### REFERENCE BOOKS

1. 	Bhimbra, P. S., “Power Electronics”, 4th Edition, Dhanpat Rai and Sons, 2000.

2. Bimal K. Bose, “Modern Power Electronics and AC Drives”, Pearson Education, 2003.

3. 	Ned Mohan, Tore M. Undeland, William P. Robbins, “Power Electronics Converters Applications and Design”, 3rd Edition, John Wiley and Sons, 2003.

4. Cyril W.Lander, “ Power Electronics”, McGraw-Hill, International edition, New Delhi, 1993.

U6EEA25 POWER SYSTEM PROTECTION & SWITCH GEAR

L-3 T-1 P-0 C-4

PRE REQUISITE

- Electric circuits theory

- Power System Analysis.

COURSE OBJECTIVES

Students are exposed with

- Essential qualities of a reliable protective system, and protection terminologies

- Operating principles of various relays based upon

- Technology and functional requirements

- Protection of power apparatus in plant premises  & Transmission line

- The arcing phenomena,  arc quenching & breaking in circuit breakers

- Different Circuit breaker principles & working

COURSE OUTCOMES

On successful completion of this, course the students will be able to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | List about essential qualities of a reliable protective system, and protection terminologies. | K1 |
| C02 | Contrast operating principles of various relays based upon technology and functional requirements. | K2 |
| C03 | Summarize about protection of power apparatus in plant premises & transmission line. | K2 |
| C04 | Interpret about the arcing phenomena, arc quenching in circuit breakers. | K2 |
| C05 | Compare different Circuit breaker principles & working | K2 |

CONTENTS

UNIT – I	INTRODUCTION					                   	9+3

Basic ideas of short circuit currents and relay protection; basic terminology; essential qualities of a protective relay; operating principles of relays; The universal relay; torque equation, RX diagram;  CT, PT & applications.

UNIT – II	 OPERATING PRINCIPLES AND RELAY FUNCTION  	9+3

Over current relays; directional over current relays; distance relays; differential relays; under frequency and negative sequence relays; Electromagnetic and solid state relays. Time –distance relay, mho relay, numerical relay

UNIT – III	PROTECTION   OF  POWER  APPARATUS	                  	 9+3

Generator protection; transformer protection; bus zone protection; feeder protection; carrier current protection of transmission lines; Relay coordination of a sample system. Industrial power system protection, A.C.motor protection, rectifier protection, testing & commissioning.

UNIT – IV	ARCING PHENOMENA AND ITS APPLICATIONS	         		9+3

Arcing phenomena and arc quenching; circuit breaker rating RRRV; current chopping and capacitive current breaking characteristics of HRC fuses; DC circuit breaking, surge protection, impulse levels.

UNIT – V	CIRCUITBREAKERS						         9+3

Oil minimum circuit breakers; air blast circuit breakers; vacuum and SF6 circuit breakers; testing of circuit breakers, oil switches and ring main units, high voltage load breaking switches.

Total: 45+15 Tutorial = 60 periods

TEXT BOOKS

  - B.Ravindranath and N.Chander, "Power Systems protection and switchgear", Wiley Eastern Ltd, 1977.

  - Badri Ram and Viswakarma, D.N., “Power System Protection and Switch Gear”, Tata McGraw-Hill Publishing Company Ltd., 2001.

### REFERENCE BOOKS

- C.L.Wadhwa, " Electric power systems", New Age International (P) Ltd publishers, 1983.

- S.P.Patra, S.K.Babu and S.Choudhuri, "Power systems protection", Oxford and IBM Publishing Co., 1983.

- Sunil S. Rao, "Switchgear and protection", Khanna publishers, New Delhi, 1986.

- Lewis Blackburn “Protective Relaying – Principles and applications”, Second Edition, Dekker Inc., 1998.

T.S.Madhava Rao, “Power System Protection Static Relays”, Second Edition, Tata McGraw Hill, 2004.

U6ECA13 MICROPROCESSORS AND MICROCONTROLLERS

L-3 T-1 P-0 C-4

PRE-REQUISITE

Digital Logic Circuit

COURSE OBJECTIVES

Students are exposed with

- The architecture and programming of 8085 microprocessor.

- The interfacing of peripheral devices with 8085 microprocessor.

- The architecture and programming of 8086 microprocessor.

- The architecture, programming and interfacing of 8051 micro controller.

COURSE OUTCOMES

On successful completion of this, course the students will be able to

| CO Nos | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| CO1 | Describe 8085 Architecture, Memory and I/O Interfacing. | K2 |
| CO2 | Develop and Implement Assembly Language Program for the Basic Arithmetic Manipulation using 8085 Microprocessor. | K3 |
| CO3 | Describe 8086 Architecture, Instruction set and Modes of operation. | K2 |
| CO4 | Compare the various Pentium Processor like 80286, 80386 and 80486. | K2 |
| CO5 | Develop the interfacing various peripherals (8255, 8251, 8279, 8259 & 8257) with 8085 Microprocessor for the given requirements. | K3 |
| CO6 | Describe the Architecture and Internal peripherals of Intel’s 8051 Microcontroller. | K2 |
| CO7 | Develop Assembly Language Program for 8051 microcontroller to interface various peripherals (LCD, ADC, DAC, Sensors, Stepper Motor, Keyboard, I2C, SPI, and RS485) for the given requirements. | K3 |

CONTENTS

UNIT I OVERVIEW 8085 MICROPROCESSOR 		    	9+3

Hardware Architecture-Pinouts and Signals-Addressing Modes-Timing Diagram-Interrupts Structure-Memory Interfacing-I/O Ports –Assembly language program.

UNIT II OVERVIEW 8086 MICROPROCESSOR	 	    	9+3

Architecture- Pinouts and Signals-Instruction Set-Assembler-Directives-Procedures-Macros-Maximum and Minimum Modes of Operations - Assembly Language Programming-Comparison of Pentium processors 80286, 80386 and 80486.

UNIT III INTERFACING WITH PERIPHERALS			9+3

Memory Interfacing and I/O Interfacing-Parallel Communication Interface (8255)-Serial Communication Interface (8251)-D/A and A/D Interface-Timer-Keyboard/Display Controller (8279)-Interrupt Controller (8259)-DMA Controller (8257).

UNIT IV OVERVIEW OF 8051 MICROCONTROLLER		9+3

Architecture of 8051 Microcontroller-I/O Pins, Ports and Circuits - External Memory of 8051-Addressing Modes-Counters and Timers-Serial I/O-Interrupts.

UNIT V PROGRAMMING AND INTERFACING OF 8051 MICROCONTROLLER    							 				9+3

Instruction Set-Assembly Language Programming-8051 Interfacing: LCD, ADC, DAC, Sensors, Stepper Motors, Keyboard, I2C, SPI, RS485.

Total : 45+15(Tutorial) =  60 periods

TEXT BOOKS

- Ramesh S Gaonkar, Microprocessor Architecture, Programming and application with 8085, 4th Edition, Penram International Publishing, New Delhi, 2000. (Unit I, II)

- John Uffenbeck, The 80x86 Family, Design, Programming and Interfacing, Third Edition. Pearson Education, 2002.

- Mohammed Ali Mazidi and Janice Gillispie Mazidi, The 8051 Microcontroller and Embedded Systems, Pearson Education Asia, New Delhi, 2003. (Unit IV, V)

### REFERENCE BOOKS:

- A.K. Ray and K.M.Burchandi, Intel Microprocessors Architecture Programming and Interfacing, McGraw Hill International Edition, 2000

- Kenneth J Ayala, The 8051 Microcontroller Architecture Programming and Application, 2nd Edition, Penram International Publishers (India), New Delhi, 1996.

- M. Rafi Quazzaman, Microprocessors Theory and Applications: Intel and Motorola prentice Hall of India, Pvt. Ltd., New Delhi, 2003.

U6ECA29 			VLSI DESIGN 		L-3 T-1 P-0 C-4

PRE REQUISITE

- Digital Logic Circuits

COURSE OBJECTIVES

Students are exposed with

- The basic CMOS circuits and allied process technology

- The techniques of chip design using programmable devices.

- The CMOS testing

- The concepts of designing VLSI subsystems

- The concepts of modelling a digital system using Hardware Description Language.

COURSE OUTCOMES

On successful completion of this, course the students will be able to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Describe CMOS Technology | K2 |
| C02 | Describe CMOS Chip Design Techniques. | K2 |
| C03 | Explain the CMOS testing. | K2 |
| C04 | Describe the digital design using Programmable logic devices | K2 |
| C05 | Design the digital circuits using Verilog, a Hardware Description Language | K3 |

CONTENTS

UNIT I  CMOS TECHNOLOGY								9

An Overview of silicon semiconductor technology, Basic CMOS technology: n Well, P Well, Twin Tub and SOI process. Circuit Elements : Resistors, Capacitors, EAROM. Latch Up and Prevention. Layout Design rules, Stick Diagram, Physical Design : Basic Concepts, CAD tools.

Physical Design of logic gates : inverter, NAND, NOR, Design hierarchies.

UNIT II  CMOS CHIP DESIGN 								9

Logic Design with CMOS  : MOSFETS as switches, Basic logic gates in CMOS and Complex logic gates. Transmission gates : Muxes and latches. CMOS chip design options : full custom ASIC’S, semi custom ASIC and programmable ASIC. Programmble logic structures : 22V10, programming PAL’s, Programmable interconnect Reprogrammable GA : Xilinx programmable GA, Features  and internal structure of CPLDs, FPGAs, designing with CPLDs and FPGAs.  Introduction to IC floor planning and testing, ASIC Design flow.

UNIT III CMOS TESTING 								9

###### Need for testing , manufacturing test principles, Design strategies for test : design for testability, combinational logic testing, sequential logic testing, fault model types, ATPG, Boundary scan test, built in self test, DFT schemes. Chip level and system level test techniques.

UNIT IV SYNCHRONOUS DESIGN USING PROGRAMMABLE DEVICES  	9

EPROM to realize a sequential circuit, Programmable logic devices : ROM, PLA, PAL, PLD and DESIGN, designing a synchronous sequential circuit using a GAL, realization state machine using PLD, FPGA : introduction, Switching matrix ,  FPGA  Xilinx 2000 , Xilinx 3000.

UNIT V  SPECIFICATION USING VERILOG HDL 					9

Basic concepts, language features, VLSI design flow, identifiers, arrays, instances, value set, ports, gate delays.

Types of Verilog description – structural gate level RTL, data flow RTL  and structural and behavioral RTL descriptions

structural gate level RTL : Half adder , Full adder , Ripple carry adder, Multiplexer, encoder, decoder, comparator, equality detector, D-latch, D Flip Flop, JK flip flop.

###### Data flow RTL : Operators, Combinational logic and sequential logic examples.

###### structural and behavioral RTL : Delays and Timing controls ,Procedural assignments and conditional assignments, Multiplexer, Combinational logic and sequential logic examples.

###### Total : 45+15(Tutorial) =  60 periods

TEXT BOOKS

- Weste & E Shraghian : Principles of CMOS VLSI Design ( 2 / e ) Addison Wesley, 1993 for Unit I  to  Unit I II.

- Samir Palnitkar, Verilog HDL – Guide to digital design and synthesis, III edition , Pearson Education, 2003 for Unit V.

### REFERENCE BOOKS

  - M.J.S.Smith : Application Specific Integrated circuits , Pearson Education, 1997.

  - John M Yarbrough “Digital Logic applications and design” Thomas Learning, 2001 .

  - Neil, “CMOS VLSI DESIGN”, Prentice Hall India, 2008.

UEGEA13 INTEGRATED PRODUCT DEVELOPMENT

L-3 T-0 P-0 C-3

PRE-REQUISITE

Basic Electrical and Electronics Engineering.

COURSE OBJECTIVES

Students undergoing this course are expected to:

- Understand the concepts of tools and techniques in the Integrated Product Development area of the Engineering Services industry.

- Relate the engineering topics into real world engineering applications.

COURSE OUTCOMES

Upon the successful completion of the course, learners will be able to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s) |
| --- | --- | --- |
| CO1 | Summarise the various trends affecting product decision | K2 |
| CO2 | Identify the requirements to create new product | K3 |
| CO3 | Compare different techniques involved in design creation and design testing | K2 |
| CO4 | Rephrase the methods of model creation and integration between software and hardware. | K2 |
| CO5 | Illustrate the need of end of life and patenting. | K2 |

(K1 – Remember; K2 – Understand; K3 – Apply)

CONTENTS

UNIT I: FUNDAMENTALS OF PRODUCT DEVELOPMENT			L-9

Global Trends Analysis and Product decision: Types of various trends affecting product decision - Social Trends-Technical Trends- Economical Trends Environmental Trends- Political/ Policy Trends- PESTLE Analysis.

Introduction to Product Development Methodologies and Management: Overview of Products and Services- Types of Product Development-  Overview of Product Development methodologies - Product Life Cycle - Product Development Planning and Management .

UNIT II: REQUIREMENTS AND SYSTEM DESIGN					L-9

Requirement Engineering: Types of Requirements- Requirement Engineering- Analysis -Traceability Matrix and Analysis- Requirement Management.

System Design &Modeling: Introduction to System Modeling- introduction to System Optimization- System Specification-Sub-System Design- Interface Design.

UNIT III: DESIGN AND TESTING							L-9

Conceptualization -Industrial Design and User Interface Design- Introduction to Concept generation Techniques-Concept Screening & Evaluation-  Concept Design- S/W Architecture- Hardware Schematics and simulation-

Detailed Design: Component Design and Verification- High Level Design/Low Level Design of S/W Programs- S/W Testing-Hardware Schematic- Component design- Layout and Hardware Testing.

UNIT IV: IMPLEMENTATION & INTEGRATION					L-9

Prototyping: Types of Prototypes -Introduction to Rapid Prototyping and Rapid Manufacturing.

System Integration- Testing- Certification and Documentation: Introduction to  Manufacturing/Purchase and Assembly of Systems- Integration of Mechanical, Embedded and S/W systems- Introduction to Product verification  and validation processes - Product Testing standards, Certification and Documentation.

UNIT V: SUSTENANCE ENGINEERING AND BUSINESS DYNAMICS		L-9

Sustenance -Maintenance and Repair- Enhancements Product End of Life (EoL ): Obsolescence Management-Configuration Management- EoL Disposal.

The Industry - Engineering Services Industry  overview- Product development in Industry versus Academia The IPD Essentials- Introduction to vertical specific product development processes- Product development Trade-offs- Intellectual Property Rights and Confidentiality- Security and configuration management						TOTAL=45 periods

TEXT BOOKS

- NASSCOM student Handbook "Foundation Skills in Integrated Product Development".

- Anita Goyal, Karl T Ulrich, Steven D Eppinger, “Product Design and Development “, 4th Edition, 2009, Tata McGraw-Hill Education, ISBN-10-007-14679-9

REFERENCE BOOKS

- George E.Dieter, Linda C.Schmidt, “Engineering Design”, McGraw-Hill International        Edition, 4th Edition, 2009, ISBN 978-007-127189-9

- Kevin Otto, Kristin Wood, “Product Design”, Indian Reprint 2004, Pearson Education,ISBN. 9788177588217

- Yousef Haik, T. M. M. Shahin, “Engineering Design Process”, 2nd Edition Reprint, Cengage Learning, 2010, ISBN 0495668141

- Clive L.Dym, Patrick Little, “Engineering Design: A Project-based Introduction”, 3rd Edition,  John Wiley & Sons, 2009, ISBN 978-0-470-22596-7

- Product Design Techniques in Reverse Engineering and New Product Development, KEVIN OTTO & KRISTIN WOOD, Pearson Education (LPE), 2001.

- The Management and control of Quality-6th edition-James R. Evens, William M Lindsay   Pub:son south-western(www.swlearning.com)

- Fundamentals of Quality control and improvement 2nd edition, AMITAVA MITRA, Pearson Education Asia, 2002.

- Montgomery, D.C., Design and Analysis of experiments, John Wiley and Sons, 2003.

- Phillip J.Rose, Taguchi techniques for quality engineering, McGraw Hill, 1996.

- G.B.Reddy, “Intellectual Property Rights and the Law”, Gogia Law Agency, 7th Edition - Reprint, 2009.

- N.R.Subbaram, “Demystifying Intellectual Property Rights”, LexisexisButterworthsWadhwa, First Edition, 2009

U6ECA14 	MICROPROCESSORS AND MICROCONTROLLERS LAB

L-0 T-0 P-3 C-2

PRE-REQUSITE

- Linear and Digital Integrated Circuits Lab

COURSE OBJECTIVES

Students undergoing this course are expected to

- Give hands on experience in 8085 assembly language programming.

- Give hands on experience in peripheral interfacing with 8085, 8086.

- Introduce 8051 microcontroller programming.

- Enhance their knowledge on the latest trends and technologies.

COURSE OUTCOMES

On successful completion of this course, the student will be able to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Execute new assembly language programs using instruction sets of 8085 | K2 |
| C02 | Recreate programs using the knowledge of instruction set of 8086 with the help of trainer kit and MASM software. | K2 |
| C03 | Adapt and analyze various interfacing devices with 8085 and 8086 Microprocessors. | K4 |
| C04 | Develop assembly and C Programs for 8051 microcontroller. | K4 |
| C05 | Demonstrate programming proficiency using the various addressing modes and data transfer instructions of the target microprocessor and microcontroller. | K3 |

LIST OF EXPERIMENTS

CYCLE-I

8085 Programs using kits

- 8 bit/16 bit Multiplication/Division using Addition/Subtraction Instructions.

- Code Conversion, Decimal Arithmetic and Bit Manipulation.

- Matrix Multiplication.

- Fibonacci series

8086 Programs using kits and MASM

- String Manipulations

- Sorting and Searching

- Find and Replace

CYCLE-II

Peripherals and Interfacing Experiments

- Traffic light control

- Stepper motor control

- Key board and Display

- Serial interface and Parallel interface

- A/D and D/A interface

8051 Experiments using kits

- Basic arithmetic and Logical operations

- Square and Cube program, Find 2’s complement of a number

- Unpacked BCD to ASCII

U6ECA30 VLSI LAB

L-0 T-0 P-3 C-2

PRE-REQUISITE

- Digital Electronics

COURSE OBJECTIVES

Students are exposed with

- The simulation tools for verification of digital design.

- Hands on experience in Verilog programming for digital design

- The digital design in FPGA.

- Peripheral interfacing with FPGA

COURSE OUTCOMES

On successful completion of  the  course, the   students  will be  able  to

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Design the digital circuits using Verilog Hardware Description Language | K2 |
| C02 | Implement the digital circuits in FPGA | K3 |
| C03 | Use the simulation tools to verify their digital design | K2 |
| C04 | Use FPGA to develop digital design to solve real world problems | K3 |

CONTENTS

List of Experiments:

CYCLE I

- Study of synthesis tools using verilog with help of

  - Combinational circuit’s B. Sequential circuits

- Study of simulation tools using verilog with help of

  - Combinational circuit’s B. Sequential circuits

- Study of FPGA board and testing on board leds

And switches using verilog codes with help of

  - Combinational circuit’s B. Sequential circuits

- Study and development tool for FPGA using verilog coding with help of

  - Combinational circuit’s B. Sequential circuits

- Design and simulation of back annotated verilog files for multiplying two signed, 8 bit numbers in 2’s compliment. Design must be pipelined and completely rtl compliant.

CYCLE II

- Design and simulation of pipelined serial adder to add/subtract 8 number of size, 12 bits each in 2’s compliment

7.	Design and simulation of pipelined parallel adder to add/subtract 8 number of size, 12 bits   each in 2’s compliment

8. 	Design of traffic light controller using verilog

9.	Testing the traffic controller design using FPGA board

10.Design a real time clock and demonstrate its working on the FPGA board.

U6ENA02 PROFICIENCY IN ENGLISH

L-0 T-0 P-3 C-2

PRE-REQUISITE

- Technical English

COURSE OBJECTIVES

- To prepare the students in  writing the notes and  reports effectively

- Adhere to train them to face interviews and participate in group discussions.

- To enhance their proficiency in areas of sharing opinions, suggestions and providing solutions.

- To embolden in public speaking and to affluent one on one interaction.

COURSE OUTCOMES

After the successful completion of this course students will be able to:

| CO Nos. | COURSE OUTCOMES | Level of learning domain (Based on revised Bloom’s taxonomy) |
| --- | --- | --- |
| C01 | Present themselves in Group Discussions and Presentation skills | A2 |
| C02 | Develop themselves to participate in mock interviews as well as real interviews | A4 |
| C03 | Relate themselves in preparing curriculum vitae and cover letter | A4 |
| C04 | Formulate open-ended questions in order to explore a topic of interest | A2 |
| C05 | Enrich in the aspects psychometric and soft skills to the expectations of industries and academic | A2 |

LIST OF EXPERIMENTS

CYCLE-I

- Group Discussion

- Defining Group Discussions

- Types of Group Discussions

- Participation; Intra/Inter Dept. Group Discussions

- Team – Work; Negotiation skills;

- Language Lab Practice

- Interview Skills

- Facing Questions

- Mock Interviews

CYCLE -II

- Dexterity in Writing

- Importance of writing

- Formal and Informal Styles of Writing

- Resume writing

- Letter-writing

- Project Proposals

- Presentation Skills

- Collecting and organizing materials;

- Seminar Presentations (subject Oriented/ General Topics)

- Quantitative Analysis

- Aptitude Tests;

- Psychometric Tests;

- Puzzle

VII SEMESTER

| Course Code | Course Name | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| THEORY |
| U7EEA26 | Power System Operation And Control | 3 | 1 | 0 | 4 |
| U7EEA27 | Solid State Drives | 3 | 1 | 0 | 4 |
| U7EEA28 | Electrical Machine Design | 3 | 1 | 0 | 4 |
| U7EEA29 | Modern Control Systems | 3 | 1 | 0 | 4 |
|  | Elective III | 3 | 0 | 0 | 3 |
|  | Elective IV | 3 | 0 | 0 | 3 |
| PRACTICAL |
| U7EEA30 | Power System Simulation Laboratory | 0 | 0 | 3 | 2 |
| U7EEA31 | Power Electronics & Drives Laboratory | 0 | 0 | 3 | 2 |
| U7ENA04 | Proficiency In English - II | 0 | 0 | 3 | 2 |
| Total | 18 | 4 | 9 | 28 |

U7EEA26-POWER SYSTEM OPERATION AND CONTROL

L-3 T-1 P-0 C-4

COURSE OBJECTIVES

- To get an overview of system operation and control.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Student can able to understand & model power-frequency dynamics and to design power-frequency controller.

- Student can  understand  Forecasting of base load and Unit commitment using different methods

- Student can able to understand & model reactive power-voltage interaction and different methods of control for maintaining voltage profile against varying system load

- Student can able to understand Economic Dispatch Controller and solution of Coordinate equation by iteration method

- Student can able to understand generation and absorption of Reactive power and the methods of voltage control

PRE-REQUISITE

- U5EEA19- Power System Analysis

- U6EEA25- Power System Protection & Switchgear.

CONTENTS

UNIT – I

INTRODUCTION									9

Approach adopted in utilities for providing reliable, quality and economic electric power supply; Necessity for regulation of system frequency and voltage; P - F and Q - V control structure; recent trends in real time control of power systems.

UNIT – II

LOAD FORECASTING AND UNIT COMMITMENT				9

Load forecasting, components of system load, classification of base load, forecasting of the base load by method of least square fit; Introduction to unit commitments constraints,unit commitment, unit commitment using priority list method  and dynamic programming.

UNIT – III

REAL POWER CONTROL							9

LOCAL CONTROL: Power control mechanism of individual machine, mathematical model of speed governing mechanism, speed load characteristics of governing mechanism; Regulation of two generators in parallel.

SYSTEM CONTROL: Division of power system into control areas, LFC control of a single area; static and dynamic analysis of uncontrolled system; proportional plus integral control of a single area; LFC control, of two area system - uncontrolled case, static and dynamic response; Tie line with frequency bias control of two area.

UNIT – IV	ECONOMICS DISPATCH                                                                     9

Incremental cost curve, co-ordination equations with losses neglected - solution by iteration; co-ordination equations with loss included (No derivation of Bmn co-efficient); solution of co-ordination equations using Bmn co-efficient by iteration method., Base point and participation factors; Economic dispatch controller added to LFC.

UNIT – V

PRIORITY POWER CONTROL 							      9                                                                                                                                            LOCAL CONTROL: Fundamental characteristics of excitation system; Block diagram model of exciter system

SYSTEM CONTROL: Generation and absorption of reactive power, method of voltage control, injection of reactive power, static shunt capacitor/inductor VAR compensator, tap changing transformer.						TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1. Olle I. Elgerad, “Electric Energy System Theory and Introduction”, Tata Mc Graw Hill

publishing company, New Delhi, 1983.

2. I.J.Nagrath, D.P.Kothari, "Power System Engineering", Tata Mc Graw Hill publishing

company Ltd., 1998.

3. Allen J.Wood, Bruce F. Wollenbarg, “Power Generation, operation and control”, John

Wiley and sons, 1984.

REFERENCE BOOKS

1.  B.M.Weedy, "Electric Power System", John Wiley & sons, Elsevier publishing

company, Amsterdam, 1972.

2. A.K.Mahalanbias, D.P.Kothari & S.I.Ahson, "Computer Aided Power System

Analysis and Control" Tata Mc Graw Hill publishing company, New Delhi, 1990.

3. Prabha Kundur “Power System Stability And Control” ,McGraw-Hill Professional (Jan

1994)

U7EEA27 SOLID STATE DRIVES				L-3 T-1 P-0 C-4

COURSE OBJECTIVES

- To understand the stable steady-state operation and transient dynamics of a motor-load system.

- To study and analyze the operation of the converter / chopper fed dc drive and to solve simple problems.

- To study and understand the operation of both classical and modern induction motor drives.

- To understand the differences between synchronous motor drive and induction motor drive and to learn the basics of permanent magnet synchronous motor drives.

- To analyze and design the current and speed controllers for a closed loop solid-state d.c motor drive

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Student will understand the operation of the converter / chopper fed dc drive and to solve simple problems.

- Student can able to understand the operation of both classical and modern induction motor drives.

- Student can apply this skills to design the current and speed controllers for a closed loop solid-state d.c motor drive

- Student can understand the concept of AC AND DC drive system

- Student can discriminates to drive the  systems required for special machines

PRE-REQUISITE

- Knowledge on Electrical machines.

- Knowledge on Power Electronics converters.

CONTENTS

UNIT I FUNDAMENTALS OF ELECTRIC DRIVES 				   9

Advantage of electric drives – Parts and choice of electrical drives – Status of DC and AC drives – Torque-speed characteristics of motor and load – Selection of motor power rating – Thermal model of motor for heating and cooling – Classes of duty cycle – Determination of motor rating – Control of electric drives – Modes of operation – Speed control and drive classifications – Closed loop control of drives.

UNIT II CONVERTER / CHOPPER FED DC MOTOR DRIVE 			9

Steady state and transient analysis of the single and three phase fully controlled converter fed separately excited D.C motor drive – Continuous and discontinuous conduction mode – Multiquadrant operation – Converter control – Chopper-fed D.C drive – Steady-state analysis – Block diagram of closed loop dc drive.

UNIT III INDUCTION MOTOR DRIVES 						9

Analysis and performance of three-phase induction motor – Operation with unbalanced  source voltage, single-phasing and unbalanced rotor impedance – Starting – Braking – Transient analysis – Stator voltage control –Adjustable frequency control of VSI and CSI fed induction motor – Static rotor resistance control – Slip-power recovery drives – Open loop Volts/Hz control – Principle of vector control – Vector control of induction motor – Block diagram of closed loop drive.

UNIT IV SYNCHRONOUS MOTOR DRIVES 						 9

Open loop Volts/Hz control and self-control of CSI and VSI fed synchronous motor – Cycloconverter fed synchronous motor – Microprocessor based synchronous motor control – Marginal angle control and power factor control – Permanent magnet (PM) synchronous motor – vector control of PM Synchronous Motor (PMSM).

UNIT V BLDC, STEPPER AND SWITCHED RELUCTANCE MOTOR DRIVES	  9

Brushless DC motor drives and its applications – Variable reluctance and permanent magnet stepper motor Drives – Operation and control of switched reluctance motor – Applications, modern trends in industrial drive.		TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

1Bimal K. Bose, “Modern Power Electronics and AC Drives”, Pearson Education, 2002.

- Dubey, G.K., “Fundamentals of Electrical Drives”, 2nd Edition, Narosa Publishing House,2001.

REFERENCE BOOKS

1. Pillai, S.K., “A First Course on Electrical Drives”, Wiley Eastern Limited, 1993.

2. Krishnan, R., “Electric Motor and Drives Modelling, Analysis and Control”, Prentice Hallof India, 2001.

3.VedamSubrahmanyam.,“Electrical Drives”,TataMcGraw-hill Publishing company limited,1994.

4.Gopal K.Dubey.,“Power semiconductor Controlled Drives”,Prentice Hall,1989.

COURSE CODE: U7EEA28

COURSE NAME: ELECTRICAL MACHINE DESIGN			L-3 T-1 P-0 C-4

COURSE OBJECTIVES

- To expose the students to the concept of design of various types of electrical machines.

COURSE OUTCOMES

- Student can exhibit the study of mmf calculation and thermal rating of various types of electrical machines.

- Student can able to design armature and field systems for D.C. machines.

- Student creatively apply knowledge to design core, yoke, windings and cooling systems of transformers.

- Student can construct the  design of stator and rotor of induction machines.

- Student can able to design stator and rotor of synchronous machines and study their thermal behavior..

PRE-REQUISITE

- U3EEA01- DC Machines and Transformers

- U4EEA08- Synchronous and induction machines

CONTENTS

UNIT I: INTRODUCTION					                                          9

Standard specification for frame size, conductors and insulation of electrical apparatus, concept of magnetic circuit, M.M.F of electrical machines, Real and Apparent flux density,Gap contraction factor, Thermal rating of electrical apparatus – Performance prediction from thermal rating, heat flow, heating and cooling, temperature rise, turbo-alternator.

UNIT II: D.C MACHINES								       9

Constructional details of DC machine, Output equation, Choice of poles, Design of field system, Design of armature, Design of commutator and brush, Armature reactions.

UNTI III: TRANSFORMERS							      9

Constructional features - Output equation, output rating of single phase and three phase, optimum design, Design of core, design of winding, Calculation of circuit parameters - No load current – losses – efficiency, equivalent leakage reactance, per unit regulation, design of tank and cooling tubes. Temperature rise.

UNIT IV: DESIGN OF SYNCHRONOUS MACHINES		     	                       9

Constructional details - Output equation - Choice of specific loadings - Design of squirrel cage rotor, design of slip ring rotor, design of end rings, Calculation of circuit parameters - No load current, circle diagram.

UNITV: INDUCTION MACHINES                                                                               9

Construction details, runaway speed, output equations, choice of loading, design of salient pole machine, short circuit ratio, armature design, armature parameters, estimation of air gap length, design of damper winding, determination of full load field MMF, design of field winding, and introduction to computer aided design.		TOTAL: 45+15(Tutorial) = 60 periods

TEXT BOOKS

- Mittle V.M. and Mittle.A, Design of Electrical Machines, standard publishers Distribution, Fourth edition, 1996

- 2. Sawhney, A.K. A course in Electrical Machine Design, Dhanpat Rai & sons, 1993

REFERENCE BOOKS

1. Rai, H.M. Electrical Machine Design, Sathiya Prakashan Publications, Third edition, 1992.

2. Say M.G., The Performance & Design of Alternating current Machines Isaac Pitman &

sons Ltd., London 1995.

- Clayton, A.E., Performance & Design of Direct current Machines, English Language Book society & Sri Isaac Pitman & sons Ltd., London 1995

U7EEA29 MODERN CONTROL SYSTEMS		L-3 T-1 P-0 C-4

COURSE OBJECTIVES

- To provide adequate knowledge in state space representation of analog and discrete system

- Familiarize the conversion technique from state space to transfer function and vice versa

- Provide knowledge in the types of non linearity and its methods of analysis.

- To provide an Introduction to MIMO system

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Understand the advantages of disadvantages of transfer function and state space analysis

- Understand the Z-transform analysis and its application

- Form state space representation for a given system(Discrete/analog)

- Identify the type of nonlinearity in a system and Apply the basic knowledge in analysis the nonlinear system given

- Understand about MIMO system, Model Predictive Control

PRE-REQUISITE

- Knowledge on Z- Transforms, Laplace Transforms.

- Knowledge on Matrices and determinants

CONTENTS

UNIT I STATE SPACE ANALYSIS OF CONTINUOUS TIME SYSTEMS 	9

State variable representation – Conversion of state variable form to transfer function and vice versa – Eigenvalues and Eigenvectors – Solution of state equation – Controllability and observability – Pole placement design – Design of state observer.

UNIT II z-TRANSFORM AND SAMPLED DATA SYSTEMS 			9

Sampled data theory – Sampling process – Sampling theorem – Signal reconstruction – Sample and hold circuits – z-Transform – Theorems on z-Transforms – Inverse z-Transforms – Discrete systems and solution of difference equation using z transform – Pulse transfer function – Response of sampled data system to step and ramp Inputs – Stability studies – Jury’s test and bilinear transformation

UNIT III

STATE SPACE ANALYSIS OF DISCRETE TIME SYSTEMS 		9

State variables – Canonical forms – Digitalization – Solution of state equations – Controllability and Observability – Effect of sampling time on controllability – Pole placement by state feedback – Linear observer design – First order and second order problems.

UNIT IV NONLINEAR SYSTEMS 						9

Types of nonlinearity – Typical examples – Phase-plane analysis – Singular points – Limit cycles – Construction of phase trajectories – Describing function method – Basic concepts – Dead Zone – Saturation – Relay – Backlash – Liapunov stability analysis – Stability in the sense of Liapunov – Definiteness of scalar functions – Quadratic forms – Second method of Liapunov – Liapunov stability analysis of linear time invariant systems and non-linear system

UNIT V MIMO SYSTEMS 								9

Models of MIMO system – Matrix representation – Transfer function representation – Poles and Zeros – Decoupling – Introduction to multivariable Nyquist plot and singular values analysis – Model predictive control

TEXT BOOKS

1. Gopal, M., “Digital Control and State Variable Methods”, 3rd Edition, Tata McGraw Hill,

2008.

2. Gopal, M., “Modern Control Engineering”, New Age International, 2005.

REFERENCE BOOKS

1. Richard C. Dorf and Robert H. Bishop, “Modern Control Systems”, 8th Edition, Pearson

Education, 2004.

2. Gopal, M., “Control Systems: Principles and Design”, 2nd Edition, Tata McGraw Hill,

2003.

3. Katsuhiko Ogata, “Discrete-Time Control Systems”, Pearson Education, 2002.

4. Solving Control Engineering Problems With Matlab  Prentice Hall  Katsuhiko Ogata   1993

COURSE CODE: U7EEA30

COURSE NAME: POWER SYSTEM SIMULATION LAB	L T P C

0 0 3 2

COURSE OBJECTIVES

- To learn essential optimization techniques for applying to day to day problems

- To perform steady state analysis and fault studies for a power system of any size and also to explore the expression of estimation of different states of a power system.

- To give basic knowledge about the dynamic mechanisms behind angle and voltage stability problems in electric power systems, including physical phenomena and modeling issues.

- To understand the economics of power system operation with thermal and hydro units

- To realize the requirements and methods of real and reactive power control in power system

- To be familiar with the power system security issues and contingency studies

COURSE OUTCOMES

- After learning the techniques they can apply to engineering and other problems

- Students will be able to investigate the state of a power system of any size and be in a position to analyze a practical system both under steady state and fault conditions. Also the students would be able to determine the operating condition of a system according to the demand without violating the technical and economic constraints.

- Students will be able to analyze and understand the electromagnetic and electromechanical phenomena taking place around the synchronous generator.

- Develop generation dispatching schemes for thermal and hydro units

- Apply control and compensations schemes on a power system

- Adopt contingency analysis and selection methods to improve system security

PRE-REQUISITE

MATLAB

CONTENTS

1. Formation of Bus Admittance and Impedance Matrices and Solution of Networks

2. Computation of line parameters and Modeling of Transmission Lines.

3. Load Flow Analysis I – Solution of Load Flow analysis Using Gauss-Seidel Method .

4. Load Flow Analysis II – Solution of Load Flow analysis of Newton- Raphson method.

5. Load flow analysis III – Solution of load flow analysis of Fast-Decoupled Methods.

6. Fault Analysis of AC Power System using PSCAD/EMTDC/AUPOWER

7. Transient Stability analysis of Single-Machine an Infinite Bus System.

8. Transient Stability Analysis of Multi-machine Power Systems.

9. Electromagnetic Transients in Power Systems using EMTP/AUPOWER.

10. Load-Frequency controller of Single-Area and Two-Area Power Systems.

11. Economic Dispatch in Power Systems.

12. Modeling of FACTS devices using PSCARD/EMTP/AUPOWER.

COURSE CODE: U7EEA31

COURSE NAME: POWER ELECTRONICS AND DRIVES LAB	L T P C

0 0 3 2

COURSE OBJECTIVES

- To make the students to understand the need of power electronics in various control of power.

- To give a basic knowledge of power devices and their characteristics.

COURSE OUTCOMES

- Design of controlled converters and inverters for industrial and domestic applications.

- Students will able to design power switching devices on their own.

- To match the converters with the type of loads with their transient behavior

- To design closed loop converter controlled drives for industrial and domestic applications.

- To simulate the basic converters and inverters in a software environment based on specifications.

PRE-REQUISITE

Electronic Devices and Laboratory

CONTENTS

1. Single Phase Semi-converter with R-L and R-L-E loads for continuous and discontinuous conduction modes.

2. Single phase full-converter with R-L and R-L-E loads for continuous and discontinuous conduction modes.

3. Three phase full-converter with R-L-E load.

4. MOSFET, IGBT based Choppers.

5. IGBT based Single phase inverters.

6. Volts/Hz control of VSI fed three phase induction motor drive.

7. Single phase AC voltage controller.

8. Mathematical Modeling and Simulation of closed loop speed control of converter fed DC motor drive.

9. Mathematical Modeling and Simulation of closed loop speed control of chopper fed DC motor drive.

10. Simulation of closed speed control of VSI fed three phase induction motor drive using PSIM

11. Simulation of three-phase synchronous motor drive using PSIM.

12.  Characterestics  of  SCR, TRIAC,  &  MOSFET

13.  ZVS &  ZCS  of  Resonant  converters.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

UEEEA45         UTILIZATION OF ELECTRICAL ENERGY

PRE-REQUISITE

- Knowledge in Electrical Engineering

COURSE OBJECTIVES

- To make The Student to understand how to use Electrical Energy for different applications.

- To make the students to use Electrical Energy very effectively and efficiently.

- To develop the skills of students to utilize the Electrical energy efficiently for different applications

COURSE OUTCOMES

On successful completion of this course students will be able to:

- The students will have knowledge on utilization of Electrical energy for different applications.

- Students will have Skill to use the Electrical Energy Efficiently and Effectively

- Students will have knowledge in energy auditing and save Electrical Energy

CONTENTS

UNIT I: ILLUMINATION								           9

Production of light – Determination of MHCP and MSCP – Polar curves of different types of sources – Rousseau's construction – Lighting schemes and calculations – Factory lighting – Flood lighting – Electric lamps – Gaseous discharge – High pressure and low pressure.

UNIT II: ELECTRIC HEATING AND WELDING					 9

Resistance, Inductance and Arc furnaces – Construction and fields of application – Losses in oven and efficiency - High frequency - Dielectric heating – Characteristics of carbon and metallic arc welding – butt welding – spot welding.

UNIT III: ELECTRIC DRIVES AND CONTROL					9

Group drive – Individual drive – selection of motors – starting and running characteristics– Running characteristics - Mechanical features of electric motors – Drives for different industrial applications - Choice of drives – power requirement calculation – power factor improvement.

UNIT IV: ELECTRIC TRACTION							9

Traction system – Speed time characteristics – Series and parallel control of D.C motors -Open circuited, shunt and bridge transitions – Tractive effort calculation – Electric braking – Tramways and trolley bus – A.C traction and recent trend. Magnetic devitation

UNIT V: ELECTROMECANICAL   PROCESSES					9

Electrolysis – polarization factor – preparation work for Electro plating – Tanks and other equipments – Calculation of energy requirements – Methods of charging and maintenance – Ni-iron and Ni- cadmium batteries –Lead   acid   batteries ,Components and materials – Chemical reactions – Capacity rating of batteries – Battery charges. TOTAL: 45 periods

TEXT BOOKS

1.Uppal S.L, "Electric Power", Khanna Publishers, 1988

2.Open Shaw Taylor, "Utilization of Electrical Energy", Oriented Longmans Limited (Revised in SI Units), 1971.

3. Soni A. Chakrabarti, M.L.Soni, P.V.Gupta, U.S.Bhatnagar, “ A 5.TEXT BOOK on Power System Enggineering”, Khanna Publishers, 2000.

4. A.I.Starr, “Generation, Transmission and Utilization of Electric Power”, ELBS, 1978.

REFERENCE BOOKS

1. PSCAD User Manual.

2. Power Quality in Electrical Systems - Alexander Kusko ,McGraw-Hill Professional

UEEEA41- POWER SYSTEM TRANSIENTS

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

PRE-REQUISITE

Admission to B.Tech. Programme

COURSE OBJECTIVES

      - To develop the basic power system knowledge and computational skills of the students in the areas of applied power systems.

      - To develop the skills of the students in the areas of several operation and control.

      - To serve as a PRE-REQUISITE power systems engineering for post graduate courses, specialized studies and research.

COURSE OUTCOMES

On successful completion of this course students will be able to:

- Get  idea of effect of transients on power systems

- Get idea of double frequency transients

- Get idea of waveforms for transient voltage across the load switch

- Get idea of Ferro resonance

- Get idea of Causes of over voltage

- Get idea of Interaction between lightning and power system

- Get idea of Standing waves and natural frequencies

CONTENTS

UNIT I INTRODUCTION								         9

Source of transients – Various types of power systems transients – Effect of transients on power systems – importance of study of transients in planning – Circuit closing transients – RL circuit with sine wave drive – Double frequency transients – Observations in RLC circuit and basic transforms of the RLC circuit – Resistance switching – Equivalent circuit for the resistance switching problems – Equivalent circuit for interrupting the resistor current

UNIT II SWITCHING TRANSIENTS						          9

Equivalent circuit – Waveforms for transient voltage across the load switch – normal and abnormal switching transients – Current suppression – Current chopping – Effective equivalent circuit – Capacitance switching – Effect of source regulation – Capacitance switching with a restrike – With multiple restrikes –Illustration for multiple restriking transients – Ferro resonance

UNIT III LIGHTNING TRANSIENTS 						          9

Causes of over voltage – Lightning phenomenon – Charge formation in the clouds – Rate of charging of thunder clouds – Mechanisms of lighting strokes – Characteristics of lightning strokes – Factors contributing to good line design – Protection afforded by ground wires – Tower footing resistance – Interaction between lightning and power system – Mathematical model for lightning

UNIT IV TRAVELLING WAVES ON TRANSMISSION LINE			9

Computation of transients – Transient response of systems with series and shunt lumped parameters and distributed lines – Travelling wave concept – Step response – Bewely’s lattice diagram – Standing waves and natural frequencies – Reflection and refraction of travelling waves

UNIT V TRANSIENTS IN INTEGRATED POWER SYSTEM			           9

The short line and kilometric fault – Distribution of voltage in a power system – Line dropping and load rejection – Voltage transients on closing and reclosing lines – Over voltage induced by faults – Switching surges on integrated system – EMTP for transient computation

TOTAL: 45 periods

TEXT BOOKS

- Allan Greenwood, “Electrical Transients in Power Systems”, 2nd Edition, Wiley

Interscience, 1991.

- Begamudre, R.D., “Extra High Voltage AC Transmission Engineering”, Wiley Eastern

Limited, 1986.

REFERENCE BOOKS

- Naidu, M.S. and Kamaraju, V., “High Voltage Engineering”, 2nd Edition, Tata McGraw Hill, 2000.

- H. W. Dommel, 1986, Electromagnetic Transients Program 6.REFERENCE BOOKS BOOK Manual.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

UEGEA13 INTEGRATED PRODUCT DEVELOPMENT

PRE REQUISITE

Basic Electrical and Electronics Engineering.

COURSE OBJECTIVES

Students undergoing this course are expected to:

- Understand the concepts of tools and techniques in the Integrated Product Development area of the Engineering Services industry.

- Relate the engineering topics into real world engineering applications.

COURSE OUTCOMES

- Summarise the various trends affecting product decision

- Identify  the requirements to create new product

- Compare different techniques involved in design creation and design testing

- Rephrase the methods of model creation and integration between software and hardware.

- Illustrate the need of end of life and patenting.

CONTENTS

UNIT I: FUNDAMENTALS OF PRODUCT DEVELOPMENT			L-9

Global Trends Analysis and Product decision: Types of various trends affecting product decision - Social Trends-Technical Trends- Economical Trends Environmental Trends- Political/ Policy Trends- PESTLE Analysis. Introduction to Product Development Methodologies and Management: Overview of Products and Services- Types of Product Development-  Overview of Product Development methodologies - Product Life Cycle - Product Development Planning and Management .

UNIT II: REQUIREMENTS AND SYSTEM DESIGN					L-9

Requirement Engineering: Types of Requirements- Requirement Engineering- Analysis -Traceability Matrix and Analysis- Requirement Management.

System Design &Modeling: Introduction to System Modeling- introduction to System Optimization- System Specification-Sub-System Design- Interface Design.

UNIT III: DESIGN AND TESTING							L-9

Conceptualization -Industrial Design and User Interface Design- Introduction to Concept generation Techniques-Concept Screening & Evaluation-  Concept Design- S/W Architecture- Hardware Schematics and simulation-

Detailed Design: Component Design and Verification- High Level Design/Low Level Design of S/W Programs- S/W Testing-Hardware Schematic- Component design- Layout and Hardware Testing.

UNIT IV: IMPLEMENTATION & INTEGRATION					L-9

Prototyping: Types of Prototypes -Introduction to Rapid Prototyping and Rapid Manufacturing.

System Integration- Testing- Certification and Documentation: Introduction to  Manufacturing/Purchase and Assembly of Systems- Integration of Mechanical, Embedded and S/W systems- Introduction to Product verification  and validation processes - Product Testing standards, Certification and Documentation.

UNIT V: SUSTENANCE ENGINEERING AND BUSINESS DYNAMICS		L-9

Sustenance -Maintenance and Repair- Enhancements Product End of Life (EoL ): Obsolescence Management-Configuration Management- EoL Disposal.

The Industry - Engineering Services Industry  overview- Product development in Industry versus Academia The IPD Essentials- Introduction to vertical specific product development processes- Product development Trade-offs- Intellectual Property Rights and Confidentiality- Security and configuration management.					TOTAL=45 periods

TEXT BOOKS

- NASSCOM student Handbook "Foundation Skills in Integrated Product Development".

- Anita Goyal, Karl T Ulrich, Steven D Eppinger, “Product Design and Development “, 4th Edition, 2009, Tata McGraw-Hill Education, ISBN-10-007-14679-9

REFERENCE BOOKS

- George E.Dieter, Linda C.Schmidt, “Engineering Design”, McGraw-Hill International        Edition, 4th Edition, 2009, ISBN 978-007-127189-9

- Kevin Otto, Kristin Wood, “Product Design”, Indian Reprint 2004, Pearson Education,ISBN. 9788177588217

- Yousef Haik, T. M. M. Shahin, “Engineering Design Process”, 2nd Edition Reprint, Cengage Learning, 2010, ISBN 0495668141

- Clive L.Dym, Patrick Little, “Engineering Design: A Project-based Introduction”, 3rd Edition,  John Wiley & Sons, 2009, ISBN 978-0-470-22596-7

- Product Design Techniques in Reverse Engineering and New Product Development, KEVIN OTTO & KRISTIN WOOD, Pearson Education (LPE), 2001.

- The Management and control of Quality-6th edition-James R. Evens, William M Lindsay   Pub:son south-western (www.swlearning.com)

- Fundamentals of Quality control and improvement 2nd edition, AMITAVA MITRA, Pearson Education Asia, 2002.

- Montgomery, D.C., Design and Analysis of experiments, John Wiley and Sons, 2003.

- Phillip J.Rose, Taguchi techniques for quality engineering, McGraw Hill, 1996.

- G.B.Reddy, “Intellectual Property Rights and the Law”, Gogia Law Agency, 7th Edition - Reprint, 2009.

- N.R.Subbaram, “Demystifying Intellectual Property Rights”, LexisexisButterworthsWadhwa, First Edition, 2009.

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

UEEEA38 HIGH VOLTAGE ENGINEERING

PRE-REQUISITE

- Principle of Electrical and Electronics Engineering

- Electrical machines

- Electro Magnetic theory

COURSE OBJECTIVES

The students are exposed with

- Various types of over voltages in power system and protection & and insulation

coordination

- Generation of over voltages in laboratories.

- Measurement of over voltages.

- Nature of Breakdown mechanism in solid, liquid and gaseous dielectrics – discussion on commercial insolents.

- Testing of power apparatus

COURSE OUTCOMES

- After successful completion of the course, the student will be able to:

- Summarize about the over voltages phenomena & insulation coordination

- Describe the principles behind generating high DC, AC  and impulse voltages and also develop equivalent circuit models of the different high voltage generators

- Describe the principles behind generating high DC, AC  and impulse voltages and also develop equivalent circuit models of the different high voltage generators

- Explain the nature of breakdown mechanism in solid, liquid and gaseous dielectrics approximately judge the breakdown strength of contaminated liquids and solids.

- Analyze the different testing of power apparatus

CONTENTS

UNIT–I: OVER VOLTAGES AND INSULATION CO ORDINATIONS	  	9

Introduction – Historical sketch – Comparison between AC and DC transmission – Kinds of DC links – Planning and modern trends. Causes of over voltages in transmission lines; lightning and switching over voltages; effects of over - voltages on power system equipment; protection against over voltages; surge absorbers and surge diverters; shielding; insulation coordination.

UNIT – II: GENERATION OF HIGH VOLTAGES AND HIGH CURRENTS 	9	Generation of high AC voltages; cascaded transformers; generation of high DC voltages; Cockcroft Walton circuit and its qualitative analysis; generation of impulse and switching surges; Marx circuit; generation of high impulse current. Tripping and control of impulse generators.

UNIT – III: MEASUREMENT OF HIGH VOLTAGES AND HIGH CURRENTS  	9

Measurement of AC, DC impulse and switching surges using sphere gaps, peak voltmeters, potential dividers and high speed CRO, op to Electronics method; Fiber optic method; RIV and corona measurements; partial discharge; dielectric loss measurement using bridges.

UNIT – IV: ELECTRICAL BREAKDOWN IN GASES, SOLIDS AND LIQUIDS 	 9

Ionization processes - Townsend & Streamer theory - the sparking voltage - Paschen's law - Time lag for breakdown - Breakdown in non-uniform fields and corona discharges. Conduction and breakdown in pure and commercial liquids and solids dielectrics.

UNIT – V: HIGH VOLTAGE TESTING PRACTICE			     		9

BS/IEC/VDE specification for testing; correction factor; high voltage testing of power apparatus; corona and RIV testing measurement; Non destructive insulation tests; sources and hazards of EMI and EMC; EMI/EMC testing practice; corona and ESD testing techniques.

Total: 45 periods

TEXT BOOKS

- E.Kuffel and W.S.Zaengel, "High voltage Engineering Fundamentals", Pergamon Press, Oxford, London, 1986.

- M.S.Naidu and N.Kamaraju, "High voltage Engineering" Tata Mc Graw Hill publishing company, New Delhi, 1983

### REFERENCE BOOKS

- Allan Greenwood "Electrical Transients in power systems " Wiley Interscience, a division of john Wiley and sons Inc., New York, 1971.

- Dieter kind, "An Introduction to High voltage Experimental Techniques", Wiley Eastern Limited, New Delhi.

- T.J.Gallagher and A.J.Pearmain, "High voltage Measurement Testing and Design ", John Wiley and sons, New York, 1982

- M.S.Naidu and N.Kamaraju, "High voltage Engineering" Tata Mc Graw Hill publishing company, New Delhi, 1983.

Rakosh Das Begamudre, "Extra High voltage A.C Transmission Engineering", Wiley Eastern Limited, New Delhi, 1986

LIST OF ELECTIVES

| SUB.CODE | SUBJECT | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
| ELECTIVE I |
| UEEEA33 | Bio-Medical Instrumentation | 3 | 0 | 0 | 3 |
| UEEEA34 | Special Electrical Machines | 3 | 0 | 0 | 3 |
| UEEEA35 | Energy Engineering | 3 | 0 | 0 | 3 |
| UEEEA36 | Principles of Robotics | 3 | 0 | 0 | 3 |
| UECSA15 | Computer Organization and Architecture | 3 | 0 | 0 | 3 |
| ELECTIVE II |
| UEEEA37 | Power System Dynamics | 3 | 0 | 0 | 3 |
| UEEEA38 | High Voltage Engineering | 3 | 0 | 0 | 3 |
| UEEEA39 | Solid State Relays | 3 | 0 | 0 | 3 |
| UEEEA40 | Adaptive Control | 3 | 0 | 0 | 3 |
| UECSA45 | Embedded System Design | 3 | 0 | 0 | 3 |
| ELECTIVE III |
| UEEEA41 | Power System Transients | 3 | 0 | 0 | 3 |
| UEEEA42 | Internetworking Technology | 3 | 0 | 0 | 3 |
| UEEEA43 | Power System Restructuring and Deregulation | 3 | 0 | 0 | 3 |
| UEBAA02 | Total Quality Management | 3 | 0 | 0 | 3 |
| UEMAA07 | Operations Research | 3 | 0 | 0 | 3 |
| ELECTIVE IV |
| UEEEA44 | Power Quality | 3 | 0 | 0 | 3 |
| UEEEA45 | Utilization of Electrical Energy | 3 | 0 | 0 | 3 |
| UEEEA46 | Virtual Instrumentation | 3 | 0 | 0 | 3 |
| UEITA15 | Neural Network and Fuzzy Logic Control | 3 | 0 | 0 | 3 |
| UEEEA47 | Electric Safety and Quality Management | 3 | 0 | 0 | 3 |
| UEMEA29 | Finite Element Analysis | 3 | 1 | 0 | 4 |

L – Lecture; T – Tutorial; P – Practical; C - Credit

ELECTIVE I

UEEEA33 BIO – MEDICAL INSTRUMENTATION			L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the nervous system and the physiological match of transducers and sensors towards the neural networks of human body.

- Demonstrate the electro-physiological relations, amplifiers and the cardio electro waveforms in relation to its measuring instruments

- Understanding the measurements of heart related parameters and gas level analysis of the circulatory system.

- Demonstration of the Human imaging system and patient monitoring systems.

- Understanding Scanning diagnosis technics using isotopes and ultrasonic.

COURSE CONTENT

UNIT I PHYSIOLOGY AND TRANSDUCERS 						9

Cell and its structure – Resting and Action Potential – Nervous system: Functional organisation of the nervous system – Structure of nervous system, neurons - synapse –

transmitters and neural communication – Cardiovascular system – respiratory system –

Basic components of a biomedical system - Transducers – selection criteria – Piezo electric, ultrasonic transducers - Temperature measurements - Fibre optic temperature

sensors.

UNIT II ELECTRO – PHYSIOLOGICAL MEASUREMENTS 			9

Electrodes –Limb electrodes –floating electrodes – pregelled disposable electrodes - Micro, needle and surface electrodes – Amplifiers: Preamplifiers, differential amplifiers,

chopper amplifiers – Isolation amplifier.ECG – EEG – EMG – ERG – Lead systems and recording methods – Typical waveforms.Electrical safety in medical environment: shock hazards – leakage current-Instruments for checking safety parameters of biomedical equipments

UNIT III NON-ELECTRICAL PARAMETER MEASUREMENTS 			9

Measurement of blood pressure – Cardiac output – Heart rate – Heart sound – Pulmonary function measurements – spirometer – Photo Plethysmography, Body Plethysmography – Blood Gas analysers : pH of blood –measurement of blood pCO2, pO2, finger-tip oxymeter - ESR, GSR measurements .

UNIT IV MEDICAL IMAGING 								9

Radio graphic and fluoroscopic techniques – Computer tomography – MRI –Ultrasonography – Endoscopy – Thermography – Different types of biotelemetry systems and patient monitoring – Introduction to Biometric systems

UNIT – V: ISOTOPES & ULTROSONICS						9

Properties, GM counter, Scintillation counter, Scanners. ULTRASONICS Principles – Models of Display – Application of Ultrasonic for Diagnosis.

TOTAL : 45 periods

TEXT BOOKS:

1. Geddes and L.E.Baker, “Principles of Applied Bio – Medical Instrumentation”, John Wiley and Sons, New York, 1975

2. Jacobson and Webster,” Clinical Engineering ”, PHI, New Delhi, 1979

3. Leslie Cromwell, Fred J.Weibell, Erich A.Pfeiffer, ‘Bio-Medical Instrumentation and

Measurements’, II edition, Pearson Education, 2002 / PHI.

REFERENCES:

1. Peter strong,” Bio physical Measurement and Measurement concepts”, Tetranic Inc., 1970

2. Segal and Kilpatric, “Engineering and Practice of Medicine ”, The William and Eilliams company, Baltimore, 1967

3. M.O.Chensey,”X Ray techniques for student Radiographers”, Blazwell Scientific publications, Oxford, 1971.

4.R.S.Khandpur, ‘Hand Book of Bio-Medical instrumentation’, Tata McGraw Hill

Publishing Co Ltd., 2003.

UEEEA34 SPECIAL ELECTRICAL  MACHINES				L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the constructional & working of the synchronous reluctance motor with its phasor diagram and operating characteristics.

Demonstrating the construction, properties & working of the stepper motor with their types and the control methodologies with microcontrollers.

Understanding the principle features, constructional, speed torque characteristics of Switched Reluctance Motor.

Demonstrating the Principle of operation, EMF and Torque Equations, Working Methodology and Magnetic Arcs of permanent magnet brushless DC motor.

Understanding the principle of operation and torque equations of permanent magnet synchronous motor.

COURSE CONTENT

UNIT I : SYNCHRONOUS RELUCTANCE MOTORS					9

Constructional features; axial and radial air gap motors; operating principle; reluctance torque; phasor diagram; motor characteristics; vernier motors.

UNIT II: STEPPER MOTORS								9

Constructional features; principle of operation; variable reluctance, permanent magnet,  hybrid stepper motors; Modes of operation, single and multi stack stepper motors; Static and dynamics speed characteristics - theory of torque prediction; linear and nonlinear analysis; motor characteristics; Concepts of lead angles – Open loop and close loop control by Microprocessor - drives circuits – Applications.

UNIT III: SWITCHED RELUCTANCE MOTORS					9

Constructional details - principles of operation; - Selection of poles and pole arcs – Static and dynamics Torque production – Power flow – effects of saturation – Performance - drive circuits – Current regulation – Torque speed characteristics – Speed and torque control – Static observers for rotor position sensing – volt-ampere requirements – Applications.

UNIT IV: PERMANENT MAGNET BRUSH LESS DC MOTORS			9

Principle of operation; types; magnetic circuit analysis; EMF and torque equations; Drive circuits ; Torque speed characteristics – Motors with 120’ and 180’ magnet arcs - Winding inductances and armature reaction - power controllers;- Computer simulation – Applications.

UNIT V: PERMANENT MAGNET SYNCHRONOUS MOTORS			9

Principles of operation; EMF and torque equation; reactance; phasor diagram; power controllers; converter volt-ampere requirement; torque speed characteristics – Microprocessor based control.

TOTAL : 45 periods

TEXT BOOKS:

1. T.J.E. Miller, "Brush less Permanent Magnet and reluctance Motor Drives", Clarendon Press, Oxford, 1989.

2. P.P. Acarnley, "Stepping Motors, A Guide to Modern theory and practice", Peter Peregrines, London, 1982.

3.B. K. Bose, Power Electronics and AC Drives, Prentice Hall, NJ, 1986

REFERENCE:

1. A. Hughes, "Electric Motors and Drives", Affiliated East - West Press Pvt., Ltd., Madras, 1990.

UEEEA35 ENERGY ENGINEERING					L T P C

3 0 0 3

COURSE OUTCOME

Understanding the conventional energy sources and the national and international energy scenarios.

Demonstration of the renewable energy sources and emerging alternative non-conventional energy sources and alternative fuels for automobiles.

Understanding the emerging clean energy sources.

Demonstrating the different types of turbines and power management in respect to the demand.

Understanding the Energy conservation techniques and power management schemes by conservation.

COURSE CONTENT

UNTI I: CONVENTIONAL ENERGY SOURCES:					9

Energy sources – Coal, Oil, natural gas, nuclear fuels, hydro power, nature, formation, resources, energy situation, National and international.

UNIT II: NEW AND RENEWABLE ENERGY SOURCES:				9

Design and operation of power plants and other systems using new and renewable energy sources, solar, wind, geothermal, ocean, thermal, tidal wave, Bio-gas plants, Bio-mass energy, Wood gas, Alternate fuels for automotive engines.

UNIT III: DIRECT AND NEW ENERGY CONVERSION:			     	9

Solar Cells, Fuel Cells, Magneto hydro dynamic generator, prospects of large, medium and small-scale power generation, new energy transformations, coal gasification, synthetic fuels, Hydrogen.

UNIT IV: CO-GENERATION AND     DEMAND  SIDE MANAGEMENT  		9

Cogeneration, cogeneration in process industries, power plants, Topping cycles – steam turbine with flue gas treatment, gas turbine with heat exchanger, combined cycle, diesel engine, Bottoming cycles – steam turbine, organic rankine turbine, Cogeneration – applications  Waste    heat  recovery   &   heat     pump.

UNIT V: ENERGY CONSERVATION AND MANAGEMENT				9

Energy auditing, Energy Economics, Waste heat recovery-Heat pump – Economics of energy conservation, principles of electrical energy conservation, Principles pf Energy Management, Demand forecasting 						TOTAL : 45 periods

TEXTBOOK:

1 Panner, S.S., and ICE man, Energy, Addison Wesley Publishing Co., 1974.

2“Non conventional energy sources” by G.D.Rai  Khanna Publishers

REFERENCE:

1. David Hu. Hand Book of Industrial Energy Conservation, Van Nostrand Co., 1983.

2. Christopher, and Armsteed.H, Geothermal Energy, John Wiley and Sons, 1978.

3. Pulfrey, D.L., Photovoltaic Power Generation, Van Nostrand Co., 1983.

4.Handbook of Energy Engineering , Albert Thumann ,Albert Thumann (Author)

› Visit Amazon's Albert Thumann Page

Find all the books, read about the author, and more.

See search results for this author

Are you an author? Learn about Author Central

# D. Paul Mehta, 2008 Fairmont Press, Inc

D. Paul Mehta (Author)

› Visit Amazon's D. Paul Mehta Page

Find all the books, read about the author, and more.

See search results for this author

Are you an author? Learn about Author Central

UEEEA36 PRINCIPLES OF ROBOTICS					L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the basics of Robotics and Automation and classification of robots.

- Demonstrating the Robotic Motion control and configurations of the robotic controller.

- Understanding the Artificial intelligence and indulgence of the indigenous forms of Artificial intelligence.

- Understanding the programming of the robots and its neural schema.

- Demonstration of the applications of robots and its future scopes.

COURSE CONTENT

UNIT-I: INTRODUCTION									9

Automation and robotics; Robot Anatomy; Classifications of Robots by DOF motion, platform, power source, intelligence and application area.

BASIC COMPONENS OF ROBOTS

a) Manipulators; Wrists; End effectors; Control units; Power units; Robot sensors;

b) Robot sensors; Proximity sensors; Ranger sensors, Tactile sensors; Visual sensors; Sensors for mobile Robots.

UNIT-II: ROBOT MOTION ANALYSIS AND CONTROL				9

Introduction to manipulator kinematics; Homogeneous transformations and Robot kinematics; Manipulator path control; Robot dynamics; configuration of a Robot controller; Obstacle avoidance.

UNIT-III: ARTIFICIAL INTELLIGENCE						9

AI –techniques – fuzzy logic, neural network ; LISP programming; AI and Robotics; LIPS in the factory; Sensing and digitizing function machine vision; Image processing and analysis; training and vision system; natural language processing; speech recognition; legged locomotion; collision avoidance; natural networks computing.

UNIT-IV: ROBOT PROGRAMMING						9

Methods of Robot programming; lead through programming methods; a robot program as a path in space; motion interpolation; weight, signal and delay commands; Branching, capabilities and limitations of lead through methods.

UNI T – V: APPLICAIONS OF ROBOT						9

Material handling; Processing operations; Assembly and inspection; Future application.

TOTAL : 45 periods

TEXT BOOKS:

1. Mikell P.Groover, Michell wein,Roger N. Nagal and Nicholas G.Ordey, "Industrial Robotics, technology, Programming and applications” Mc Graw Hill, Last print, 1987.

2. Harry H. Poole, “Fundamentals of Robotics Engineering”, Van Nostrand Reinhold, New York, 1989.

REFERENCES:

1. V.Damel Hunt, “Smart Robots”, Chappan and Hall, 1985

2. P.G.Ranky, C.Y.Ho, “Robot Modeling”, IFS (publication) Ltd., UK., 1985.

3. Wenwar L. Hall, Bethe C. Hall, “Robotics – A user friendly introducion”, Holt –

Saunders International Edition, Japan, 1985.

# UECSA15 COMPUTER ORGANIZATION AND ARCHITECTURE	L T P C

(common for CSE, IT, EEE)						                       3 1 0 4

COURSE OUTCOME

- Understanding the basic operational concepts, BUS structures, Addressing modes and ALU design.

- Demonstration of execution of an instruction and micro programming control & Nano programming control.

- Understanding the Hazards of instruction set and compiler approaches & Multiple issue processor

- Understanding the speed & Cost, RAM, ROM and Memory Management requirements.

- Understanding direct memory access, Buses and shared interfaces.

COURSE CONTENT

UNIT I			 						          9+3

Functional units – Basic operational concepts – Bus structures – Performance and metrics – Instructions and instruction sequencing – Hardware – Software Interface – Instruction set architecture – Addressing modes – RISC – CISC.  ALU design – Fixed point and floating point operations.

UNIT II							                 	          6+3

Fundamental concepts – Execution of a complete instruction – Multiple bus organization – Hardwired control – Micro programmed control – Nano programming.

UNIT III	                		            			   	        12+3

Basic concepts – Data hazards – Instruction hazards – Influence on instruction sets – Data path and control considerations –  Performance considerations – Exception handling – Advanced concepts in pipelining –Exploitation of more ILP – Hardware and software approaches – Dynamic scheduling – Speculation – Compiler approaches – Multiple issue processors.

# UNIT IV				                                                               9+3

Basic concepts – Semiconductor RAM – ROM – Speed – Size and cost –   Cache memories – Improving cache performance – Virtual memory – Memory management requirements – Associative memories – Secondary storage devices.

# UNIT V						                             	           9+3

Accessing I/O devices – Programmed Input/Output -Interrupts – Direct Memory Access – Buses – Interface circuits – Standard I/O Interfaces (PCI, SCSI, USB), I/O devices and processors.						 TOTAL: 45+15(Tutorial) = 60 periods

# TEXT BOOKS

- Carl Hamacher, Zvonko Vranesic and Safwat Zaky, “Computer Organization”, Fifth Edition, Tata McGraw Hill, 2002.

- David A. Patterson and John L. Hennessy, “Computer Organization and Design: The Hardware/Software interface”, Third Edition, Elsevier, 2005.

# REFERENCE BOOKS

- William Stallings, “Computer Organization and Architecture – Designing for Performance”, Sixth Edition, Pearson Education, 2003.

- John P. Hayes, “Computer Architecture and Organization”, Third Edition, Tata McGraw Hill, 1998.

- V.P. Heuring, H.F. Jordan, “Computer Systems Design and Architecture”, Second Edition, Pearson Education, 2004.

- Behrooz Parhami, “Computer Architecture”, Oxford University Press, 2007.

ELECTIVE II

UEEEA37 POWER SYSTEM DYNAMICS					L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the importance of stability in power system operation and Discrimination of stability and its problems

- Demonstrating the dynamics of machine modelling, flux linkages and its related phasor diagrams

- Understanding the machine controllers and Block diagram and state space representation of IEEE mechanical hydraulic governor.

- Understanding the transient stability simulation of multimachine power system.

- Demonstrating the SMALL SIGNAL STABILITY, Linearization of the load equation for the one machine problem, Dynamic performance measure and small signal performance measures.

COURSE CONTENT

UNIT I INTRODUCTION 								9

Concept and importance of stability in power system operation and design – Distinction between transient and dynamic stability – Complexity of stability problem in large system – Need for reduced models – Stability of interconnected systems.

UNIT II MACHINE MODELLING 						9

Park’s transformation – Flux linkage equations – Current space model – Per unit conversion – Normalizing the equations – equivalent circuit – Flux linkage state space model – Sub transient and transient inductances and time constants – Simplified models (one axis and constant flux linkage) – Steady state equations and phasor diagrams.

UNIT III MACHINE CONTROLLERS 						9

Exciter and voltage regulators – Function of excitation systems – Types of excitation systems – Typical excitation system configuration – Block diagram and state space representation of IEEE type-1 excitation system – Saturation function – Stabilizing circuit – Function of speed governing systems – Block diagram and state space representation of IEEE mechanical hydraulic governor and electrical hydraulic governors for hydro turbines and steam turbines.

UNIT IV TRANSIENT STABILITY 						9

State equation for multimachine simulation with one axis model – transient stability simulation of multimachine power system with one axis machine model including excitation system and speed governing system using R-K method of fourth order (Gill’s technique) – Power system stabilizer.

UNIT V SMALL SIGNAL STABILITY 						9

System response to small disturbances – Linear model of the unregulated synchronous machine and its modes of oscillation – Regulated synchronous machine – Linearization of the load equation for the one machine problem – Simplified linear model – Effect of excitation on small-signal stability – Approximate system representation – Supplementary stabilizing signals – Dynamic performance measure, small signal performance measures.

TOTAL : 45 periods

TEXT BOOKS

1. K. R. Padiyar., Power System Dynamics: Stability & Control. John Wiley & Sons Canada, Limited

2. Ramanujam,R., “Power System Dynamics Analysis and Simulation”, Prentice Hall of India, 2009

3. Kundur, P., “Power System Stability and Control”, McGraw Hill Inc., USA, 1994.

REFERENCES

1. Pai, M.A. and Sauer, W., ‘Power System Dynamics and Stability’, Pearson Education Asia, India, 2002.

2. Anderson, P.M. and Fouad, A.A., “Power System Control and Stability”, Galgotia Publications, 2003.

UEEEA38 HIGH VOLTAGE ENGINEERING					L T P C

3 0 0 3

COURSE OUTCOME

- Understanding  high voltages, protection schemes against high voltages and protection devices

- Understanding the generation of high voltages and high currents

- Understanding the measurement of high voltages and high currents using power electronic equipments

- Understanding the various breakdowns of electrical equipments in Gases, Solids and Liquids

- TO Undestand the high voltage testing procedures and tests

COURSE CONTENT

UNIT – I : OVER VOLTAGES AND INSULATION CO ORDINATIONS		9

Introduction – Historical sketch – Comparison between AC and DC transmission – Kinds of DC links – Planning and modern trends. Causes of over voltages in transmission lines; lightning and switching over voltages; effects of over - voltages on power system equipment; protection against over voltages; surge absorbers and surge diverters; shielding; insulation coordination.

UNIT – II: GENERATION OF HIGH VOLTAGES AND HIGH CURRENTS 	9

Generation of high AC voltages; cascaded transformers; generation of high DC voltages; Cockcroft Walton circuit and its qualitative analysis; generation of impulse and switching surges; Marx circuit; generation of high impulse current. Tripping and control of impulse generators.

UNIT – III: MEASUREMENT OF HIGH VOLTAGES AND HIGH CURRENTS	9

Measurement of AC, DC impulse and switching surges using sphere gaps, peak voltmeters, potential dividers and high speed CRO, op to Electronics method; Fiber optic method; RIV and corona measurements; partial discharge; dielectric loss measurement using bridges.

UNIT – IV: ELECTRICAL BREAKDOWN IN GASES, SOLIDS AND LIQUIDS	 9

Ionization processes - Townsend & Streamer theory - the sparking voltage - Paschen's law - Time lag for breakdown - Breakdown in non-uniform fields and corona discharges. Conduction and breakdown in pure and commercial liquids and solids dielectrics.

UNIT – V: HIGH VOLTAGE TESTING PRACTICE					9

BS/IEC/VDE specification for testing; correction factor; high voltage testing of power apparatus; corona and RIV testing measurement; Non destructive insulation tests; sources

and hazards of EMI and EMC; EMI/EMC testing practice; corona and ESD testing techniques.

TOTAL : 45 periods

TEXT BOOK:

1.E.Kuffel and W.S.Zaengel, "High voltage Engineering Fundamentals", Pergamon Press, Oxford, London, 1986.

2 M.S.Naidu and N.Kamaraju, "High voltage Engineering" Tata Mc Graw Hill publishing company, New Delhi, 1983

REFERENCES:

1. Allan Greenwood "Electrical Transients in power systems " Wiley Interscience, a division of john Wiley and sons Inc., New York, 1971.

2. Dieter kind, "An Introduction to High voltage Experimental Techniques", Wiley Eastern Limited, New Delhi.

3. T.J.Gallagher and A.J.Pearmain, "High voltage Measurement Testing and Design ", John Wiley and sons, New York, 1982

4. M.S.Naidu and N.Kamaraju, "High voltage Engineering" Tata Mc Graw Hill publishing company, New Delhi, 1983.

5. Rakosh Das Begamudre, "Extra High voltage A.C Transmission Engineering", Wiley Eastern Limited, New Delhi, 1986.

UEEEA39 SOLID STATE RELAYS						L T P C

3 0 0 3

COURSE OUTCOME

- Undersanding the Philosophy of power system protection and its requirements

- Understanding the Function, Types, Measurement of Static Relays

- Understanding the comparision of static relays under testing conditions

- Understanding the Steady and Transient State of Static Relays

- Understanding the Measurement of Voltage, Current and Frequency in Microprosessor based relays

COURSE CONTENT

UNIT – I

INTRODUCTION										9

Philosophy of power system protection and its requirements – conventional Vs static relays – generalized characteristics and operational equations of relays - steady state and transient performance of signal deriving elements.

UNIT – II

FUCTION OF STATIC RELAYS		             					 9

Static relay circuits using analog and digital Ics for over current, differential and directional relays, signal mixing techniques and measuring techniques CTs and PTs in relaying schemes – saturation effects .

UNIT – III

COMPARISION OF STATIC RELAYS	                                  				9

Static relay circuits for generator loss of field, under frequency, distance, impedance, reactance, mho and reverse power relays, stabilizing resistors

UNIT – IV

STEADY STATE AND TRASIENT BEHAVIOR OF STATIC RELAYS		 9

Static relay circuits for carrier current protection – steady state and transient behavior of static relays – testing and maintenance of relays – tripping circuits using – thyristors.

UNIT – V

MICROPROCESSOR BASED RELAYS	                                                         		9

Microprocessor based relays – hardware and software for the measurement of voltage, current, and frequency and phase angle – microprocessor based implementation of over current, directional, impedance and mho relays.			 TOTAL : 45 periods

TEXT BOOKS:

1. Van C Warringlon, “Protective Relays – Their Theory and Practice”, vol. II, Champman & Hall Ltd., London, 1969 & I.

2. T.S.Madhava Rao, “Power System Protection – Static Relays”, Tata McGraw Hill,

New Delhi, 1984.

3. Badri Ram, Vishwakarma, ‘Power System Protection and Switchgear’, Tata McGraw hill, 2001

REFERENCE:

1. Ram B., ”Fundamentals of Microprocessors and Microcomputers ”, Dhanpat Rai & Sons, New Delhi, 1992.

UEEEA40 ADAPTIVE CONTROL						L T P C

3 0 0 3

COURSE OUTCOME

- Demonstrate the Effects of process variation, Adaptive control schemes and its problems

- Understanding the Linear Parametric Identification Models and Random Binary sequence

- Understanding regulators and types of regulators

- Understanding model reference controller and the differences between self tuning regulator

- Understanding the different types of regulators and Applications of regulators

COURSE CONTENT

UNIT I INTRODUCTION 								9

Introduction to adaptive control – Effects of process variations – Adaptive control schemes – Adaptive control problem – Non-parametric identification – Step response method – Impulse response method – Frequency response method

UNIT II PARAMETRIC IDENTIFICATION 					9

Linear in parameter models – ARX – ARMAX – ARIMAX – Least square estimation – Recursive least square estimation – Extended least square estimation – Maximum likelihood estimation – Introduction to non-linear systems identification – Pseudo random binary sequence

UNIT III SELF-TUNING REGULATOR 						9

Deterministic in-direct self-tuning regulators – Deterministic direct self-tuning regulators – Introduction to stochastic self-tuning regulators – Stochastic indirect self-tuning regulator

UNIT IV MODEL REFERENCE ADAPTIVE CONTROLLER 		9

The MIT rule – Lyapunov theory – Design of model reference adaptive controller using MIT rule and Lyapunov theory – Relation between model reference adaptive controller and self-tuning regulator

UNIT V TUNING OF CONTROLLERS AND CASE STUDIES 		9

Design of gain scheduling controller – Auto-tuning of PID regulator – Stability analysis of adaptive controllers – Application of adaptive control in chemical reactor, distillation column and variable area tank system

TOTAL : 45 periods

TEXT BOOK

1. Karl J. Astrom and Bjorn Wittenmark, “Adaptive Control”, 2nd Edition, Pearson

Education, 2003.

2. Adaptive Control Systems by Gang Feng, Rogelio Lozano,1999.

3. Adaptive Control Systems: Techniques and Applications by V V Chalam, Chalam, 1987.

REFERENCES

1. Hsia, T.C.H.A., “System Identification”, Lexington Books, 1974.

2. Stephanopoulis, G., “Chemical Process Control”, Prentice Hall of India, 1990.

UECSA45 EMBEDDED SYSTEM DESIGN					L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Architecture of embedded systems

- Understanding the Processor involved, Memory Organization and I/O Devices involved in embedded Systems

- Understanding the networks within embedded systems, BUSes and devices for Networks

- Understanding the I/O Programming scheduling and Processing

- Understanding to the basics to RTOS, Mechanisms and Applications

COURSE CONTENT

UNIT I 	INTRODUCTION TO EMBEDDED SYSTEM			  9

Introduction to functional building blocks of embedded systems – Register, memory devices, ports, timer, interrupt controllers using circuit block diagram representation for each categories.

UNIT II PROCESSOR AND MEMORY ORGANIZATION			  9

Structural units in a processor; selection of processor & memory devices; shared memory; DMA; interfacing processor, memory and I/O units; memory management – Cache mapping techniques, dynamic allocation - Fragmentation.

UNIT III DEVICES & BUSES FOR NETWORK		            	9

I/O devices; timer & counting devices; serial communication using I2C, CAN, USB buses; parallel communication using ISA, PCI, PCI/X buses, arm bus; interfacing with devices/ports, device drivers in a system – Serial port & parallel port.

UNIT IV I/O PROGRAMMING SCHEDULE MECHANISM	            	  9

Intel I/O instruction – Transfer rate, latency; interrupt driven I/O - Non-maskable interrupts; software interrupts, writing interrupt service routine in C & assembly languages; preventing interrupt overrun; disability interrupts.  Multi threaded programming – Context switching, premature & non-premature multitasking, semaphores. Scheduling – Thread states, pending threads, context switching, round robin scheduling, priority based scheduling, assigning priorities, deadlock, watch dog timers.

UNIT V REAL TIME OPERATING SYSTEM (RTOS)	             	 	 9

Introduction to basic concepts of RTOS, Basics of real time & embedded system operating systems, RTOS – Interrupt handling, task scheduling; embedded system design issues in system development process – Action plan, use of target system, emulator, use of software tools.								TOTAL: 45 periods

### TEXT BOOKS

1. 	Rajkamal, ‘Embedded System – Architecture, Programming, Design’, Tata McGraw Hill, 2003.

2. 	Daniel W. Lewis ‘Fundamentals of Embedded Software’, Prentice Hall of India, 2004.

### REFERENCE BOOKS

1. 	David E. Simon, ‘An Embedded Software Primer’, Pearson Education, 2004.

2. 	Frank Vahid, ‘Embedded System Design – A Unified hardware & Software Introduction’, John Wiley, 2002.

3. 	Sriram V. Iyer, Pankaj Gupte, ‘Embedded Real Time Systems Programming’, Tata McGraw Hill, 2004.

4. 	Steve Heath, ‘Embedded System Design’, II edition, Elsevier, 2003

ELECTIVE III

UEEEA41 POWER SYSTEM TRANSIENTS				L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Source, Effects and Importance of Transients

- Undestanding the Forms and Effects of Switching Transients

- Understanding the Phenomenon of lighting and Protection of Devices from Lighting

- Understanding the lumped parameters & Travelling waves on transmission lines

- Understanding the transients in integrated power systems

COURSE CONTENT

UNIT I  INTRODUCTION								9

Source of transients – Various types of power systems transients – Effect of transients on power systems – importance of study of transients in planning – Circuit closing transients – RL circuit with sine wave drive – Double frequency transients – Observations in RLC circuit and basic transforms of the RLC circuit – Resistance switching – Equivalent circuit for the resistance switching problems – Equivalent circuit for interrupting the resistor current

UNIT II  SWITCHING TRANSIENTS						9

Equivalent circuit – Waveforms for transient voltage across the load switch – normal and abnormal switching transients – Current suppression – Current chopping – Effective equivalent circuit – Capacitance switching – Effect of source regulation – Capacitance switching with a restrike – With multiple restrikes –Illustration for multiple restriking transients – Ferro resonance

UNIT III LIGHTNING TRANSIENTS 						9

Causes of over voltage – Lightning phenomenon – Charge formation in the clouds – Rate of charging of thunder clouds – Mechanisms of lighting strokes – Characteristics of lightning strokes – Factors contributing to good line design – Protection afforded by ground wires – Tower footing resistance – Interaction between lightning and power system – Mathematical model for lightning

UNIT IV TRAVELLING WAVES ON TRANSMISSION LINE		9

Computation of transients – Transient response of systems with series and shunt lumped parameters and distributed lines – Travelling wave concept – Step response – Bewely’s lattice diagram – Standing waves and natural frequencies – Reflection and refraction of travelling waves

UNIT V TRANSIENTS IN INTEGRATED POWER SYSTEM			9

The short line and kilometric fault – Distribution of voltage in a power system – Line dropping and load rejection – Voltage transients on closing and reclosing lines – Over voltage induced by faults – Switching surges on integrated system – EMTP for transient computation

TOTAL : 45 periods

TEXT BOOKS

1. Allan Greenwood, “Electrical Transients in Power Systems”, 2nd Edition, Wiley

Interscience, 1991.

2. Begamudre, R.D., “Extra High Voltage AC Transmission Engineering”, Wiley Eastern

Limited, 1986.

REFERENCE

  - Naidu, M.S. and Kamaraju, V., “High Voltage Engineering”, 2nd Edition, Tata McGraw Hill, 2000.

  - H. W. Dommel, 1986, Electromagnetic Transients Program ReferenceManual

UEEEA42 INTERNETWORKING TECHNOLOGY				L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the types, topology, Architecture, Design of Networks

- Understanding the Architectural Modelling and Internet Addressing of internetworking

- Understanding Internet Protocol, Delivery Systems of Internet Protocol and its Networking

- Understanding the Transmission control Protocol terminologies

- Understanding the SMTP, POP, FTP & SNMP internetworking Applications

COURSE CONTENT

UNIT INTRODUCTION								9

Introduction to networks – Network topology – Types of networks – Network architecture – Layering – Design issues – Client / Server model – Protocols – Bridges – Routers – Repeaters – Switches.

UNIT II BASICS OF INTERNETWORKING					9

Introduction to internetworking – Internetworking concepts and architec	tural model – Internet addressing – Domain Name System (DNS) – Address Resolution Protocol (ARP) – Reverse Address Resolution Protocol (RARP).

UNIT III INTERNET PROTOCOL AND ITS ROUTING			9

Introduction to IP protocol – Virtual networks – Concept of unreliable delivery – Connectionless delivery system – Purpose on internet protocol – Internet data gram – Data gram options – Introduction to routing – IP data gram – Direct and indirect delivery – Table driven IP routing – Next hop routing.

UNIT IV TRANSMISSION CONTROL PROTOCOL				9

Introduction to TCP – Properties of reliable delivery service – TCP protocol – TCP segment format – TCP connection – TCP state machine – Silly window syndrome.

UNIT V INTERNETWOKING APPLICATIONS				9

Simple Mail Transfer Protocol (SMTP) – Post Office Protocol (POP) – File Transfer Protocol (FTP) – Telnet – Simple Network Management Protocol (SNMP) – Internet security and firewall design.										TOTAL : 45 periods

TEXT BOOKS

1. Douglas E. Comer, “Internetworking with TCP/IP, Vol. 1”, 3rd Edition, Prentice Hall, 2001.

2. Andrew S. Tananbaum, “Computer Networks”, 4th Edition, Prentice Hall of India / Pearson Education, 2003

REFERENCES

1. Bechrouz A. Forouzan, “TCP/IP Protocol Suite”, 2nd Edition, Tata McGraw Hill, 2000.

2. William Stallings, “Data and Computer Communications”, 7th Edition, Prentice Hall of India / Pearson Education, 2003.

UEEEA43 POWER SYSTEM RESTRUCTURING AND DEREGULATION

L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Deregulation and types of ISO

- Understanding the Transmission Planning and Power Trading with Various environments

- Demonstrating the Pricing of Power transmission and comparision in different countries

- Understanding the Available Transfer Capability  and Congestion Management

- Understsnding the Indian Electricity ACT of 2003

COURSE CONTENT

UNIT I:

INTRODUCTION   TO  DEREGULATION AND TYPES OF ISO	   	   	9

Deregulation of Electric utilities: Introduction-Unbundling-Wheeling-Traditional Central utility model-Reform motivations-Separation of Ownership and operation- competition and direct access in the Electricity market –ISO-components of ISO-types of ISO-role of ISO-Electric utility market in different countries.

UNIT II:

TRANSMISSION PLANNING AND POWER   TRADING	                                     9

Transmission expansion in the New Environment – Introduction – role of transmission planning – vertically integrated utility – three models of electricity market – Profit transmission planning – pool – bilateral trades – multilateral trades.

UNIT III:

SPOT   PRICING	               						 9

Transmission pricing in open access system – Introduction – rolled in pricing methods – marginal pricing method – embedded cost recovery – pricing models in different countries.

UNITIV:

ATC   &  CONGESTION  MANAGEMENT	 		               9

Total transfer capability – CBM and TRM – Available transfer capability (ATC) – methods to compute ATC – concept of congestion management – inter and inter zone congestion – congestion pricing management – Transmission congestion contracts – Ancillary services.

UNIT V:

FEATURES OF INDIAN ELECTRICITY ACT 2003	                         9

Salient features of Indian Electricity Act 2003 – TSO – Availability based tariff – Electric  supply industry structure under deregulation in India – regulatory and policy development in Indian power Sector – Opportunities for IPPs and CPPs under electricity Act 2003.

TOTAL : 45 periods

TEXT BOOKS:

1. Wood and Wollenberg, “Power system operation control”, second edition, John Wiley sons, 1996.

2. Loi Lei Lai, “Power system Restructuring and Regulation”, John Wiley sons, 2001.

REFERENCES:

1. Michael Einhorn and Riaz Siddiqi, “electricity transmission pricing and technology”, Kluwer Academic publishers, 1996.

2. M.Ilic and F.Galiana and L.Fink, “Power systems restructuring: Engineering and  Economics”, Kluwer Academic publishers, 1998.

3. M.Shahidehpour and M.Alomoush, “Restructuring Electrical Power Systems”, Marcel Decker Inc., 2001.

UEBAA02 TOTAL QUALITY MANAGEMENT 				L T P C

3 0 0 3

COURSE OUTCOME

- Understaning the Quality Management and Customer Focus & Cost of Quality

- Understanding the Principles and Philosophies of Quality Management

- Understanding the Statistical Process control and Process capability

- Understanding the tools and techniques of Quality Management

- Understanding the Quality Systems Organizing And Implementation

COURSE CONTENT

## UNIT I Introduction To Quality Management 					9

Definitions – TOM framework, benefits, awareness and obstacles. Quality – vision, mission and policy statements.

Customer Focus – customer perception of quality, Translating needs into requirements, customer retention.Dimensions of product and service quality. Cost of quality.

## UNIT II Principles And Philosophies Of Quality Management			9

Overview of the contributions of Deming, Juran Crosby, Masaaki Imai, Feigenbaum, Ishikawa, Taguchi, Shingeo and Walter Shewhart. Concepts of Quality circle, Japanese 5S principles and 8D methodology.

## UNIT III Statistical Process Control And Process Capability 		 	9

Meaning and significance of statistical process control (SPC) – construction of control charts for variables and attributed. Process capability – meaning, significance and measurement – Six sigma concepts of process capability.

Reliability concepts – definitions, reliability in series and parallel, product life characteristics curve.Total producti9ve maintenance (TMP) – relevance to TQM, Terotecchnology.Business process re-engineering (BPR) – principles, applications, reengineering process, benefits and limitations.

## UNIT IV Tools And Techniques For Quality Management		     	9

Quality functions development (QFD) – Benefits, Voice of customer, information organization, House of quality (HOQ), building a HOQ, QFD process.

Failure mode effect analysis (FMEA) – requirements of reliability, failure rate, FMEA stages, design, process and documentation.  Taguchi techniques – introduction, loss function, parameter and tolerance design, signal to noise ratio.Seven old (statistical) tools. Seven new management tools. Bench marking and POKA YOKE.

## UNIT V Quality Systems Organizing And Implementation 		            9

Introduction to IS/ISO 9004:2000 – quality management systems – guidelines for performance improvements. Quality Audits.

TQM culture, Leadership – quality council, employee involvement, motivation, empowerment, recognition and reward.

Information technology – computers and quality functions, internet and electronic communications. Information quality issues. TOTAL : 45 periods

TEXT BOOKS

1. Dale H.Besterfield et al, Total Quality Management, Thrid edition, Perarson Education (First Indian Reprints 2004)

2. Shridhara Bhat K, Total Quality Management – Text and Cases, First Edition 2002, Himalaya Publishing House.

REFERENCE BOOKS

1.William J.Kolarii, Creating quality, Mcgraw Hill, 1995

2.Poornima M.Charantimath., Total quality management, Pearson Education, First Indian Reprint 2003.

3. Rose J.E. Total Quality Management, Kogan Page India Pvt Ltd, 1993.

4. Indian standard – quality management systems – Guidelines for performance                       improvement (Fifth Revision), Bureau of Indian standards, New Delhi.

UEMAA07 OPERATIONS RESEARCH				L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Formulation of linear programming problems & Graphical method of solution

- Understanding the Elements, State, Stage and Characteristics of Dynamic Programming

- Understanding the Network Models and Project Networks

- Understanding the Inventory Techniques and Problems associated with Dynamic Inventory Methods

- Understanding the Characteristics and Symbols of Queiueing Theory

COURSE CONTENT

UNIT I LINEAR PROGRAMMING   					9

Formulation of linear programming problems –  Graphical method of solution– solving LPP using simplex algorithm – Degeneracy- Duality theory- Big-M method and artificial variables.

UNIT II DYNAMIC PROGRAMMING					9

Elements of dynamic programming – stage and state, characteristics of DP problems, recursive relationship, Bellman’s principle of optimality – computational procedure for shortest route problem, knapsack problem.

UNIT III NETWORK MODELS						9

Shortest route problem – Maximal flow problem –  Minimal spanning tree problem – Project networks- CPM, PERT (excluding Crashing of networks)– project costing and control.

UNIT IV INVENTORY CONTROL					9

Types of inventory- Inventory cost – EOQ – Deterministic inventory problems – EOQ with price breaks– EOQ with storage limitations.

UNIT V QUEUEING THEORY						9

Queueing system – Characteristics – symbols – Single server queuing models – Multiserver queueing models- Simulation – Monte Carlo technique.

TOTAL: 45+15(Tutorial) = 60 periods.

REFERENCE BOOKS

- Hillier, F.S. and Liebermann, G.J.,  Introduction to Operations Research, 8th Edition, McGraw Hill, 2005.

- R.Panneerselvam, Operations Research, PHI, 2006.

- Philips, Ravindran and Solberg, Operations Research, John Wiley, 2002.

- Hamdy A Taha, Operations Research – An Introduction, Prentice Hall India, 2003.

Course Code: UEEEA48

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 3 |

Course Name: LED LIGHTING TECHNOLOGY

Prerequisite Courses:

- Electronic Devices and circuits

- Power Electronics

Course Educational Objectives :

Objective of this courses are to:

- State the need for Illumination.

- Define good Illumination.

- State what comprises an electric utility?

- List standard voltage levels.

- Power electronics as applied to LED technology

- Define the aspects of design of lighting systems

- Maintain the lighting systems

- Fault rectification of lighting systems

Course Outcomes :

On successful completion of this course, students will be able to:

| CO No. | Course Outcomes | Knowledge Level (Based on revised Bloom’s Taxonomy) |
| --- | --- | --- |
| CO1 | Explain the fundamental elements, laws and quantities of illumination and optical design | K2 |
| CO2 | Explain about LED lighting, types of lightings | K2 |
| CO3 | Identify the constructional features, parts and working of illumination systems | K2 |
| CO4 | Discuss and design the types and working of power electronic circuits used in LED technology | K3 |
| CO5 | Develop the Lighting control strategies, building lighting control systems and applications | K3 |
| CO6 | Design and fabricate PCB for LED lighting system, repair, maintenance of LED systems | K3 |

- Course Content :

UNIT I: LIGHT AND ILLUMINATION					          9

Basics about Light: Electromagnetic Spectrum, Visible Spectrum, Wavelength, Characterisations, Classification of Radiometry & Photometry - Natural & Artificial Light Sources - Characteristics about Light - Light and Vision - Evolution of Lighting Technologies - Merits and Demerits of the technologies - Instruments used for Measurement of Light Quantities.

# UNIT II: LED TECHNOLOGY    						         9

# Physics of a LED - Electrical characteristics - Optical characteristics - Data Sheet interpretation - Types of LED’s - Experimental Procedures for determination of the Characteristics - White LED Parameters - Solid State Luminaire - Solid State Luminaire Standards - Performance Measurements

# UNIT III:  POWER ELECTRONICS FOR LED LIGHTING	         9

LED Driver Requirements and Regional Standards – Topology Overview - Linear, Buck, Boost, Buck-Boost, Sepic & Fly-back) - Driving options - Discrete based drivers, Linear drivers, Switching drivers - AC-DC Drivers, Importance of Power Factor Correction (PFC), Single Stage vs 2-Stage Design, TRIAC Dimmable AC-DC Drivers - PWM IC

# UNIT IV: LIGHT POWER & CONTROL				          9

Lighting control strategies, techniques & equipment, sensors and timers, switches versus dimming control algorithm, harmonics, EI from lighting equipment – its measurement & suppression techniques. Impact of lighting control, protocols for lighting control; Lighting control by computer, simple multi-channel & large multi-channel control, stage & entertainment lighting control, architectural & building lighting control systems; Centralised vs. distributed system; Status monitoring, fault monitoring, electrical load monitoring, lamp life monitoring system, applications.

UNIT V: LED MANUFACTURING TECHNOLOGY			         9

Design Fundamentals of LED Lamps - Testing Of LED Lamps – SMD PCB Assembly technology – Screen printing, Pick & place Machines programming & practice, Reflow soldering, Hand Soldering, SMD REWORK & Repair, Dispensing, Coating, protection Optional

ADVANCED: LED Packaging process- Die bonding, Wire bonding, Encapsulation etc.

Text book

- Optoelectronic Devices and Circuits, Theory and Applications, Amar K.Ganguly, Narosa Publishing House

- Power Electronics, Dr.P.S.Bimbhra, Khanna Publishers.

Reference:

- LIGHT-EMITTING DIODES E. FRED SCHUBERT , Cambridge University Press The Edinburgh Building, Cambridge, New York, Melbourne, Madrid, Cape Town, Singapore.

- Light Design, Anil Valia, Published by Mili Jain

Online Resource

# http://www.slideshare.net/kpalon/ac-powereddrivertopologies?related=2

# http://www.slideshare.net/OSRAMLEDlight/driving-leds-acdc-power-supplies

http://www.slideshare.net/OSRAMLEDlight/driving-leds-switch-mode-drivers?related=1

ELECTIVE IV

UEEEA44 POWER QUALITY						L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Basic Terminologies of Low Power & High Power Quality and CBEMA curves

- Understanding the Voltage Sags and Power Interruptions

- Understanding Over Voltages, Switching, Lighting and Ressonance terminologies

- Understanding the Harmonics & Voltage and Current Distortions

- Understanding the various methods to monitor the quality of power

COURSE CONTENT

UNIT I INTRODUCTION TO POWER QUALITY 				9

Terms and definitions – Overloading – Under voltage – Sustained interruption-Sags and Swells – Waveform distortion – Total Harmonic Distortion (THD) – Computer Business Equipment Manufacturers Associations (CBEMA) curve

UNIT II VOLTAGE SAGS AND INTERRUPTIONS 				9

Sources of sags and interruptions – Estimating voltage sag performance – Motor starting sags – Estimating the sag severity – Mitigation of voltage sags – Active series compensators – Static transfer switches and fast transfer switches

UNIT III OVERVOLTAGES 							9

Sources of over voltages – Capacitor switching – Lightning – Ferro resonance – Mitigation of voltage swells – Surge arresters – Low pass filters – Power conditioners – Lightning protection – Shielding – Line arresters – Protection of transformers and cables – Computer analysis tools for transients – PSCAD and EMTP

UNIT IV HARMONICS 								9

Harmonic distortion – Voltage and current distortion – Harmonic indices – Harmonic  sources from commercial and industrial loads – Locating harmonic sources – Power system response characteristics – Resonance – Harmonic distortion evaluation – Devices for controlling harmonic distortion – Passive filters – Active filters – IEEE and IEC standards

UNIT V POWER QUALITY MONITORING 					9

Monitoring considerations – Power line disturbance analyzer – Power quality measurement equipment – Harmonic / spectrum analyzer – Flicker meters – Disturbance analyzer – Applications of expert system for power quality monitoring

TOTAL: 45 periods

TEXT BOOK

- Roger C. Dugan, Mark F. McGranagham, Surya Santoso and H.Wayne Beaty, “Electrical Power Systems Quality”, McGraw Hill, 2003.

REFERENCE

1PSCAD User Manual.

2.Power Quality in Electrical Systems    - Alexander Kusko ,McGraw-Hill Professional

UEEEA45 UTILIZATION OF ELECTRICAL ENERGY			L T P C

3 0 0 3

COURSE OUTCOME

- Understanding Illumination and Determination of MHCP and MSCP

- Understanding Electric Heating, Welding & Furnace technology

- Understanding the selection of drives, Control and Power Requirement calculation

- Understanding the electric Traction and Series and Parallel Control of DC Drives

- Understanding the ELectroMechanical Process and Calculation of Energy Requirements

COURSE CONTENT

UNIT I: ILLUMINATION									9

Production of light – Determination of MHCP and MSCP – Polar curves of different types of sources – Rousseau's construction – Lighting schemes and calculations – Factory lighting – Flood lighting – Electric lamps – Gaseous discharge – High pressure and low pressure.

UNIT II: ELECTRIC HEATING AND WELDING					9

Resistance, Inductance and Arc furnaces – Construction and fields of application – Losses in oven and efficiency - High frequency - Dielectric heating – Characteristics of carbon and metallic arc welding – butt welding – spot welding.

UNIT III: ELECTRIC DRIVES AND CONTROL					9

Group drive – Individual drive – selection of motors – starting and running characteristics– Running characteristics - Mechanical features of electric motors – Drives for different industrial applications - Choice of drives – power requirement calculation – power factor improvement.

UNIT IV: ELECTRIC TRACTION							9

Traction system – Speed time characteristics – Series and parallel control of D.C motors -Open circuited, shunt and bridge transitions – Tractive effort calculation – Electric braking – Tramways and trolley bus – A.C traction and recent trend. Magnetic devitation

UNIT V: ELECTROMECANICAL   PROCESSES					9

Electrolysis – polarization factor – preparation work for Electro plating – Tanks and other equipments – Calculation of energy requirements – Methods of charging and maintenance – Ni-iron and Ni- cadmium batteries –Lead   acid   batteries ,Components and materials – Chemical reactions – Capacity rating of batteries – Battery charges.		TOTAL: 45 periods

TEXT BOOK:

1.Uppal S.L, "Electric Power", Khanna Publishers, 1988

2.Open Shaw Taylor, "Utilization of Electrical Energy", Oriented Longmans Limited (Revised in SI Units), 1971.

3. Soni A. Chakrabarti, M.L.Soni, P.V.Gupta, U.S.Bhatnagar, “ A text book on Power System Enggineering”, Khanna Publishers, 2000.

4. A.I.Starr, “Generation, Transmission and Utilization of Electric Power”, ELBS, 1978.

REFERENCES:

1. Soni Bhatnagar & Gupta A, "Course in Electric Power", Dhanpat Rai Sons, 1979.

2. N.V.Suryanarayanan, “Utilization of Electric Power”, Wiely Eastern Ltd., 2001.

3. G.C.Garg, “Utilization of Electric Power and Electric Traction”, Khanna Publishers,2001.

UEEEA46 VIRTUAL INSTRUMENTATION				L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Representation of analog signals in the digital domain

- Understanding the FUNDAMENTALS OF VIRTUAL INSTRUMENTATION PC based data acquisition

- Understanding the Cluster of Instruments in VI System and Bus Protocols

- Understanding the Graphical Programming Environment in VI

- Understanding the Analysis tools and Simple Applications

COURSE CONTENT

UNIT I REVIEW OF DIGITAL INSTRUMENTATION			9

Representation of analog signals in the digital domain – Review of quantization in amplitude and time – Sample and hold –Sampling theorem – ADC and DAC

UNIT II FUNDAMENTALS OF VIRTUAL INSTRUMENTATION 		9

Concept of virtual instrumentation – PC based data acquisition – Typical on board DAQ card – Resolution and sampling frequency – Multiplexing of analog inputs – Single-ended and differential inputs – Different strategies for sampling of multi-channel analog inputs – Concept of universal DAQ card – Use of timer-counter and analog outputs on the universal DAQ card

UNIT III CLUSTER OF INSTRUMENTS IN VI SYSTEM			9

Interfacing of external instruments to a PC – RS232 – RS 422 – RS 485 – USB standards – IEEE 488 standard – ISO-OSI model for serial bus – Introduction to bus protocols of MOD bus and CAN bus

UNIT IV GRAPHICAL PROGRAMMING ENVIRONMENT IN VI		9

Concepts of graphical programming – Lab-view software – Concept of VIs and sub VI – Display types – Digital – Analog – Chart – Oscilloscopic types – Loops – Case and sequence structures – Types of data – Arrays – Formulae nodes – Local and global variables – String and file I/O

UNIT V ANALYSIS TOOLS AND SIMPLE APPLICATIONS IN VI		9

Fourier transform – Power spectrum – Correlation – Windowing and filtering tools – Simple temperature indicator – ON/OFF controller – PID controller – CRO emulation – Simulation of a simple second order system – Generation of HTML page.TOTAL: 45 periods

TEXT BOOKS

1. Gupta, S. and Gupta, J.P., “PC Interfacing for Data Acquisition and Process Control”,

Instrument society of America, 1994.

2. Peter W. Gofton, “Understanding Serial Communications”, Sybex International, 1994.

3. Robert H. Bishop, “Learning with Lab-view”, Prentice Hall of India, 2003.

REFERENCES

1. Kevin James, “PC Interfacing and Data Acquisition: Techniques for Measurement,

Instrumentation and Control”, Newnes, 2000.

2.Gary W. Johnson, Richard Jennings, “Lab-view Graphical Programming”, McGraw-Hill Professional Publishing, 2001.

3.Virtual Instrumentation Using Labview, JOVITHA JEROME, PHI Learning, 2010

UEITA15 NEURAL NETWORK AND FUZZY LOGIC CONTROL		L T P C

3 0 0 3

COURSE OUTCOME

- Understanding the Artificial and Biological Neural Networks

- Understanding the Neural Networks of Control and Transient response of Networks

- Understand the Fuzzy Logic controls and Operation of Instruction sets

- Understanding the Fuzzy logic controller and Member functions

- Demonstrate the Applications of Fuzzy Logic Control

COURSE CONTENT

UNIT  I Introduction   to  Neural Networks					9

Artificial Neural networks –biological neural networks – Typical architecture – Training common Activation functions. McCulloh Pitts neuron: Architecture, algorithm and applications – Back propagation neural net – standard architecture – Algorithm – derivation of learning rules – number of hidden layers – Hopfield net architecture algorithm and applications Adaptive Resonance Theory: Architecture and operation.

UNIT II Neural Networks For Control						9

Feed back networks – Discrete time hop field networks – Transient response of continuous time networks – Applications of artificial neural network - Process identification – Neuro controller for inverted pendulum.

UNIT  III Introduction To Fuzzy Logic						9

Fuzzy sets – properties of fuzzy sets – operations on fuzzy sets. Fuzzy relations linguistic variables – linguistic approximation. Fuzzy statements:Assignments, Conditional and unconditional statements fuzzy rule base – fuzzy algorithm.

UNIT IV Fuzzy Logic   basic  Control System					9

Fuzzy logic controller – Fuzzification, Membership functions. Triangular, Trapezoidal, Grassian – Membership value assignments using neural networks, intention, inference – knowledge base – Inference Mechanism –Defuzzification case study: Fuzzy logic controller for a temperature process – inverted pendulum control problem.

UNIT – V Application Of FLC  							9

Fuzzy logic control – Inverted pendulum – Image processing – Home heating system – Blood pressure during anesthesia – Introduction to neuro fuzzy controller.            TOTAL : 45 periods

TEXT BOOKS

1. Timothy. J. Ross, “Fuzzy logic with Engineering Application”, McGraw Hill,

New york,1996.

2. S Laurence fausett, “Fundamentals of neural networks”, Prentice Hall, New Jersey

1994.

3. James. A. Freeman David. M.S. Kapura, “Neural networks Algorithms,

Applications and Programming Techniques”.

REFERENCE BOOKS

1. Klir G. J. and fogler T.A, “ Fuzzy sets, Uncertainty and Information”, Prentice

Hall of India, New Delhi, 1994.

2. Jacek. M. Zurada “Introduction to Artificial Neural Systems”, Jaico Publishing

House, 1999.

UEEEA47 ELECTRICAL SAFETY AND QUALITY MANAGEMENT	L T P C

3 0 0 3

COURSE OUTCOME

- Understand the Indian electricity Rules and Acts and their Significance

- Understand the Electrical safety in residential, commercial and Agricultural Installations

- Understand the Safety during installation, testing and commissioning and operation and maintenance

- Understanding the electrical safety in Hazardous Areas

- Demonstrate the intensity of electrical safety in distribution systems

COURSE CONTENT

UNIT I: INDIAN   ELECTRICITY   RULES AND ACTS AND THEIR SIGNIFICANCE

9

Objective and scope – ground clearances and section clearances – standards on electrical safety - safe limits of current, voltage – earthing of system neutral – Rules regarding first aid and fire fighting facility.

UNIT II: ELECTRICAL SAFETY IN RESIDENTIAL, COMMERCIAL AND AGRICULTURAL INSTALLATIONS						9

Wiring and fitting – Domestic appliances – water tap giving shock – shock from wet wall – fan firing shock – multi-storied building – Temporary installations – Agricultural pump installation – Do’s and Don’ts for safety in the use of domestic electrical appliances.

UNIT III: SAFETY DURING INSTALLATION, TESTING AND COMMISSIONING, OPERATION AND MAINTENANCE						9

Preliminary preparations – safe sequence – risk of plant and equipment – safety documentation – field quality and safety - personal protective equipment – safety clearance notice – safety precautions – safeguards for operators – safety.

UNIT IV: ELECTRICAL SAFETY IN HAZARDOUS AREAS			9

Hazardous zones – class 0,1 and 2 – spark, flashovers and corona discharge and functional requirements – Specifications of electrical plants, equipments for hazardous locations – Classification of equipment enclosure for various hazardous gases and vapours – classification of equipment/enclosure for hazardous locations.

UNIT V:ELECTRICAL   SAFETY  IN   DISTRIBUTION   SYSTEM		9

Total quality control and management – Importance of high load factor – Disadvantages of low power factor – Causes of low P.F. – power factor improvement – equipments – Importance of P.F. improvement.	TOTAL: 45 periods

TEXT BOOKS

1. Rao, S. and Saluja, H.L., “Electrical Safety, Fire Safety Engineering and Safety

Management”, Khanna Publishers, 1988.

2. Pradeep Chaturvedi, “Energy Management Policy, Planning and Utilization”, Concept

Publishing Company, 1997.

REFERENCES

1. Nagrath, I.J. and Kothari, D.P., “Power System Engineering”, Tata McGraw Hill, 1998.

2. Gupta, B.R., “Power System Analysis and Design”, S.Chand and Sons, 2003.

3. Wadhwa, C.L., “Electric Power Systems”, New Age International, 2004

UEMEA29 FINITE ELEMENT ANALYSIS 				L T P C												3 1 0 4

COURSE CONTENT

UNIT I Introduction						    	        	 	9

Review of basic analysis – Stiffness and Flexibility matrix for simple cases – Governing equation and convergence criteria of finite element method.

UNIT II Discrete Elements					  	       		9

Bar, Frame, beam elements – Application to static, dynamic and stability analysis.

UNIT III Continuum Elements  			 	       			9

Various types of 2-D-elements Application to plane stress, plane strain and axisymmetric problems.

UNIT IV Isoparametric Elements		   	       				9

Applications to two and three-dimensional problems.

UNIT V Field Problem			       					9

Applications to other field problems like heat transfer and fluid flow.

TOTAL: 45+15(Tutorial) =  60 periods

### TEXT BOOK

- Tirupathi.R. Chandrapatha and Ashok D. Belegundu, “Introduction to Finite Elements in Engineering”, Prentice Hall India, Third Edition, 2003.

- Introuciton to finite elements in engineering  tirupathi, R., chandrupatel ashok.D

- An introduction to finite  Element Method J.N. Reddy

- Finite element analysis-Theory and programming C.S. Krishnamurthy,

- The finite Element Method in Engineering S.S.Rao.

### REFERENCE BOOKS

- Reddy J.N. “An Introduction to Finite Element Method”, McGraw-Hill, 2000.

- Krishnamurthy, C.S., “Finite Element Analysis”, Tata McGraw-Hill, 2000.

- Bathe, K.J. and Wilson, E.L., “Numerical Methods in Finite Elements Analysis”, Prentice Hall of India, 1985.

SEMESTER VIII

| COURSE CODE | COURSE NAME | L | T | P | C |
| --- | --- | --- | --- | --- | --- |
|  | Project Work | 0 | 0 | 24 | 12 |
| Total Credits | 12 |

L – Lecture; T – Tutorial; P – Practical; C - Credit

Over all Total Credits = 152+64=216

# Text boxes

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 6 |

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 6 |

| L | T | P | C |
| --- | --- | --- | --- |
| 3 | 0 | 0 | 8 |

cosn     d

/2